## CLASS-GEN
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | Application | Available for EMG Lo | FUEL_TYPE | Fuel Tank | Fuel Type | Generator Type | KW Rating | Max Output Current | Owned By | Phase(s) | Portable | RPM Rating | Self Starting? | Special Mtn Note | Special Mtn Note Det | Volt Rating | Voltage AC/DC | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC
5017781 | CATERPILLAR | STDP STANDPIPE /GENERATOR | ILCP-CPSTA | P301 | INSV | INST | WIEMERBM | H | 0 | 0 |  | EMERGENCY | N |  |  |  | ENGINE DRIVEN | 150.00 KW | 0.00 A | AW | 3 | XX | XX | Y |  |  | 277/480 | AC | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | ILCP-CPSTA-BSTR
5017782 | UNKNOWN | R150 RT 150 /GENERATOR | ILCP-RT150 | P301 | INSV | INST | WIEMERBM | H |  |  |  | EMERGENCY | XX |  |  |  | ENGINE DRIVEN | 150.00 KW | 0.00 A | AW | 3 | N | XX | Y |  |  | 277/480 | AC | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | ILCP-RT150-BSTR
5017784 | UNKNOWN | MATS MATTIS /GENERATOR | ILCP-MTWTP | P301 | INSV | INST | WIEMERBM | H |  |  |  | EMERGENCY | XX |  |  |  | ENGINE DRIVEN | 500.00 KW | 0.00 A | AW | 3 | N | XX | Y |  |  | 277/480 | AC | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | ILCP-MTWTP-PLNT
5017785 | MITSUBISHI | BRAD BRADLEY /GENERATOR | ILCP-BDWTP | P301 | INSV | INST | WIEMERBM | H | 0 | 0 |  | EMERGENCY | XX |  |  |  | ENGINE DRIVEN | 500.00 KW | 0.00 A | AW | 3 | N | XX | Y |  |  | 277/480 | AC | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | ILCP-BDWTP-PLNT
5017786 | CATERPILLAR | WL53 WELL53 /GENERATOR | ILCP-WEL53 | P301 | INSV | INST | WIEMERBM | H | 0 | 0 |  | EMERGENCY | XX |  |  |  | ENGINE DRIVEN | 150.00 KW | 0.00 A | AW | 3 | Y | XX | N |  |  | 277/480 | AC | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | ILCP-WEL53-WELL
5017787 | DETROIT | MATS-W56 WELL 56 /GENERATOR | ILCP-WEL56 | P301 | INSV | INST | WIEMERBM | H | 0 | 0 |  | EMERGENCY | XX |  |  |  | ENGINE DRIVEN | 150.00 KW | 0.00 A | AW | 3 | Y | XX | N |  |  | 277/480 | AC | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | ILCP-WEL56-WELL
5017788 | CUMMINS | WL58 WELL 58 /GENERATOR | ILCP-WEL58 | P301 | INSV | INST | WIEMERBM | H | 0 | 0 |  | EMERGENCY | Y |  |  |  | ENGINE DRIVEN | 150.00 KW | 0.00 A | AW | 3 | XX | XX | N |  |  | 277/480 | AC | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | ILCP-WEL58-WELL
5017789 | CATERPILLAR | WL65 WELL 65 /GENERATOR | ILCP-WEL65 | P301 | INSV | INST | WIEMERBM | H | 0 | 0 |  | EMERGENCY | XX |  |  |  | ENGINE DRIVEN | 150.00 KW | 0.00 A | AW | 3 | Y | XX | N |  |  | 277/480 | AC | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | ILCP-WEL65-WELL
5017790 | CATERPILLAR | WL68 WELL 68 /GENERATOR | ILCP-WEL68 | P301 | INSV | INST | WIEMERBM | H | 0 | 0 |  | EMERGENCY | XX |  |  |  | ENGINE DRIVEN | 150.00 KW | 0.00 A | AW | 3 | Y | XX | N |  |  | 277/480 | AC | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | ILCP-WEL68-WELL
5017791 | CATERPILLAR | WL72 WELL 72 /GENERATOR | ILCP-WEL72 | P301 | INSV | INST | WIEMERBM | H | 0 | 0 |  | EMERGENCY | XX |  |  |  | ENGINE DRIVEN | 150.00 KW | 0.00 A | AW | 3 | Y | XX | N |  |  | 277/480 | AC | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | ILCP-WEL72-WELL
5017792 | CUMMINS | NEIL NEIL /GENERATOR | ILCP-NLSTR | P301 | INSV | INST | WIEMERBM | H | 0 | 0 |  | EMERGENCY | N |  |  |  | ENGINE DRIVEN | 150.00 KW | 0.00 A | AW | 3 | N | XX | Y |  |  | 277/480 | AC | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | ILCP-NLSTR-BSTR
5209507 | CATERPILLAR | Well 66 Generator | ILCP-WEL66 | P301 | INSV | INST | WIEMERBM | H |  |  |  |  | N |  |  |  | ENGINE DRIVEN |  |  | AW |  | Y |  | N |  |  |  |  | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | ILCP-WEL66-WELL