## CLASS-WQANLZR (2)
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Analyzer Type | Comm Protocol | High Alarm SetPoint | Loop Power | Low Alarm SetPoint | Max Pressure | NEMA Enclosure | On SCADA? | Output Type | Owned By | Special Mtn Note | Special Mtn Note Det | Standby Power Type | Transmitter? | Volt Rating | WQ-Temperature | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC
5013889 | HACH | PESO CL2/WQA | ILCP-PESOT | P301 | INSV | INST | WIEMERBM | H |  | CL17 | CL2 COLORIMETRIC ANLYZR(C) |  | 5PPM |  | 0PPM | 0.0 PSI | 4 SPLASHPROOF | Y | 4-20MA | AW |  |  | NONE | Y | 120 |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | ILCP-PESOT-TANK
5013890 | HACH | PESO PH/WQA | ILCP-PESOT | P301 | INSV | INST | WIEMERBM | H |  | DPD1P1 | PH ANLYZR(C) |  |  |  |  | 0.0 PSI | 6 SHORTTERM SUBMERSIBLE | Y | 4-20MA | AW |  |  | NONE | Y | 24V |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | ILCP-PESOT-TANK
5013896 | HACH | AR-TU CL2/WQA | ILCP-ARTUS | P301 | INSV | INST | WIEMERBM | H |  | CL17 | CL2 COLORIMETRIC ANLYZR(C) |  | 5PPM |  | 0PPM | 0.0 PSI | 4 SPLASHPROOF | Y | 4-20MA | AW |  |  | NONE | Y | 120 |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | ILCP-ARTUS-BSTR
5013860 | HACH | MATS E8FWCL2/WQA | ILCP-MTWTP | P301 | INSV | INST | WIEMERBM | H |  | CL17 | CL2 COLORIMETRIC ANLYZR(C) |  | 5PPM |  | 0PPM | 0.0 PSI | 4 SPLASHPROOF | Y | 4-20MA | AW |  |  | GENERATOR | Y | 120 |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | ILCP-MTWTP-PLNT
5013861 | HACH | MATS W8FWCL2/WQA | ILCP-MTWTP | P301 | INSV | INST | WIEMERBM | H |  | CL17 | CL2 COLORIMETRIC ANLYZR(C) |  | 5PPM |  | 0PPM | 0.0 PSI | 4 SPLASHPROOF | Y | 4-20MA | AW |  |  | GENERATOR | Y | 120 |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | ILCP-MTWTP-PLNT