## BatteryCharger
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Amp Rating | Battery Charger Type | Owned By | Special Mtn Note | Special Mtn Note Det | Volt Rating | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5142578 | UNKNOWN | RMTP-5KVPDB PWR DISTRIB BLDG /BATTCHGR | NJRB-BM-RMTP.-5KVP | P214 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | FIXED VOLTAGE CHARGER | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5142580 | UNKNOWN | RMTP-SUBSTATION /BATTCHGR | NJRB-BM-RMTP.-SUBS | P214 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | FIXED VOLTAGE CHARGER | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5174199 | UNKNOWN | RMTP-DHL 315KW Emergency /BATTCHGR | NJRB-BM-RMTP.-DHL. | P214 | INSV | INST | HUSSAARM | M |  |  |  | FIXED VOLTAGE CHARGER | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5174403 | UNKNOWN | RMTP-DHL Gas Turbine Emergency /BATTCHGR | NJRB-BM-RMTP.-DHL. | P214 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | FIXED VOLTAGE CHARGER | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5174408 | UNKNOWN | RMTP-MNT PORTABLE150KW EMERG /BATTCHGR | NJRB-BM-RMTP.-MNT. | P214 | INSV | INST | HUSSAARM | H |  |  |  | FIXED VOLTAGE CHARGER | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5174412 | UNKNOWN | RMTP-LL 60KW Emergency /BATTCHGR | NJRB-BM-RMTP.-LL.. | P214 | INSV | INST | HUSSAARM | M |  |  |  | FIXED VOLTAGE CHARGER | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5174419 | UNKNOWN | RMTP-DHL HI LIFT PMP14 GAS /BATTCHGR | NJRB-BM-RMTP.-DHL. | P214 | INSV | INST | HUSSAARM | H |  |  |  | FIXED VOLTAGE CHARGER | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5174423 | UNKNOWN | RMTP-DHL HI LIFT PMP15 GAS /BATTCHGR | NJRB-BM-RMTP.-DHL. | P214 | INSV | INST | HUSSAARM | H |  |  |  | FIXED VOLTAGE CHARGER | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5174427 | UNKNOWN | RMTP-FH HI LIFT PMP10 GAS /BATTCHGR | NJRB-BM-RMTP.-FH.. | P214 | INSV | INST | HUSSAARM | H |  |  |  | FIXED VOLTAGE CHARGER | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5174431 | UNKNOWN | RMTP-FH HI LIFT PMP12 GAS /BATTCHGR | NJRB-BM-RMTP.-FH.. | P214 | INSV | INST | HUSSAARM | H |  |  |  | FIXED VOLTAGE CHARGER | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5174436 | UNKNOWN | RMTP-LL Diesel #1 /BATTCHGR | NJRB-BM-RMTP.-LL.. | P214 | INSV | INST | HUSSAARM | H |  |  |  | FIXED VOLTAGE CHARGER | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5174442 | UNKNOWN | RMTP-LL Diesel #2 /BATTCHGR | NJRB-BM-RMTP.-LL.. | P214 | INSV | INST | HUSSAARM | H |  |  |  | FIXED VOLTAGE CHARGER | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5174446 | UNKNOWN | RMTP-FH 450KW Emergency /BATTCHGR | NJRB-BM-RMTP.-FH.. | P214 | INSV | INST | HUSSAARM | M |  |  |  | FIXED VOLTAGE CHARGER | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location