## CalibrationDevice
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Calibrator Type | Owned By | Retest Required | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5082008 | UNKNOWN | SRWTP SRTP OPSLAB TITRON TITRATOR /CALIB | NJMM-MM-SRWTP | P218 | INSV | INST | HUSSAARM | L |  |  | CALIB* | AW | Y |  |  | Maint Water Treatment Equip | Ops Water Treatment
5082009 | UNKNOWN | SRWTP SRTP Lab Pipets /CALIB | NJMM-MM-SRWTP | P218 | INSV | INST | HUSSAARM | L |  |  | CALIB* | AW | Y |  |  | Maint Water Treatment Equip | Ops Water Treatment
5082010 | UNKNOWN | SRWTP SRTP LAB DISTILLED H2O UNIT /CALIB | NJMM-MM-SRWTP | P218 | INSV | INST | HUSSAARM | L |  |  | CALIB* | AW | Y |  |  | Maint Water Treatment Equip | Ops Water Treatment
5082011 | UNKNOWN | SRWTP SRTP Lab Buret /CALIB | NJMM-MM-SRWTP | P218 | INSV | INST | HUSSAARM | L |  |  | CALIB* | AW | Y |  |  | Maint Water Treatment Equip | Ops Water Treatment
5194625 | UNKNOWN | SM-2009U Single Module Station /CALIB | NJLK-HO-OAKGL | P212 | INSV | INST | FREEMAJ1 | L |  |  | XX | AW |  |  |  | Maint Water Treatment Equip | Ops Water Treatment
5194626 | UNKNOWN | OAKGLEN HYDRX Cal Tube 1 Ball /CALIB | NJLK-HO-OAKGL | P212 | INSV | INST | FREEMAJ1 | L |  |  | XX | AW |  |  |  | Maint Water Treatment Equip | Ops Water Treatment
5194627 | UNKNOWN | OAKGLEN HYDRX Cal Tube 2 Ball /CALIB | NJLK-HO-OAKGL | P212 | INSV | INST | FREEMAJ1 | L |  |  | XX | AW |  |  |  | Maint Water Treatment Equip | Ops Water Treatment
5194628 | UNKNOWN | OGWTP HYPOCAL TUBE 1BALL /CALIB | NJLK-HO-OAKGL | P212 | INSV | INST | FREEMAJ1 | L |  |  | XX | AW |  |  |  | Maint Water Treatment Equip | Ops Water Treatment
5194629 | UNKNOWN | OGWTP HYPOCAL TUBE 2BALL /CALIB | NJLK-HO-OAKGL | P212 | INSV | INST | FREEMAJ1 | L |  |  | XX | AW |  |  |  | Maint Water Treatment Equip | Ops Water Treatment
5194630 | UNKNOWN | OGWTP CORROSION CAL TUBE 1 BALL /CALIB | NJLK-HO-OAKGL | P212 | INSV | INST | FREEMAJ1 | L |  |  | XX | AW |  |  |  | Maint Water Treatment Equip | Ops Water Treatment
5194631 | UNKNOWN | OGWTP COAGULANT CAL TUBE 1 BALL /CALIB | NJLK-HO-OAKGL | P212 | INSV | INST | FREEMAJ1 | L |  |  | XX | AW |  |  |  | Maint Water Treatment Equip | Ops Water Treatment
5194632 | UNKNOWN | OGWTP AMMO SULFATECAL TUBE 1 BALL /CALIB | NJLK-HO-OAKGL | P212 | INSV | INST | FREEMAJ1 | L |  |  | XX | AW |  |  |  | Maint Water Treatment Equip | Ops Water Treatment