## ChemicalGasFeeder
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | Chm-Dosing Control | Chm-Feed Rate | Chm-Feed Rate UOM | Chm-Material | Gas Feeder Type | Owned By | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5003199 | SIEMENS | MCOPT-PLNT-CHLR PRE 1 /CHMF-GAS | INCR-Z1-MCOPT-PLNT-CHLR | P560 | INSV | INST | HUSSAARM | H | 234300009501-012152 | V10k | CHLORINE (GAS) | FLOW PACING | 200.000 UN | LB/DAY |  | CHLORINATOR | AW |  |  | Maint Water Treatment Equip | Ops Water Treatment
5003200 | SIEMENS | MCOPT-PLNT-CHLR PRE 2 /CHMF-GAS | INCR-Z1-MCOPT-PLNT-CHLR | P560 | INSV | INST | HUSSAARM | H | 234300009501-012736 | V10k | CHLORINE (GAS) | FLOW PACING | 200.000 UN | LB/DAY |  | CHLORINATOR | AW |  |  | Maint Water Treatment Equip | Ops Water Treatment
5003201 | UNKNOWN | MCOPT-PLNT-CHLR POST 1 /CHMF-GAS | INCR-Z1-MCOPT-PLNT-CHLR | P560 | INSV | INST | HUSSAARM | H |  |  | CHLORINE (GAS) | FLOW PACING | 100.000 UN | LB/DAY |  | CHLORINATOR | AW |  |  | Maint Water Treatment Equip | Ops Water Treatment
5003202 | UNKNOWN | MCOPT-PLNT-CHLR POST 2 /CHMF-GAS | INCR-Z1-MCOPT-PLNT-CHLR | P560 | INSV | INST | HUSSAARM | H |  |  | CHLORINE (GAS) | FLOW PACING | 100.000 UN | LB/DAY |  | CHLORINATOR | AW |  |  | Maint Water Treatment Equip | Ops Water Treatment
5003203 | SIEMENS | RETIRED TODDP-PLNT CHLORINE /CHMF-GAS | INCR-Z1-TODDP-PLNT | P560 | OOS | INAC INST | HUSSAARM | H |  | S10K | CHLORINE (GAS) | FEEDBACK | 20.000 UN | LB/DAY |  | CHLORINATOR | AW |  |  | Maint Water Treatment Equip | Ops Water Treatment
5003204 | SIEMENS | MCOPT-PLNT-CHLR REGULATOR 1 /CHMF-GAS | INCR-Z1-MCOPT-PLNT-CHLR | P560 | INSV | INST | HUSSAARM | H | 20-2012 | SFC SC | CHLORINE (GAS) |  | 200.000 UN | LB/DAY |  | CHLORINATOR | AW |  |  | Maint Water Treatment Equip | Ops Water Treatment
5003205 | SIEMENS | MCOPT-PLNT-CHLR REGULATOR 2 /CHMF-GAS | INCR-Z1-MCOPT-PLNT-CHLR | P560 | INSV | INST | HUSSAARM | H | 34-2012 | SFC SC W3T158819 | CHLORINE (GAS) |  | 200.000 UN | LB/DAY |  | CHLORINATOR | AW |  |  | Maint Water Treatment Equip | Ops Water Treatment