## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | Chm-Dosing Control | Chm-Feed Rate | Chm-Feed Rate UOM | Chm-Material | Gas Feeder Type | Owned By | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5003199 | SIEMENS | MCOPT-PLNT-CHLR PRE 1 /CHMF-GAS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | 234300009501-012152 | V10k | CHLORINE (GAS) | FLOW PACING | 200.000 UN | LB/DAY |  | CHLORINATOR | AW |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
5003200 | SIEMENS | MCOPT-PLNT-CHLR PRE 2 /CHMF-GAS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | 234300009501-012736 | V10k | CHLORINE (GAS) | FLOW PACING | 200.000 UN | LB/DAY |  | CHLORINATOR | AW |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
5003201 | UNKNOWN | MCOPT-PLNT-CHLR POST 1 /CHMF-GAS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | CHLORINE (GAS) | FLOW PACING | 100.000 UN | LB/DAY |  | CHLORINATOR | AW |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
5003202 | UNKNOWN | MCOPT-PLNT-CHLR POST 2 /CHMF-GAS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | CHLORINE (GAS) | FLOW PACING | 100.000 UN | LB/DAY |  | CHLORINATOR | AW |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
| SIEMENS | MCOPT-PLNT-CHLR PRE 1 /CHMF-GAS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | 234300009501-012152 | V10k | CHLORINE (GAS) | FLOW PACING | 200.000 UN | LB/DAY |  | CHLORINATOR | AW |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
| SIEMENS | MCOPT-PLNT-CHLR PRE 2 /CHMF-GAS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | 234300009501-012736 | V10k | CHLORINE (GAS) | FLOW PACING | 200.000 UN | LB/DAY |  | CHLORINATOR | AW |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | MCOPT-PLNT-CHLR POST 1 /CHMF-GAS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | CHLORINE (GAS) | FLOW PACING | 100.000 UN | LB/DAY |  | CHLORINATOR | AW |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | MCOPT-PLNT-CHLR POST 2 /CHMF-GAS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | CHLORINE (GAS) | FLOW PACING | 100.000 UN | LB/DAY |  | CHLORINATOR | AW |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC