## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Collection System Type | Owned By | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5179037 | UNKNOWN | W3W4S-TRMT NETWORK /COMMUNICATIONS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | 602320102250953 | SG8100 |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5179038 | UNKNOWN | W3W4S-TRMT SCADA /COMMUNICATIONS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | FGT60B3909600677 | FG60B |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5179039 | UNKNOWN | W3W4S-TRMT SCADA /COMMUNICATIONS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | FGT60B3909600677 | FG60B |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5179040 | UNKNOWN | W3W4S-TRMT SCADA /COMMUNICATIONS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | FGT60B3909600677 | FG60B |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | W3W4S-TRMT NETWORK /COMMUNICATIONS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | 602320102250953 | SG8100 |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | W3W4S-TRMT SCADA /COMMUNICATIONS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | FGT60B3909600677 | FG60B |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | W3W4S-TRMT SCADA /COMMUNICATIONS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | FGT60B3909600677 | FG60B |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | W3W4S-TRMT SCADA /COMMUNICATIONS | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | FGT60B3909600677 | FG60B |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC