## EmergencyGenerator
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | Application | Available for EMG Lo | FUEL_TYPE | Fuel Tank | Fuel Type | Generator Type | KW Rating | Max Output Current | Owned By | Phase(s) | Portable | RPM Rating | Self Starting? | Special Mtn Note | Special Mtn Note Det | Volt Rating | Voltage AC/DC | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5131552 | ONAN | BNGRC-WTPS PLANT GENERATOR /GENERATOR | PABA-BA-BNGRC-WTPS | P102 | INSV | INST | HUSSAARM | H | I880159286 | 350DFN29180D |  | EMERGENCY | N |  |  |  | ENGINE DRIVEN | 350.00 KW | 0.00 A | AW | 3 | N | 1800 | Y |  |  | 480 | AC | Maint Pumping Power Prod | Ops Pumping Power Prd
5131553 | JOHN DEERE | BNGRC-WTPS PORTABLE GEN /GENERATOR | PABA-BA-BNGRC-WTPS | P102 | INSV | INST | HUSSAARM | H | TS75II | Powr Gard G953215 |  | EMERGENCY | N |  |  |  | ENGINE DRIVEN | 75.00 KW | 0.00 A | AW | 3 | Y | 1800 | N |  |  | 120/240 | AC | Maint Pumping Power Prod | Ops Pumping Power Prd
5131554 | BRIGGS-STRATTON | BNGRC-WTPS SMALL PORTABLE /GENERATOR | PABA-BA-BNGRC-WTPS | P102 | INSV | INST | HUSSAARM | M |  | Vanguard Pro 8000w |  | EMERGENCY | N |  |  |  | ENGINE DRIVEN | 8.00 KW | 0.00 A | AW | 1 | Y | 1800 | N |  |  | 120/240 | AC | Maint Pumping Power Prod | Ops Pumping Power Prd