## Engine
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | Engine Type | Fuel UOM | HP Rating | Max Fuel Consumption | Number of Cylinders | Owned By | Self Starting? | Special Mtn Note | Special Mtn Note Det | Tnk-Volume (gal) | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5104044 | DETROIT | AWEL3-OPSC PORTABLE 1 GEN /ENGINE | PAAB-AB-AWEL3-OPSC | P101 | INSV | INST | HUSSAARM | H |  | 4BT3-9G2 | EMERGENCY ELEC GENERATION | DIESEL |  | 102.00 HP AW | 0.00 UN | 0 EA | AW | N |  |  | 50.00 1GL | Maint Look Functional Location | Ops Look Functional Location
5104045 | HONDA | AWEL3-OPSC PORTABLE 2 GEN /ENGINE | PAAB-AB-AWEL3-OPSC | P101 | INSV | INST | HUSSAARM | M |  |  | EMERGENCY ELEC GENERATION | GASOLINE |  | 15.00 HP AW |  |  | AW | N |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5104046 | HONDA | AWEL3-OPSC PORTABLE 3 GEN /ENGINE | PAAB-AB-AWEL3-OPSC | P101 | INSV | INST | HUSSAARM | M |  |  | EMERGENCY ELEC GENERATION | GASOLINE |  | 15.00 HP AW |  |  | AW | N |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5104047 | BRIGGS-STRATTON | AWEL3-OPSC DEWATERING PUMP 1 /ENGINE | PAAB-AB-AWEL3-OPSC | P101 | INSV | INST | HUSSAARM | M |  |  | PUMPING | GASOLINE |  | 999.00 HP AW |  |  | AW | N |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5104048 | HONDA | AWEL3-OPSC TRASH PUMP 3 IN /ENGINE | PAAB-AB-AWEL3-OPSC | P101 | INSV | INST | HUSSAARM | M |  |  | PUMPING | GASOLINE |  | 999.00 HP AW |  |  | AW | N |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5104049 | HONDA | AWEL3-OPSC TRASH PUMP 2 IN /ENGINE | PAAB-AB-AWEL3-OPSC | P101 | INSV | INST | HUSSAARM | M |  |  | PUMPING | GASOLINE |  | 999.00 HP AW |  |  | AW | N |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5104050 | BRIGGS-STRATTON | AWEL3-OPSC DEWATERING PUMP 2 /ENGINE | PAAB-AB-AWEL3-OPSC | P101 | INSV | INST | HUSSAARM | M |  |  | PUMPING | GASOLINE |  | 999.00 HP AW |  |  | AW | N |  |  |  | Maint Look Functional Location | Ops Look Functional Location