## FireExtinguisher
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Fire Class Rating | Fire Extinguisher Ty | Owned By | Retest Required | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5019687 | ANSUL-SCNTRY | MATS-FBE E8 FLTR BLD /FIRE-EX | ILCP-CP-MATS.-FBE. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019688 | UNKNOWN | BRAD-MNB-LAB HALLWAY /FIRE-EX | ILCP-CP-BRAD.-MNB.-LAB. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019689 | UNKNOWN | BRAD-MNB-PROBERM PROBE RM /FIRE-EX | ILCP-CP-BRAD.-MNB.-PROB | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019690 | UNKNOWN | BRAD-MNB-GARAGE 1 /FIRE-EX | ILCP-CP-BRAD.-MNB.-GARA | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | GAS | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019691 | UNKNOWN | BRAD-MNB-GARAGE 2 /FIRE-EX | ILCP-CP-BRAD.-MNB.-GARA | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019692 | UNKNOWN | BRAD-MNB-OFFICE HALLWAY /FIRE-EX | ILCP-CP-BRAD.-MNB.-OFFI | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019693 | UNKNOWN | BRAD-MNB-EELCR HS ELEC /FIRE-EX | ILCP-CP-BRAD.-MNB.-EELC | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | GAS | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019694 | UNKNOWN | BRAD-MNB-BLOWERRM HALLWAY /FIRE-EX | ILCP-CP-BRAD.-MNB.-BLOW | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019695 | UNKNOWN | BRAD-MNB-HYPORM HALLWAY /FIRE-EX | ILCP-CP-BRAD.-MNB.-HYPO | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019696 | UNKNOWN | BRAD-MNB-HALLWAY NORTH /FIRE-EX | ILCP-CP-BRAD.-MNB.-HALL | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019697 | UNKNOWN | BRAD-MNB-HALLWAY SOUTH /FIRE-EX | ILCP-CP-BRAD.-MNB.-HALL | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019698 | UNKNOWN | BRAD-MNB-PIPEGAL EAST SIDE /FIRE-EX | ILCP-CP-BRAD.-MNB.-PIPE | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019699 | UNKNOWN | BRAD-MNB-PIPEGAL WEST SIDE /FIRE-EX | ILCP-CP-BRAD.-MNB.-PIPE | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019700 | UNKNOWN | BRAD-MNB FILTR SOUTH SD /FIRE-EX | ILCP-CP-BRAD.-MNB. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019701 | UNKNOWN | BRAD-MNB FLTR NORTH SD /FIRE-EX | ILCP-CP-BRAD.-MNB. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019702 | UNKNOWN | BRAD-WCM-LIMEROOM /FIRE-EX | ILCP-CP-BRAD.-WCM.-LIME | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019703 | UNKNOWN | BRAD-WCM-ELECRM /FIRE-EX | ILCP-CP-BRAD.-WCM.-ELEC | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | GAS | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019704 | UNKNOWN | BRAD-WCM-FERRICRM /FIRE-EX | ILCP-CP-BRAD.-WCM.-FERR | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019705 | ANSUL-SCNTRY | BRAD-SOL DESLUDGE BLD /FIRE-EX | ILCP-CP-BRAD.-SOL. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | GAS | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019706 | ANSUL-SCNTRY | BRAD-WCB WEST CON /FIRE-EX | ILCP-CP-BRAD.-WCB. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019707 | ANSUL-SCNTRY | BRAD-WMB WEST SETT /FIRE-EX | ILCP-CP-BRAD.-WMB. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019708 | ANSUL-SCNTRY | BRAD-ECB EAST CON /FIRE-EX | ILCP-CP-BRAD.-ECB. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019709 | ANSUL-SCNTRY | BRAD-EMB EAST SETT /FIRE-EX | ILCP-CP-BRAD.-EMB. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019710 | ANSUL-SCNTRY | BRAD-MNB-BREAKRM /FIRE-EX | ILCP-CP-BRAD.-MNB.-BREA | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019714 | ANSUL-SCNTRY | LINC-FB FILTER BLD /FIRE-EX | ILCP-UR-LINC.-FB.. | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019715 | AMEREX CORP | LINC-MRT MORTON BLD /FIRE-EX | ILCP-UR-LINC.-MRT. | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019661 | ANSUL-SCNTRY | BRAD-W67 WELL67 /FIRE-EX | ILCP-CP-BRAD.-W67. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019662 | ANSUL-SCNTRY | WL68 WELL68 /FIRE-EX | ILCP-CP-WL68. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019663 | ANSUL-SCNTRY | WL69 WELL 69 /FIRE-EX | ILCP-CP-WL69. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019664 | ANSUL-SCNTRY | WL70 WELL 70 /FIRE-EX | ILCP-CP-WL70. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019665 | ANSUL-SCNTRY | WL71 WELL 71 /FIRE-EX | ILCP-CP-WL71. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019666 | ANSUL-SCNTRY | WL72 WELL 72 /FIRE-EX | ILCP-CP-WL72. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019667 | ANSUL-SCNTRY | WL73 WELL 73 /FIRE-EX | ILCP-CP-WL73. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019668 | ANSUL-SCNTRY | LINC-PDB-PRODGARAGE MAINT /FIRE-EX | ILCP-UR-LINC.-PDB.-PROD | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019669 | ANSUL-SCNTRY | LINC-PDB-PRODGARAGE METER SHOP /FIRE-EX | ILCP-UR-LINC.-PDB.-PROD | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019670 | ANSUL-SCNTRY | LINC-PDB-PRODGARAGE 1 /FIRE-EX | ILCP-UR-LINC.-PDB.-PROD | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019671 | ANSUL-SCNTRY | LINC-PDB-PRODGARAGE 2 /FIRE-EX | ILCP-UR-LINC.-PDB.-PROD | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019672 | ANSUL-SCNTRY | LINC-PDB-PRODGARAGE 3 /FIRE-EX | ILCP-UR-LINC.-PDB.-PROD | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019673 | ANSUL-SCNTRY | LINC-PDB-DISTGARAGE 4 /FIRE-EX | ILCP-UR-LINC.-PDB.-DIST | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019674 | ANSUL-SCNTRY | LINC-PDB-DISTGARAGE 5 /FIRE-EX | ILCP-UR-LINC.-PDB.-DIST | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019675 | ANSUL-SCNTRY | LINC-PDB-DISTGARAGE 6 /FIRE-EX | ILCP-UR-LINC.-PDB.-DIST | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019676 | ANSUL-SCNTRY | LINC-PDB-CHEMROOM 7 /FIRE-EX | ILCP-UR-LINC.-PDB.-CHEM | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019677 | ANSUL-SCNTRY | LINC-PDB-CHEMROOM 8 /FIRE-EX | ILCP-UR-LINC.-PDB.-CHEM | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019678 | ANSUL-SCNTRY | LINC-PDB-HSROOM 9 /FIRE-EX | ILCP-UR-LINC.-PDB.-HSRO | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019679 | ANSUL-SCNTRY | LINC-PDB-HSROOM 10 /FIRE-EX | ILCP-UR-LINC.-PDB.-HSRO | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019680 | ANSUL-SCNTRY | LINC-PDB-CNTRLRM 11 /FIRE-EX | ILCP-UR-LINC.-PDB.-CNTR | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019681 | UNKNOWN | LINC-ECB CONT BASINS /FIRE-EX | ILCP-UR-LINC.-ECB. | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FIRE CLASS ABC | GAS | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019682 | ANSUL-SCNTRY | LINC-PDB-ADMINAREA 12 /FIRE-EX | ILCP-UR-LINC.-PDB.-ADMI | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019683 | ANSUL-SCNTRY | MATS-W8C W8 CONT BAS /FIRE-EX | ILCP-CP-MATS.-W8C. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019684 | ANSUL-SCNTRY | MATS-FBW W8 FLTR BLD /FIRE-EX | ILCP-CP-MATS.-FBW. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019685 | ANSUL-SCNTRY | MATS-E8S E8 SETL BAS /FIRE-EX | ILCP-CP-MATS.-E8S. | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location
5019686 | ANSUL-SCNTRY | MATS-CEM-CNTRLRM CNTRL RM /FIRE-EX | ILCP-CP-MATS.-CEM.-CNTR | P301 | INSV | INST | HUSSAARM | H |  |  | FIRE CLASS ABC | POWDER | AW | Y |  |  | Maint Look Functional Location | Ops Look Functional Location