## FlowMeter
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | Beta Ratio | Bypass Valve? | Calibration UOM | Comm Protocol | Differential PSI Ran | Flow Calibrated Rang | Flow Max Intermitten | Flow Normal Range | Flow UOM | Flow Velocity Range | Flowmeter Type | Instrument Power | Max Pressure | Met-Material | Nominal Size | On SCADA? | Output Type | Owned By | Pressure Drop Max | Special Mtn Note | Special Mtn Note Det | Specific Gravity | Square Root | Transmitter Manufact | Transmitter? | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5120896 | SENSUS | WBNGR-TRMT Plant Eff(3in) /METER | PABA-BA-WBNGR-TRMT | P102 | INSV | INST | HUSSAARM | M | 1276247 | W-350-DRE | PLANT EFFLUENT |  | XX |  |  |  |  | 250 |  | GPM |  | TURBINE/PROPELLER | 2 WIRE | 0.0 PSI |  | 3 | Y | 4-20MA | AW |  |  |  | 0.00 UN |  | SENSUS | Y | Maint Look Functional Location | Ops Look Functional Location
5120897 | ENDRESS-HAUSER | BNGRC-OXFD-BLDG Oxford(8in) /METER | PABA-BA-BNGRC-OXFD-BLDG | P102 | INSV | INST | HUSSAARM | H | C1046516000 | Pro-Mag 53W | RAW WATER (SURFACE) |  | Y | [6 empty] | GPM |  | MAGNETIC | 2 WIRE |  |  | 8 | Y | 4-20MA | AW | [5 empty] | ENDRESS-HAUSER | Y | Maint Look Functional Location | Ops Look Functional Location
5120898 | SENSUS | BNGRC-WTPS-TRMT Supernatant(3in) /METER | PABA-BA-BNGRC-WTPS-TRMT | P102 | INSV | INST | HUSSAARM | H | 1276248 | W350 -DR-TURBO | PLANT PROCESS |  | XX | [6 empty] | GPM |  | TURBINE/PROPELLER |  |  |  | 3 | N |  | AW | [6 empty] | N | Maint Look Functional Location | Ops Look Functional Location
5120899 | NEPTUNE | BNGRC-WTPS-TRMT Plant Potable() /METER | PABA-BA-BNGRC-WTPS-TRMT | P102 | INSV | INST | HUSSAARM | H | 169189 | 3/4T-10 | PLANT PROCESS |  | XX | [6 empty] | GPM |  | TURBINE/PROPELLER |  |  | BRONZE | XX | N |  | AW | [6 empty] | N | Maint Look Functional Location | Ops Look Functional Location
5127500 | BIF | BNGRC-WTPS-TRMT Plant Eff(12in) /METER | PABA-BA-BNGRC-WTPS-TRMT | P102 | INSV | INST | HUSSAARM | M | 88-41497-2-2 | 20181-12-11-00000206 | PLANT EFFLUENT |  | N | IN WATER | [5 empty] | MGD |  | VENTURI | 2 WIRE | 0.0 PSI | DUCTILE IRON | 12 | Y | 4-20MA | AW |  |  |  | 0.00 UN |  | BRISTOL BABCOCK | Y | Maint Look Functional Location | Ops Look Functional Location
5127501 | BIF | BNGRC-WTPS-TRMT Raw Venturi(12in) /METER | PABA-BA-BNGRC-WTPS-TRMT | P102 | INSV | INST | HUSSAARM | H | 88-41497-2-1 | 20181-12-11-00000206 | PLANT INFLUENT |  | XX | IN WATER | [5 empty] | MGD |  | VENTURI | 2 WIRE |  | DUCTILE IRON | 12 | Y | 4-20MA | AW | [5 empty] | BRISTOL BABCOCK | Y | Maint Look Functional Location | Ops Look Functional Location
5127502 | BIF | BNGRC-WTPS-TRMT BW Venturi(12in) /METER | PABA-BA-BNGRC-WTPS-TRMT | P102 | INSV | INST | HUSSAARM | H | 88-41497-3-1 | 20181-12-11-00000206 | PLANT BACKWASH |  | XX | IN WATER | [5 empty] | MGD |  | VENTURI | 2 WIRE |  | DUCTILE IRON | 12 | Y | 4-20MA | AW | [5 empty] | HONEYWELL | Y | Maint Look Functional Location | Ops Look Functional Location
5127503 | BIF | BNGRC-WTPS-TRMT F1 Venturi(10in) /METER | PABA-BA-BNGRC-WTPS-TRMT | P102 | INSV | INST | HUSSAARM | H | 88-41497-1-2 | 20181-10-17-00000206 | PLANT PROCESS |  | XX | IN WATER | [5 empty] | MGD |  | VENTURI | 2 WIRE |  | DUCTILE IRON | 10 | Y | 4-20MA | AW | [5 empty] | HONEYWELL | Y | Maint Look Functional Location | Ops Look Functional Location
5127504 | BIF | BNGRC-WTPS-TRMT F2 Venturi(10in) /METER | PABA-BA-BNGRC-WTPS-TRMT | P102 | INSV | INST | HUSSAARM | H | 88-41497-1-1 | 20181-10-17-00000206 | PLANT PROCESS |  | XX | IN WATER | [5 empty] | MGD |  | VENTURI | 2 WIRE |  | DUCTILE IRON | 10 | Y | 4-20MA | AW | [5 empty] | HONEYWELL | Y | Maint Look Functional Location | Ops Look Functional Location
5127505 | BIF | BNGRC-WTPS-TRMT F3 Venturi(10in) /METER | PABA-BA-BNGRC-WTPS-TRMT | P102 | INSV | INST | HUSSAARM | H | 88-414-1-3 | 20181-10-17-00000206 | PLANT PROCESS |  | XX | IN WATER | [5 empty] | MGD |  | VENTURI | 2 WIRE |  | DUCTILE IRON | 10 | Y | 4-20MA | AW | [5 empty] | BRISTOL BABCOCK | Y | Maint Look Functional Location | Ops Look Functional Location
5127506 | SENSUS | BNGRC-WPRT Pritchard Well(3in) /METER | PABA-BA-BNGRC-WPRT | P102 | INSV | INST | HUSSAARM | H |  | W-350 | RAW WATER (GROUND) |  | N | [6 empty] | GPM |  | TURBINE/PROPELLER | 2 WIRE |  | BRONZE | 3 | Y | 4-20MA | AW | [5 empty] | SENSUS | Y | Maint Look Functional Location | Ops Look Functional Location
5127507 | SENSUS | BNGRC-WTPS-W2JH Joe Hand 2(2in) /METER | PABA-BA-BNGRC-WTPS-W2JH | P102 | INSV | INST | HUSSAARM | H |  | W-160 | RAW WATER (GROUND) |  | XX | [6 empty] | GPM |  | TURBINE/PROPELLER | 2 WIRE |  | BRONZE | 2 | Y | 4-20MA | AW | [5 empty] | SENSUS | Y | Maint Look Functional Location | Ops Look Functional Location
5127508 | SENSUS | BNGRC-WSTF Stofflet Well(3in) /METER | PABA-BA-BNGRC-WSTF | P102 | INSV | INST | HUSSAARM | H |  | W-350 | RAW WATER (GROUND) |  | XX | [6 empty] | GPM |  | TURBINE/PROPELLER | 2 WIRE |  |  | 3 | Y | 4-20MA | AW | [5 empty] | SENSUS | Y | Maint Look Functional Location | Ops Look Functional Location
5127509 | SENSUS | BNGRC-W1JH Joe Hand 1 Well(4in) /METER | PABA-BA-BNGRC-W1JH | P102 | INSV | INST | HUSSAARM | H |  | W-1000 | RAW WATER (GROUND) |  | XX | [6 empty] | GPM |  | TURBINE/PROPELLER | 2 WIRE |  | BRONZE | 4 | Y | 4-20MA | AW | [5 empty] | SENSUS | Y | Maint Look Functional Location | Ops Look Functional Location
5127510 | SENSUS | BNGRC-WLBR Labar Well(3in) /METER | PABA-BA-BNGRC-WLBR | P102 | INSV | INST | HUSSAARM | H |  | W-350 | RAW WATER (GROUND) |  | XX | [6 empty] | GPM |  | TURBINE/PROPELLER | 2 WIRE |  | BRONZE | 3 | Y | 4-20MA | AW | [5 empty] | SENSUS | Y | Maint Look Functional Location | Ops Look Functional Location
5127511 | SENSUS | NBBST N Bangor Booster(2in) /METER | PABA-BA-NBBST | P102 | INSV | INST | HUSSAARM | H | 70088553 | W-160 | DISTRIBUTION ZONE |  | XX | [6 empty] | GPM |  | TURBINE/PROPELLER | 2 WIRE |  | BRONZE | 2 | N | 4-20MA | AW | [5 empty] | SENSUS | Y | Maint Look Functional Location | Ops Look Functional Location
5127512 | SENSUS | CSBST Chestnut St Booster(4in) /METER | PABA-BA-CSBST | P102 | INSV | INST | HUSSAARM | H |  | W-1000 | DISTRIBUTION ZONE |  | XX | [6 empty] | GPM |  | TURBINE/PROPELLER | 2 WIRE |  | BRONZE | 4 | Y | 4-20MA | AW | [5 empty] | SENSUS | Y | Maint Look Functional Location | Ops Look Functional Location
5127513 | KROHNE | NGBST N Garibaldi Bst(8in) /METER | PABA-BA-NGBST | P102 | INSV | INST | HUSSAARM | H | C080583 | 2300C | DISTRIBUTION ZONE |  | N | [6 empty] | GPM |  | MAGNETIC | 2 WIRE |  |  | 8 | Y | 4-20MA | AW | [5 empty] | KROHNE | Y | Maint Look Functional Location | Ops Look Functional Location
5187012 | SENSUS | BH-WELLS Well Flow /METER | PABH-BH-WELLS | P102 | OOS | DLFL INAC INST | TSCHACLP | H |  | OMNI T2 | PLANT EFFLUENT |  | N | [8 empty] | MAGNETIC |  |  |  | 2 | N |  | AW | [7 empty] | Maint Look Functional Location | Ops Look Functional Location
5244920 | UNKNOWN | WBNGR-RESR 8" Effluent /METER | PABA-BA-WBNGR-RESR | P102 | INSV | INST | BAERJC | M | 18319713 | BE6300 | PLANT EFFLUENT |  | N |  |  |  | 0-1500 |  | 150 | GPM |  | ULTRASONIC DOPPLER |  |  | CAST IRON | 8 | Y | 4-20MA | AW | [6 empty] | Y | Maint Look Functional Location | Ops Look Functional Location
5244921 | ROSEMOUNT | BNGRC-WTPS-URES 12" Effluent /METER | PABA-BA-BNGRC-WTPS-URES | P102 | INSV | INST | BAERJC | M | 17124 | 8750WA-12 | PLANT EFFLUENT |  | N |  |  |  | 0-6000 |  | 150-700 | GPM |  | MAGNETIC |  |  | DUCTILE IRON | 12 | Y | 4-20MA | AW | [6 empty] | Y | Maint Look Functional Location | Ops Look Functional Location