## FlowWeir
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | Beta Ratio | Bypass Valve? | Calibration UOM | Comm Protocol | Differential PSI Ran | Flow Calibrated Rang | Flow Max Intermitten | Flow Normal Range | Flow UOM | Flow Velocity Range | Flow Weir Type | Instrument Power | Max Pressure | Met-Material | Nominal Size | On SCADA? | Output Type | Owned By | Pressure Drop Max | Special Mtn Note | Special Mtn Note Det | Specific Gravity | Square Root | Transmitter Manufact | Transmitter? | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5089037 | INVENTRON | ALDRC-CLAR Decant to River /METER | PAPT-Z1-ALDRC-CLAR | P133 | INSV | INST | HUSSAARM | H |  |  | PLANT WASTE |  | XX | [6 empty] | MGD |  | RECTANGULAR |  |  | OTHER | 30 | Y | 4-20MA | AW | [6 empty] | Y | Maint Water Treatment Equip | Ops Water Treatment
5089043 | INVENTRON | ALDRC-CLAR Lagoon to River /METER | PAPT-Z1-ALDRC-CLAR | P133 | INSV | INST | HUSSAARM | H |  |  | PLANT WASTE |  | XX | [6 empty] | MGD |  | RECTANGULAR |  |  | OTHER | XX | Y | 4-20MA | AW | [6 empty] | Y | Maint Water Treatment Equip | Ops Water Treatment
5096213 | UNKNOWN | ONEID-CST1 Site One Weir /METER | PABU-MS-ONEID-CST1 | P126 | INSV | INST | HUSSAARM | H |  |  |  |  | XX | [8 empty] | V-NOTCH |  | 0.0 PSI |  | XX |  |  | AW |  |  |  | 0.00 UN |  |  |  | Maint Water Treatment Equip | Ops Water Treatment
5096215 | UNKNOWN | ONEID-TRES Thorn Run Weir /METER | PABU-MS-ONEID-TRES | P126 | INSV | INST | HUSSAARM | H |  |  |  |  | XX | [8 empty] | V-NOTCH |  |  |  | XX |  |  | AW | [7 empty] | Maint Water Treatment Equip | Ops Water Treatment
5096219 | UNKNOWN | ONEID-ORES Onieda Weir /METER | PABU-MS-ONEID-ORES | P126 | INSV | INST | HUSSAARM | H |  |  |  |  | XX | [8 empty] | V-NOTCH |  |  |  | XX |  |  | AW | [7 empty] | Maint Water Treatment Equip | Ops Water Treatment
5099134 | UNKNOWN | WDSPR-RESV-RESV Main Stream(12in) /METER | PAWD-UN-WDSPR-RESV-RESV | P151 | INSV | INST | HUSSAARM | H |  |  |  |  | XX |  |  |  | 1.616 |  | 0.26 | MGD |  | V-NOTCH |  |  |  | 12 | N |  | AW | [6 empty] | N | Maint Water Treatment Equip | Ops Water Treatment
5099136 | UNKNOWN | WDSPR-RESV-RESV Overflow(12in) /METER | PAWD-UN-WDSPR-RESV-RESV | P151 | INSV | INST | HUSSAARM | H |  |  |  |  | XX |  |  |  | 1.616 |  | 0.26 | MGD |  | V-NOTCH |  |  |  | 12 | N |  | AW | [6 empty] | N | Maint Water Treatment Equip | Ops Water Treatment
5131608 | UNKNOWN | NCTP-TP THICKENER RECYC FLW(1") /METER | PANC-MS-NCTP.-TP.. | P123 | INSV | INST | HUSSAARM | H |  |  | PLANT WASTE |  | XX | [5 empty] | 0 - 35 | GPM |  | V-NOTCH |  |  |  | 1 | Y |  | AW | [5 empty] | BRISTOL BABCOCK | Y | Maint Water Treatment Equip | Ops Water Treatment
5179950 | UNKNOWN | CRYSL-BEAR-RWPS BC Weir Flow() /METER | PAWS-CL-CRYSL-BEAR-RWPS | P143 | OOS | INAC INST | HUSSAARM | H |  |  |  |  | XX | [8 empty] | RECTANGULAR |  |  |  | XX | Y |  | AW | [6 empty] | Y | Maint Water Treatment Equip | Ops Water Treatment
5179951 | UNKNOWN | CRYSL-WTPS-WEIR Wapwallopen 4() /METER | PAWS-CL-CRYSL-WTPS-WEIR | P143 | INSV | INST | HUSSAARM | H |  |  |  |  | XX | [8 empty] | RECTANGULAR |  | 0.0 PSI |  | XX | N |  | AW |  |  |  | 0.00 UN |  |  | N | Maint Water Treatment Equip | Ops Water Treatment
5229127 | EASTECH | HAYSC-DEWS-GRV2 NPDES Flow Meter /WEIR | PAPT-Z5-HAYSC-DEWS-GRV2 | P132 | INSV | INST | TSCHACLP | M | 2210-FB5A |  | PLANT WASTE |  | N |  |  |  | 0 -05 MGD |  |  | MGD |  | V-NOTCH |  |  | ALUMINUM | 20 | N | 4-20MA | AW | [6 empty] | Y | Maint Water Treatment Equip | Ops Water Treatment