## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | Beta Ratio | Bypass Valve? | Calibration UOM | Comm Protocol | Differential PSI Ran | Flow Calibrated Rang | Flow Max Intermitten | Flow Normal Range | Flow UOM | Flow Velocity Range | Flow Weir Type | Instrument Power | Max Pressure | Met-Material | Nominal Size | On SCADA? | Output Type | Owned By | Pressure Drop Max | Special Mtn Note | Special Mtn Note Det | Specific Gravity | Square Root | Transmitter Manufact | Transmitter? | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5089037 | INVENTRON | ALDRC-CLAR Decant to River /METER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | PLANT WASTE |  | XX | [6 empty] | MGD |  | RECTANGULAR |  |  | OTHER | 30 | Y | 4-20MA | AW | [6 empty] | Y | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
5089043 | INVENTRON | ALDRC-CLAR Lagoon to River /METER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | PLANT WASTE |  | XX | [6 empty] | MGD |  | RECTANGULAR |  |  | OTHER | XX | Y | 4-20MA | AW | [6 empty] | Y | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
5096213 | UNKNOWN | ONEID-CST1 Site One Weir /METER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  |  |  | XX | [8 empty] | V-NOTCH |  | 0.0 PSI |  | XX |  |  | AW |  |  |  | 0.00 UN |  |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
5096215 | UNKNOWN | ONEID-TRES Thorn Run Weir /METER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  |  |  | XX | [8 empty] | V-NOTCH |  |  |  | XX |  |  | AW | [7 empty] | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
| INVENTRON | ALDRC-CLAR Decant to River /METER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | PLANT WASTE |  | XX | [6 empty] | MGD |  | RECTANGULAR |  |  | OTHER | 30 | Y | 4-20MA | AW | [6 empty] | Y | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
| INVENTRON | ALDRC-CLAR Lagoon to River /METER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | PLANT WASTE |  | XX | [6 empty] | MGD |  | RECTANGULAR |  |  | OTHER | XX | Y | 4-20MA | AW | [6 empty] | Y | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | ONEID-CST1 Site One Weir /METER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  |  |  | XX | [8 empty] | V-NOTCH |  | 0.0 PSI |  | XX |  |  | AW |  |  |  | 0.00 UN |  |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | ONEID-TRES Thorn Run Weir /METER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  |  |  | XX | [8 empty] | V-NOTCH |  |  |  | XX |  |  | AW | [7 empty] | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC