## GasDetector
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Action Taken Upon Al | Backup Power | Gas (Detected/Mitiga | Gas Alarm SetPoint | Gas Detector Type | Owned By | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5019650 | UNKNOWN | LINC-PDB-CL2ROOM CL DETECTOR /SAFGASDT | ILCP-UR-LINC.-PDB.-CL2R | P301 | REMV | INAC INST | HUSSAARM | H |  |  | SIREN/STROBE | Y | CHLORINE |  | PERMANENT | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5019651 | UNKNOWN | MATS-CEM-CL2ROOM CL DETECTOR /SAFGASDT | ILCP-CP-MATS.-CEM.-CL2R | P301 | INSV | INST | HUSSAARM | H |  |  | SIREN | Y | CHLORINE |  | PERMANENT | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5019652 | UNKNOWN | BRAD-WCM-CO2ROOM CO2 DETECTOR /SAFGASDT | ILCP-CP-BRAD.-WCM.-CO2R | P301 | INSV | INST | HUSSAARM | H |  |  | SIREN | Y | OTHER |  | PERMANENT | AW |  |  | Maint Look Functional Location | Ops Look Functional Location