## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Action Taken Upon Al | Backup Power | Gas (Detected/Mitiga | Gas Alarm SetPoint | Gas Detector Type | Owned By | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5019650 | UNKNOWN | LINC-PDB-CL2ROOM CL DETECTOR /SAFGASDT | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | SIREN/STROBE | Y | CHLORINE |  | PERMANENT | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  |  |  | NJMM-MM-ABTNK-MCC
5019651 | UNKNOWN | MATS-CEM-CL2ROOM CL DETECTOR /SAFGASDT | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | SIREN | Y | CHLORINE |  | PERMANENT | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  |  |  | NJMM-MM-ABTNK-MCC
5019652 | UNKNOWN | BRAD-WCM-CO2ROOM CO2 DETECTOR /SAFGASDT | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | SIREN | Y | OTHER |  | PERMANENT | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  |  |  | NJMM-MM-ABTNK-MCC
5019653 | UNKNOWN | BRAD-WCM-CO2ROOM CO2 DETECTOR /SAFGASDT | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | SIREN | Y | OTHER |  | PERMANENT | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | LINC-PDB-CL2ROOM CL DETECTOR /SAFGASDT | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | SIREN/STROBE | Y | CHLORINE |  | PERMANENT | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | MATS-CEM-CL2ROOM CL DETECTOR /SAFGASDT | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | SIREN | Y | CHLORINE |  | PERMANENT | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | BRAD-WCM-CO2ROOM CO2 DETECTOR /SAFGASDT | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | SIREN | Y | OTHER |  | PERMANENT | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | BRAD-WCM-CO2ROOM CO2 DETECTOR /SAFGASDT | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | SIREN | Y | OTHER |  | PERMANENT | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  |  |  | NJMM-MM-ABTNK-MCC