## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | Gear Ratio | Gearbox Type | Oil Capacity (gal) | Oil Type | Owned By | RPM Operating | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Account | NARUC Operations Account | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5013594 | UNKNOWN | LINC-WSB RAKE(WRM GEAR) /GEARBOX | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | WATER PROCESSING |  | DIRECT COUPLED | 2.500 1GL | SHC 630 | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5013595 | PHILADELPHIA | BRAD-ECB TURBINE /GEARBOX | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | WATER PROCESSING |  | DIRECT COUPLED | 9.500 1GL | SHC629 | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5013596 | UNKNOWN | BRAD-ECB RAKE(MAIN GEAR) /GEARBOX | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | WATER PROCESSING |  | DIRECT COUPLED | 3.000 1GL | SHC629 | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5013597 | UNKNOWN | BRAD-ECB RAKE(MAIN GEAR) /GEARBOX | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | WATER PROCESSING |  | DIRECT COUPLED | 3.000 1GL | SHC629 | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | LINC-WSB RAKE(WRM GEAR) /GEARBOX | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | WATER PROCESSING |  | DIRECT COUPLED | 2.500 1GL | SHC 630 | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| PHILADELPHIA | BRAD-ECB TURBINE /GEARBOX | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | WATER PROCESSING |  | DIRECT COUPLED | 9.500 1GL | SHC629 | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | BRAD-ECB RAKE(MAIN GEAR) /GEARBOX | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | WATER PROCESSING |  | DIRECT COUPLED | 3.000 1GL | SHC629 | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | BRAD-ECB RAKE(MAIN GEAR) /GEARBOX | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | WATER PROCESSING |  | DIRECT COUPLED | 3.000 1GL | SHC629 | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC