## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Gravity Main Type | Owned By | Upstream ID | Downstream ID | Waste Water Type | Basin | Sub Basin | Special Mtn Note | Special Mtn Note Details | Dependency Driver 1 | Map Page | Book Page | Pipe /Channel Size | Pipe Material | Lined | Lined Date | Lined Material | Asset Location | Surface Cover Loc Type | Flow Direction | Installation WO# | Inspection Frequency | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5131552 | UNKNOWN | BNGRC-WTPS PLANT GENERATOR /GENERATOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | I880159286 | 350DFN29180D |  | EMERGENCY | N |  |  |  | ENGINE DRIVEN | CLEANOUT INSTALLED | 0.00 A | AW | 3 | N | 1800 | Y | [8 empty] | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | NJMM-MM-ABTNK-MCC
5131553 | UNKNOWN | BNGRC-WTPS PORTABLE GEN /GENERATOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | TS75II | Powr Gard G953215 |  | EMERGENCY | N |  |  |  | ENGINE DRIVEN | CLEANOUT INSTALLED | 0.00 A | AW | 3 | Y | 1800 | N | [8 empty] | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | NJMM-MM-ABTNK-MCC
5131554 | UNKNOWN | BNGRC-WTPS SMALL PORTABLE /GENERATOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  | Vanguard Pro 8000w |  | EMERGENCY | N |  |  |  | ENGINE DRIVEN | CLEANOUT INSTALLED | 0.00 A | AW | 1 | Y | 1800 | N | [8 empty] | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | NJMM-MM-ABTNK-MCC
5131555 | UNKNOWN | BNGRC-WTPS SMALL PORTABLE /GENERATOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  | Vanguard Pro 8000w |  | EMERGENCY | N |  |  |  | ENGINE DRIVEN | CLEANOUT INSTALLED | 0.00 A | AW | 1 | Y | 1800 | N | [8 empty] | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | BNGRC-WTPS PLANT GENERATOR /GENERATOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | I880159286 | 350DFN29180D |  | EMERGENCY | N |  |  |  | ENGINE DRIVEN | USE LOW PRESSURE | 0.00 A | AW | 3 | N | 1800 | Y | [8 empty] | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | BNGRC-WTPS PORTABLE GEN /GENERATOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | TS75II | Powr Gard G953215 |  | EMERGENCY | N |  |  |  | ENGINE DRIVEN | USE LOW PRESSURE | 0.00 A | AW | 3 | Y | 1800 | N | [8 empty] | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | BNGRC-WTPS SMALL PORTABLE /GENERATOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  | Vanguard Pro 8000w |  | EMERGENCY | N |  |  |  | ENGINE DRIVEN | USE LOW PRESSURE | 0.00 A | AW | 1 | Y | 1800 | N | [8 empty] | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | BNGRC-WTPS SMALL PORTABLE /GENERATOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  | Vanguard Pro 8000w |  | EMERGENCY | N |  |  |  | ENGINE DRIVEN | USE LOW PRESSURE | 0.00 A | AW | 1 | Y | 1800 | N | [8 empty] | Maint Pumping Power Prod | Ops Pumping Power Prd |  |  | NJMM-MM-ABTNK-MCC