## HVACVentilator
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Amp Rating | Application | Duty Cycle | Energy Type | HVAC Ventilation | Output UOM | Output Value | Owned By | Special Mtn Note | Special Mtn Note Det | Volt Rating | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5072669 | UNKNOWN | HAPPY-TRMT-HYPO EXHAUST 2 /VENTILATOR | INWL-WL-HAPPY-TRMT-HYPO | P558 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072668 | UNKNOWN | HAPPY-TRMT-HYPO EXHAUST 1 /VENTILATOR | INWL-WL-HAPPY-TRMT-HYPO | P558 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5054267 | UNKNOWN | FREFS EXHAUST FAN /VENTILATOR | INSY-SY-FREFS | P568 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5054265 | UNKNOWN | FREBS EXHAUST FAN /VENTILATOR | INSY-SY-FREBS | P568 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION | INTERMITTENT | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5054263 | UNKNOWN | WELLS EXHAUST FAN /VENTILATOR | INSY-SY-WELLS | P568 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5054261 | UNKNOWN | PLANT EXHAUST FAN 2 /VENTILATOR | INSY-SY-PLANT | P568 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5054259 | UNKNOWN | PLANT-CHEM EXHAUST FAN 5 /VENTILATOR | INSY-SY-PLANT-CHEM | P568 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION | INTERMITTENT | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5054257 | UNKNOWN | PLANT-CHEM EXHAUST FAN 4 /VENTILATOR | INSY-SY-PLANT-CHEM | P568 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION | INTERMITTENT | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5054255 | UNKNOWN | PLANT-CHEM EXHAUST FAN 3 /VENTILATOR | INSY-SY-PLANT-CHEM | P568 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION | INTERMITTENT | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5054253 | UNKNOWN | PLANT-CHEM EXHAUST FAN 2 /VENTILATOR | INSY-SY-PLANT-CHEM | P568 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION | INTERMITTENT | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5054252 | UNKNOWN | PLANT-CHEM EXHAUST FAN 1 /VENTILATOR | INSY-SY-PLANT-CHEM | P568 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION | INTERMITTENT | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5054249 | UNKNOWN | PLANT EXHAUST FAN 1 /VENTILATOR | INSY-SY-PLANT | P568 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5054247 | UNKNOWN | PLANT-FLTR EXHAUST FAN /VENTILATOR | INSY-SY-PLANT-FLTR | P568 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION | INTERMITTENT | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5046324 | UNKNOWN | PLANT-TRMT-ELEC ELEC RM /VENTILATOR | INWR-WR-PLANT-TRMT-ELEC | P557 | INSV | INST | HUSSAARM | L |  | COOK 165R5B | 0.00 A | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* | CFM | 2,000.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5046323 | UNKNOWN | PLANT-TRMT-MECH MECHANICAL /VENTILATOR | INWR-WR-PLANT-TRMT-MECH | P557 | INSV | INST | HUSSAARM | L |  | COOK 70R15DM | 0.00 A | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* | CFM | 75.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5046322 | UNKNOWN | PLANT-TRMT-OFFC WOMENS /VENTILATOR | INWR-WR-PLANT-TRMT-OFFC | P557 | INSV | INST | HUSSAARM | L |  | COOK 70R15DM | 0.00 A | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* | CFM | 75.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5046321 | UNKNOWN | PLANT-TRMT-OFFC MENS /VENTILATOR | INWR-WR-PLANT-TRMT-OFFC | P557 | INSV | INST | HUSSAARM | L |  | COOK 70R15DM | 0.00 A | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* | CFM | 75.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5046320 | UNKNOWN | PLANT-TRMT-PIPE JANITOR /VENTILATOR | INWR-WR-PLANT-TRMT-PIPE | P557 | INSV | INST | HUSSAARM | L |  | COOK 70R15DM | 0.00 A | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* | CFM | 75.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5046319 | UNKNOWN | PLANT-TRMT-PIPE COMPRESSOR /VENTILATOR | INWR-WR-PLANT-TRMT-PIPE | P557 | INSV | INST | HUSSAARM | L |  | COOK 135R3B | 0.00 A | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* | CFM | 1,000.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5046318 | UNKNOWN | PLANT-TRMT-CHLR HYPO /VENTILATOR | INWR-WR-PLANT-TRMT-CHLR | P557 | INSV | INST | HUSSAARM | L |  | COOK 210R6B | 0.00 A | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* | CFM | 3,048.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5046317 | UNKNOWN | PLANT-TRMT-AMMN AMMONIA /VENTILATOR | INWR-WR-PLANT-TRMT-AMMN | P557 | INSV | INST | HUSSAARM | L |  | COOK 100R3B | 0.00 A | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* | CFM | 627.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5046316 | UNKNOWN | PLANT-TRMT-PHOS PHOSPHATE /VENTILATOR | INWR-WR-PLANT-TRMT-PHOS | P557 | INSV | INST | HUSSAARM | L |  | COOK 100R3B | 0.00 A | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* | CFM | 627.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5046309 | UNKNOWN | PLANT-TRMT-LABR FUME HOOD /VENTILATOR | INWR-WR-PLANT-TRMT-LABR | P557 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5046308 | UNKNOWN | PLANT-TRMT-FLUR FLUORIDE /VENTILATOR | INWR-WR-PLANT-TRMT-FLUR | P557 | INSV | INST | HUSSAARM | L |  | COOK 100R3B | 0.00 A | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* | CFM | 627.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5046307 | UNKNOWN | PLANT-TRMT-KNO4 PERMANGENATE /VENTILATOR | INWR-WR-PLANT-TRMT-KNO4 | P557 | INSV | INST | HUSSAARM | L |  | COOK 100R3B | 0.00 A | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* | CFM | 627.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5210007 | UNKNOWN | INCR-Z1-MCOPT-PLNT-FLRD EXHAUST | INCR-Z1-MCOPT-PLNT-FLRD | P560 | INSV | INST | TRUEHS | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5208925 | UNKNOWN | PLANT-CHLN/VENTILATION SYS | INTH-TH-PLANT-CHLN | P564 | INSV | INST | TRUEHS | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5208427 | UNKNOWN | SULLIVAN-FLUOR BLDG/EXHAUST | INSL-SL-PLANT-FLOR | P565 | INSV | INST | TRUEHS | M |  |  | 0.00 A | COMFORT |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5208425 | UNKNOWN | SULLIVAN-PHOS BLDG/EXHAUST | INSL-SL-PLANT-PHOS | P565 | INSV | INST | TRUEHS | M |  |  | 0.00 A | COMFORT |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5208238 | UNKNOWN | INWV-WV-PLANT/ EXHAUST FAN | INWV-WV-PLANT-PLNT | P561 | INSV | INST | TRUEHS | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5208223 | UNKNOWN | PLANT-cntrl/Ammonia Exhaust | INTH-TH-PLANT-CTRL | P564 | INSV | INST | TRUEHS | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5207537 | UNKNOWN | SULLIVAN CL2 EXHAUST FAN /VENTILATOR | INSL-SL-PLANT-BLDG | P565 | INSV | INST | TRUEHS | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5207536 | UNKNOWN | MEROM CL2 EXHAUST FAN /VENTILATOR MAINT | INSL-MR-PLANT | P565 | INSV | INST | TRUEHS | M |  |  | 0.00 A | COMFORT |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072724 | UNKNOWN | DAVIS-TRMT SUPPLY FAN /VENTILATOR | INWL-WL-DAVIS-TRMT | P558 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | COMFORT |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072723 | UNKNOWN | DAVIS-TRMT ROOF AIR HANDLER /VENTILATOR | INWL-WL-DAVIS-TRMT | P558 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | COMFORT |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072722 | UNKNOWN | DAVIS-TRMT RESTROOM EXHAUST /VENTILATOR | INWL-WL-DAVIS-TRMT | P558 | OOS | INAC INST | HUSSAARM | L |  |  | 0.00 A | COMFORT |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072718 | UNKNOWN | DAVIS-TRMT-POLY EXHAUST FAN /VENTILATOR | INWL-WL-DAVIS-TRMT-POLY | P558 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072716 | UNKNOWN | DAVIS-TRMT-PHOS EXHAUST FAN /VENTILATOR | INWL-WL-DAVIS-TRMT-PHOS | P558 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072714 | UNKNOWN | DAVIS-TRMT-KN04 EXHAUST FAN /VENTILATOR | INWL-WL-DAVIS-TRMT-KN04 | P558 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072707 | UNKNOWN | DAVIS-TRMT-HYPO EXHAUST 2 /VENTILATOR | INWL-WL-DAVIS-TRMT-HYPO | P558 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072706 | UNKNOWN | DAVIS-TRMT-HYPO EXHAUST 1 /VENTILATOR | INWL-WL-DAVIS-TRMT-HYPO | P558 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072702 | UNKNOWN | DAVIS-TRMT-FLOR EXHAUST FAN /VENTILATOR | INWL-WL-DAVIS-TRMT-FLOR | P558 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072691 | UNKNOWN | HAPPY-TRMT ROOFTOP /VENTILATOR | INWL-WL-HAPPY-TRMT | P558 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | COMFORT |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072689 | UNKNOWN | HAPPY-TRMT-MECH RSTRM EXH /VENTILATOR | INWL-WL-HAPPY-TRMT-MECH | P558 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | COMFORT |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072686 | UNKNOWN | HAPPY-TRMT-MECH AIR UNIT /VENTILATOR | INWL-WL-HAPPY-TRMT-MECH | P558 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | COMFORT |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072685 | UNKNOWN | HAPPY-TRMT SUPPLY FAN /VENTILATOR | INWL-WL-HAPPY-TRMT | P558 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | COMFORT |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072678 | UNKNOWN | HAPPY-TRMT-POLY EXHAUST FAN /VENTILATOR | INWL-WL-HAPPY-TRMT-POLY | P558 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072676 | UNKNOWN | HAPPY-TRMT-PHOS EXHAUST /VENTILATOR | INWL-WL-HAPPY-TRMT-PHOS | P558 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072674 | UNKNOWN | HAPPY-TRMT-FLOR EXHAUST FAN /VENTILATOR | INWL-WL-HAPPY-TRMT-FLOR | P558 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5072672 | UNKNOWN | HAPPY-TRMT-KN04 EXHAUST FAN /VENTILATOR | INWL-WL-HAPPY-TRMT-KN04 | P558 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5039072 | UNKNOWN | FWBS Exhaust Fan /VENTILATOR | INNW-WF-FWBS. | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5038925 | UNKNOWN | BPTP-BP-FB-HSCHEM EX FAN-NH3/VENTILATOR | INNW-GA-BPTP.-BP..-FB..-HSCH | P569 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5038919 | UNKNOWN | BPTP-BP-FB AIR INTAKE BLWR2 /VENTIL | INNW-GA-BPTP.-BP..-FB.. | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5038918 | UNKNOWN | BPTP-BP-FB AIR INTAKE BLWR1 /VENTIL | INNW-GA-BPTP.-BP..-FB.. | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5038908 | UNKNOWN | 41BS-BS Exhast Fan /VENTILATOR | INNW-GA-41BS.-BS.. | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5038894 | UNKNOWN | FRTW-BS Exhaust Fan 2 /VENTILATOR | INNW-CH-FRTW.-BS.. | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5038892 | UNKNOWN | FRTW-BS Exhaust Fan 1 /VENTILATOR | INNW-CH-FRTW.-BS.. | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5038890 | UNKNOWN | FRTW-ALT Exhaust Fan /VENTILATOR | INNW-CH-FRTW.-ALT. | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5020317 | UNKNOWN | PLANT-CHEM CHLORINE FEED /VENTILATOR | INKO-KO-PLANT-CHEM | P551 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5020316 | UNKNOWN | PLANT-CHEM CHLORINE STORAGE /VENTILATOR | INKO-KO-PLANT-CHEM | P551 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5020315 | ALLEN BRADLEY | PHILP-PLNT ORHTO EXHAUST /VENTILATOR | INKO-KO-PHILP-PLNT | P551 | INSV | INST | HUSSAARM | M |  | 700 HR |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5020314 | ALLEN BRADLEY | PHILP-PLNT FLUORIDE EXHAUST /VENTILATOR | INKO-KO-PHILP-PLNT | P551 | INSV | INST | HUSSAARM | M |  | 700 HR |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5020310 | ALLEN BRADLEY | PHILP-PLNT POLYMER EXHAUST /VENTILATOR | INKO-KO-PHILP-PLNT | P551 | INSV | INST | HUSSAARM | M |  | 700 HR |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5005734 | DAYTON | MCHGN-BSTR VENTILATION /VENTILATOR | INSO-SO-MCHGN-BSTR | P566 | INSV | INST | HUSSAARM | M | MM500-A0027-AA | 9K969 | 4.90 A | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* | CFM | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5005725 | UNKNOWN | PLANT EXHAUST EF-F1 /VENTILATOR | INSO-SO-PLANT | P566 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION | INTERMITTENT | ELECTRIC | HVAC-VNT* | CFM | 0.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5005702 | UNKNOWN | PLANT CENTRAL STN /VENTILATOR | INSO-SO-PLANT | P566 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | COMFORT |  | ELECTRIC | HVAC-VNT* | CFM | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5005700 | UNKNOWN | PLANT LOUVERS /VENTILATOR | INSO-SO-PLANT | P566 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  |  | HVAC-VNT* | CFM | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5005699 | UNKNOWN | PLANT TEMPERATURE CONTROLS /VENTILATOR | INSO-SO-PLANT | P566 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | COMFORT |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5005698 | UNKNOWN | PLANT LOUVERED PENTHOUSES /VENTILATOR | INSO-SO-PLANT | P566 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* | CFM | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5005697 | UNKNOWN | PLANT POWER VENTILATORS /VENTILATOR | INSO-SO-PLANT | P566 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | COMFORT | INTERMITTENT | ELECTRIC | HVAC-VNT* | CFM | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5005695 | UNKNOWN | PLANT MAKE UP AIR UNITS /VENTILATOR | INSO-SO-PLANT | P566 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* | CFM | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5005694 | UNKNOWN | PLANT VAV AIR THERMAL BOXES /VENTILATOR | INSO-SO-PLANT | P566 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | COMFORT | CONTINUOUS | ELECTRIC | HVAC-VNT* | CFM | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5004406 | UNKNOWN | MFPNT LIME DUST COLLECTOR 2 /VENTILATOR | INRC-MN-MFPNT | P553 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | PROCESSING |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5004405 | UNKNOWN | MFPNT LIME DUST COLLECTOR 1 /VENTILATOR | INRC-MN-MFPNT | P553 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | PROCESSING |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5004401 | UNKNOWN | MFPNT EX FAN LS /VENTILATOR | INRC-MN-MFPNT | P553 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5004400 | UNKNOWN | MFPNT EX FAN PUMP RM /VENTILATOR | INRC-MN-MFPNT | P553 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5039068 | UNKNOWN | SHTW-ALT Exhaust Fan /VENTILATOR | INNW-SH-SHTW.-ALT. | P569 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5039064 | UNKNOWN | SWTW Exhaust Fan /VENTILATOR | INNW-SF-SWTW. | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5039061 | UNKNOWN | PRTW-ALT Exhaust Fan /VENTILATOR | INNW-PR-PRTW.-ALT. | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5039059 | UNKNOWN | BABS Exhaust Fan /VENTILATOR | INNW-PR-BABS. | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5039054 | UNKNOWN | SHBS Exhaust Fan 2 /VENTILATOR | INNW-PO-SHBS. | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5039053 | UNKNOWN | SHBS Exhaust Fan 1 /VENTILATOR | INNW-PO-SHBS. | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5039049 | UNKNOWN | ODTP-OD-CL Makeup Air /VENTILATOR | INNW-OD-ODTP.-OD..-CL.. | P569 | INSV | INST | HUSSAARM | H |  | TA-130NGHRH | 26.00 A | FREEZE PROTECTION |  | NAT GAS | HVAC-VNT* |  | 2,500,000.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5039013 | UNKNOWN | NPTW Exhaust Fan /VENTILATOR | INNW-PO-NPTW. | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5039006 | UNKNOWN | 65BS Exhaust Fan /VENTILATOR | INNW-MV-65BS. | P569 | INSV | INST | HUSSAARM | L |  |  | 15.00 A | VENTILATION | INTERMITTENT | ELECTRIC | HVAC-VNT* | OTHER | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5038995 | UNKNOWN | 49BS Exhaust Fan /VENTILATOR | INNW-HO-49BS. | P569 | INSV | INST | HUSSAARM | L |  |  | 15.00 A | VENTILATION | INTERMITTENT | ELECTRIC | HVAC-VNT* | WATTS | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5038985 | UNKNOWN | ECBS Exhast Fan /VENTILATOR | INNW-GA-ECBS. | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5038939 | UNKNOWN | BPTP-BP-FB-PUMPFLOOR EXHSTFAN S /VENTIL | INNW-GA-BPTP.-BP..-FB..-PMPF | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5038938 | UNKNOWN | BPTP-BP-FB-PUMPFLOOR EXHSTFAN N /VENTIL | INNW-GA-BPTP.-BP..-FB..-PMPF | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5038926 | UNKNOWN | BPTP-BP-CB EXHST FAN-CL2 E /VENTIL | INNW-GA-BPTP.-BP..-CB..-CHLO | P569 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5038927 | UNKNOWN | BPTP-BP-CB EXHST FAN-CL2 N /VENTIL | INNW-GA-BPTP.-BP..-CB..-CHLO | P569 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5038928 | UNKNOWN | BPTP-BP-CB EXHST FAN-CL2 S /VENTIL | INNW-GA-BPTP.-BP..-CB..-CHLO | P569 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5038929 | UNKNOWN | BPTP-BP-CB EXHST FAN-CL2 W /VENTIL | INNW-GA-BPTP.-BP..-CB..-CHLO | P569 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5038930 | UNKNOWN | BPTP-BP-FB-COMPUTER EXHSTFAN /VENTIL | INNW-GA-BPTP.-BP..-FB..-CMPR | P569 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5038931 | UNKNOWN | BPTP-BP-FB-OFFICE Ex FanConf /VENTILATOR | INNW-GA-BPTP.-BP..-FB..-OFFI | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5038932 | UNKNOWN | BPTP-BP-FB-ELEC EXHSTFAN-ELEC RM /VENTIL | INNW-GA-BPTP.-BP..-FB..-ELEC | P569 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5038933 | UNKNOWN | BPTP-BP-FB EXHST FAN-FLOC N /VENTIL | INNW-GA-BPTP.-BP..-FB.. | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5038934 | UNKNOWN | BPTP-BP-FB EXHST FAN-FLOC S /VENTIL | INNW-GA-BPTP.-BP..-FB.. | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5038935 | UNKNOWN | BPTP-BP-FB-HSCHEMICAL XFanFl /VENTILATOR | INNW-GA-BPTP.-BP..-FB..-HSCH | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5038936 | UNKNOWN | BPTP-BP-FB-OFFICE XLunchEast /VENTILATOR | INNW-GA-BPTP.-BP..-FB..-OFFI | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5038937 | UNKNOWN | BPTP-BP-FB-OFFICE XLunchWest /VENTILATOR | INNW-GA-BPTP.-BP..-FB..-OFFI | P569 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5049434 | UNKNOWN | WTERS-CHEM-CAUS C RM EXH FAN /VENTILATOR | IAQC-Z1-WTERS-CHEM-CAUS | P502 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049432 | UNKNOWN | LEPCV LECLAIRE VALVE EXH FAN /VENTILATOR | IAQC-Z1-LEPCV | P502 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049428 | UNKNOWN | WRPRV W RIVER DR PRV EXH FAN /VENTILATOR | IAQC-Z1-WRPRV | P502 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049421 | UNKNOWN | CPBST CENTRAL PARK EXH FAN /VENTILATOR | IAQC-Z1-CPBST | P502 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049417 | UNKNOWN | FGRTK-BSTR FAIRGRNDS EXH FAN /VENTILATOR | IAQC-Z1-FGRTK-BSTR | P502 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049413 | UNKNOWN | DCBST DUCK CREEK EXH FAN /VENTILATOR | IAQC-Z1-DCBST | P502 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049409 | UNKNOWN | JRBST JERSEY EXH FAN /VENTILATOR | IAQC-Z1-JRBST | P502 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049397 | UNKNOWN | RIPTK-BST4 RIPLEY4 EXH FAN /VENTILATOR | IAQC-Z1-RIPTK-BST4 | P502 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049393 | UNKNOWN | RIPTK-BSTR RIPLEY EXH FAN /VENTILATOR | IAQC-Z1-RIPTK-BSTR | P502 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049383 | UNKNOWN | MRDTK-CLBS MRHYPO RM EXH FAN /VENTILATOR | IAQC-Z1-MRDTK-CLBS | P502 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049371 | UNKNOWN | NWBST NW EXH FAN /VENTILATOR | IAQC-Z1-NWBST | P502 | INSV | INST | HUSSAARM | M |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049328 | UNKNOWN | WTERS-CHEM CHEM GARAGE XFAN /VENTILATOR | IAQC-Z1-WTERS-CHEM | P502 | INSV | INST | HUSSAARM | L |  |  |  | FREEZE PROTECTION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049324 | UNKNOWN | WTERS-CHEM-CLSR CL2 W EX FAN /VENTILATOR | IAQC-Z1-WTERS-CHEM-CLSR | P502 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | VENTILATION |  | NAT GAS | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049323 | UNKNOWN | WTERS-CHEM-CLSR CL2 E EX FAN /VENTILATOR | IAQC-Z1-WTERS-CHEM-CLSR | P502 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | VENTILATION |  | NAT GAS | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049320 | UNKNOWN | WTERS-CHEM-CLRR RM EXHFAN /VENTILATOR | IAQC-Z1-WTERS-CHEM-CLRR | P502 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049316 | UNKNOWN | WTERS-CHEM-FLUR RM EXHFAN /VENTILATOR | IAQC-Z1-WTERS-CHEM-FLUR | P502 | INSV | INST | HUSSAARM | M |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049297 | UNKNOWN | WTERS-MSPR-HSMS WALL EXH#4 /VENTILATOR | IAQC-Z1-WTERS-MSPR-HSMS | P502 | INSV | INST | HUSSAARM | L |  |  |  | FREEZE PROTECTION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049295 | UNKNOWN | WTERS-MSPR-HSMS WALL EXH#3 /VENTILATOR | IAQC-Z1-WTERS-MSPR-HSMS | P502 | INSV | INST | HUSSAARM | L |  |  |  | FREEZE PROTECTION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049293 | UNKNOWN | WTERS-MSPR-HSMS ROOF EXH#2 /VENTILATOR | IAQC-Z1-WTERS-MSPR-HSMS | P502 | INSV | INST | HUSSAARM | L |  |  |  | FREEZE PROTECTION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049291 | UNKNOWN | WTERS-MSPR-HSMS ROOF EXH#1 /VENTILATOR | IAQC-Z1-WTERS-MSPR-HSMS | P502 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5049278 | UNKNOWN | WTERS-SPCL SP EXH FAN /VENTILATOR | IAQC-Z1-WTERS-SPCL | P502 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057933 | UNKNOWN | PLNT-LAM FAN /VENTILATOR | ILIU-ES-PLNT.-LAM. | P310 | INSV | INST | HUSSAARM | M |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057934 | UNKNOWN | PLNT-ACB FAN /VENTILATOR | ILIU-ES-PLNT.-ACB. | P310 | INSV | INST | HUSSAARM | M |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057935 | UNKNOWN | PLNT-VH1 FAN /VENTILATOR | ILIU-ES-PLNT.-VH1. | P310 | INSV | INST | HUSSAARM | M |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057936 | UNKNOWN | PLNT-VH2 FAN /VENTILATOR | ILIU-ES-PLNT.-VH2. | P310 | INSV | INST | HUSSAARM | M |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057937 | UNKNOWN | PLNT-CHM FAN /VENTILATOR | ILIU-ES-PLNT.-CHM. | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057938 | UNKNOWN | PLNT-MNT FAN /VENTILATOR | ILIU-ES-PLNT.-MNT. | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057939 | UNKNOWN | PLNT-APS FAN /VENTILATOR | ILIU-ES-PLNT.-APS. | P310 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057940 | UNKNOWN | PLNT-B1S FAN /VENTILATOR | ILIU-ES-PLNT.-B1S. | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057941 | UNKNOWN | PLNT-CPS FAN /VENTILATOR | ILIU-ES-PLNT.-CPS. | P310 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057942 | UNKNOWN | PLNT-B4S FAN /VENTILATOR | ILIU-ES-PLNT.-B4S. | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057943 | UNKNOWN | CHOU-INT FAN /VENTILATOR | ILIU-GC-CHOU.-INT. | P311 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057944 | UNKNOWN | BOND-BST FAN /VENTILATOR | ILIU-GC-BOND.-BST. | P311 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057945 | UNKNOWN | BOND-STK FAN /VENTILATOR | ILIU-GC-BOND.-STK. | P311 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057932 | UNKNOWN | PLNT-CCB FAN /VENTILATOR | ILIU-ES-PLNT.-CCB. | P310 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057931 | UNKNOWN | PLNT-HSP SOUTH FAN /VENTILATOR | ILIU-ES-PLNT.-HSP. | P310 | INSV | INST | HUSSAARM | M |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057930 | UNKNOWN | PLNT-HSP NORTH FAN /VENTILATOR | ILIU-ES-PLNT.-HSP. | P310 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057929 | UNKNOWN | PLNT-RH SOUTH FAN /VENTILATOR | ILIU-ES-PLNT.-RH.. | P310 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057928 | UNKNOWN | PLNT-RH NORTH FAN /VENTILATOR | ILIU-ES-PLNT.-RH.. | P310 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057927 | UNKNOWN | PLNT-CFB WEST FAN /VENTILATOR | ILIU-ES-PLNT.-CFB. | P310 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057926 | UNKNOWN | PLNT-CFB EAST FAN /VENTILATOR | ILIU-ES-PLNT.-CFB. | P310 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035220 | UNKNOWN | CRDNL-BSTR EF2 /VENTILATOR | ILAL-Z1-CRDNL-BSTR | P308 | INSV | INST | HUSSAARM | M |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035219 | UNKNOWN | CRDNL-BSTR EF1 /VENTILATOR | ILAL-Z1-CRDNL-BSTR | P308 | INSV | INST | HUSSAARM | M |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035216 | UNKNOWN | PCBST-CHLR EF /VENTILATOR | ILAL-Z1-PCBST-CHLR | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035213 | UNKNOWN | HARLD-BSTR SOUTH EF /VENTILATOR | ILAL-Z1-HARLD-BSTR | P308 | INSV | INST | HUSSAARM | L |  | 6XH64 |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035212 | UNKNOWN | HARLD-BSTR NORTH EF /VENTILATOR | ILAL-Z1-HARLD-BSTR | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035209 | UNKNOWN | PLANT-CHEM ELEC RM225 SF5 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057994 | UNKNOWN | GCWT-CHM PV-12 /VENTILATOR | ILIU-GC-GCWT.-CHM. | P311 | INSV | INST | HUSSAARM | H |  | 90TLC |  | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* |  |  | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5057993 | UNKNOWN | GCWT-CHM PV-11 /VENTILATOR | ILIU-GC-GCWT.-CHM. | P311 | INSV | INST | HUSSAARM | H |  | 70TLC |  | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* |  |  | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5057992 | UNKNOWN | GCWT-CHM PV-10 /VENTILATOR | ILIU-GC-GCWT.-CHM. | P311 | INSV | INST | HUSSAARM | H |  | 70TLC |  | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* |  |  | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5057991 | UNKNOWN | GCWT-CHM PV-9 /VENTILATOR | ILIU-GC-GCWT.-CHM. | P311 | INSV | INST | HUSSAARM | H |  | 70TLC |  | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* |  |  | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5057990 | UNKNOWN | GCWT-CHM PV-8 /VENTILATOR | ILIU-GC-GCWT.-CHM. | P311 | INSV | INST | HUSSAARM | H |  | 90TLC |  | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* |  |  | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5057989 | UNKNOWN | GCWT-CHM PV-7 /VENTILATOR | ILIU-GC-GCWT.-CHM. | P311 | INSV | INST | HUSSAARM | H |  | 30U8D |  | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* |  |  | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5057988 | UNKNOWN | GCWT-CHM PV-6 /VENTILATOR | ILIU-GC-GCWT.-CHM. | P311 | INSV | INST | HUSSAARM | H |  | 90TLC |  | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* |  |  | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5057987 | UNKNOWN | GCWT-CHM PV-5 /VENTILATOR | ILIU-GC-GCWT.-CHM. | P311 | INSV | INST | HUSSAARM | H |  | 30U8B |  | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* |  |  | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5057986 | UNKNOWN | GCWT-CHM PV-4 /VENTILATOR | ILIU-GC-GCWT.-CHM. | P311 | INSV | INST | HUSSAARM | H |  | 24U6B |  | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* |  |  | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5057985 | UNKNOWN | GCWT-CHM PV-3 /VENTILATOR | ILIU-GC-GCWT.-CHM. | P311 | INSV | INST | HUSSAARM | H |  | 30U7B |  | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* |  |  | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5057984 | UNKNOWN | GCWT-CHM PV-2 /VENTILATOR | ILIU-GC-GCWT.-CHM. | P311 | INSV | INST | HUSSAARM | H |  | 24U6B |  | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* |  |  | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5057983 | UNKNOWN | GCWT-CHM PV-1 /VENTILATOR | ILIU-GC-GCWT.-CHM. | P311 | INSV | INST | HUSSAARM | H |  | 42U11B | 0.00 A | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 460 | Maint Look Functional Location | Ops Look Functional Location
5057959 | UNKNOWN | WLBS-BST FAN /VENTILATOR | ILIU-BV-WLBS.-BST. | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057958 | UNKNOWN | MLMV FAN /VENTILATOR | ILIU-BV-MLMV. | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057957 | UNKNOWN | MLBS FAN /VENTILATOR | ILIU-BV-MLBS. | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057956 | UNKNOWN | SHBS FAN /VENTILATOR | ILIU-BV-SHBS. | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057955 | UNKNOWN | YORK-CHM FAN /VENTILATOR | ILIU-BV-YORK.-CHM. | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057954 | UNKNOWN | DEEP-BST FAN /VENTILATOR | ILIU-BV-DEEP.-BST. | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057953 | UNKNOWN | DTCH FAN /VENTILATOR | ILIU-BV-DTCH. | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057952 | UNKNOWN | EDGE-CHM FAN /VENTILATOR | ILIU-ES-EDGE.-CHM. | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057951 | UNKNOWN | EDGE-BST FAN /VENTILATOR | ILIU-ES-EDGE.-BST. | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057950 | UNKNOWN | FVBS-CHM FAN /VENTILATOR | ILIU-ES-FVBS.-CHM. | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057949 | UNKNOWN | FVBS-BS1 FAN /VENTILATOR | ILIU-ES-FVBS.-BS1. | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057948 | UNKNOWN | BBST FAN /VENTILATOR | ILIU-ES-BBST. | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057947 | UNKNOWN | GCBS-BST FAN /VENTILATOR | ILIU-GC-GCBS.-BST. | P311 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5057946 | UNKNOWN | BMMV FAN /VENTILATOR | ILIU-GC-BMMV. | P311 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035208 | UNKNOWN | PLANT-CHEM ELEC RM225 EF17 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035161 | UNKNOWN | PLANT-CHEM EF 7 RM234 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035159 | UNKNOWN | PLANT-CHEM EF 8 RM224 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035157 | UNKNOWN | PLANT-CHEM EF 12 RM223 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035155 | UNKNOWN | PLANT-CHEM EF 10 RM236 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035154 | UNKNOWN | PLANT-CHEM EF 23 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035151 | UNKNOWN | PLANT-CHEM EF 9 PRI COAG /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035150 | UNKNOWN | PLANT-RWPS EF LWRLVL /VENTILATOR | ILAL-Z1-PLANT-RWPS | P308 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035149 | UNKNOWN | PLANT-RWPS EF 101 4 /VENTILATOR | ILAL-Z1-PLANT-RWPS | P308 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035148 | UNKNOWN | PLANT-RWPS EF 101 3 /VENTILATOR | ILAL-Z1-PLANT-RWPS | P308 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035147 | UNKNOWN | PLANT-RWPS EF 101 2 /VENTILATOR | ILAL-Z1-PLANT-RWPS | P308 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035146 | UNKNOWN | PLANT-RWPS EF 101 1 /VENTILATOR | ILAL-Z1-PLANT-RWPS | P308 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035136 | UNKNOWN | PLANT-DSPS PUMP RM EF301 3 /VENTILATOR | ILAL-Z1-PLANT-DSPS | P308 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035135 | UNKNOWN | PLANT-DSPS PUMP RM EF301 2 /VENTILATOR | ILAL-Z1-PLANT-DSPS | P308 | INSV | INST | HUSSAARM | L |  |  | 2.40 A | VENTILATION | CONTINUOUS | ELECTRIC | HVAC-VNT* | CFM | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035134 | UNKNOWN | PLANT-DSPS PUMP RM EF301 1 /VENTILATOR | ILAL-Z1-PLANT-DSPS | P308 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031074 | UNKNOWN | SHBS CHLORINE ROOM /VENTILATOR | ILIU-BV-SHBS. | P310 | INSV | INST | HUSSAARM | H |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031071 | UNKNOWN | SHBS PUMP ROOM /VENTILATOR | ILIU-BV-SHBS. | P310 | INSV | INST | HUSSAARM | H |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031068 | UNKNOWN | SWIC BUILDING /VENTILATOR | ILIU-BV-SWIC. | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031063 | UNKNOWN | FRNK CHLORINE /VENTILATOR | ILIU-BV-FRNK. | P310 | INSV | INST | HUSSAARM | M |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031057 | UNKNOWN | GCWT-PACB ELECTRICAL ROOM /VENTILATOR | ILIU-GC-GCWT.-PACB | P311 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031056 | UNKNOWN | GCWT-PACB PUMP ROOM /VENTILATOR | ILIU-GC-GCWT.-PACB | P311 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031053 | UNKNOWN | PLNT-PACB ELECTRICAL ROOM /VENTILATOR | ILIU-ES-PLNT.-PACB | P310 | INSV | INST | HUSSAARM | L |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031052 | UNKNOWN | PLNT-PACB PUMP ROOM /VENTILATOR | ILIU-ES-PLNT.-PACB | P310 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5012905 | DAYTON | PWTPS-CHFD Carbon vent /VENTILATOR | ILPT-PO-PWTPS-CHFD | P304 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5012904 | PENN VENTILATION | PWTPS-CLFD CL2 vent /VENTILATOR | ILPT-PO-PWTPS-CLFD | P304 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5012903 | GREENTECH | PWTPS Precept vent /VENTILATOR | ILPT-PO-PWTPS | P304 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5012900 | UNKNOWN | PWTPS Lab vent /VENTILATOR | ILPT-PO-PWTPS | P304 | INSV | INST | HUSSAARM | M |  | Safeair | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5035207 | UNKNOWN | PLANT-TRMT AIR BLWR RM EF /VENTILATOR | ILAL-Z1-PLANT-TRMT | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035205 | UNKNOWN | PLANT-TRMT SP3 SF7 /VENTILATOR | ILAL-Z1-PLANT-TRMT | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035204 | UNKNOWN | PLANT-TRMT SP2 SF6 /VENTILATOR | ILAL-Z1-PLANT-TRMT | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035203 | UNKNOWN | PLANT-TRMT SP4 EF20 /VENTILATOR | ILAL-Z1-PLANT-TRMT | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035202 | UNKNOWN | PLANT-TRMT SP STAIR EF19 /VENTILATOR | ILAL-Z1-PLANT-TRMT | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035201 | UNKNOWN | PLANT-TRMT SP1 EF18 /VENTILATOR | ILAL-Z1-PLANT-TRMT | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035190 | UNKNOWN | PLANT-CHEM MAINT RM239 EF14 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035189 | UNKNOWN | PLANT-CHEM MAINT RM239 SF2 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035188 | UNKNOWN | PLANT-CHEM GARAGE RM238 EF13 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035187 | UNKNOWN | PLANT-CHEM GARAGE RM238 SF1 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035186 | UNKNOWN | PLANT-CHEM CARBON RM237 SF10 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035185 | UNKNOWN | PLANT-CHEM CARBON RM237 EF11 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | 0.00 A | VENTILATION |  | ELECTRIC | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035180 | UNKNOWN | PLANT-CHEM CL2 RM231 EF1 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | H |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035179 | UNKNOWN | PLANT-CHEM CL2 RM231 MAU10 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | FREEZE PROTECTION |  | NAT GAS | HVAC-VNT* |  | 0.00 UN | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035178 | UNKNOWN | PLANT-CHEM CL2/RM229 MAU9 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | NAT GAS | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035177 | UNKNOWN | PLANT-CHEM CL2/RM229 EF3 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035176 | UNKNOWN | PLANT-CHEM KMNO4RM228 EF15 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035175 | UNKNOWN | PLANT-CHEM KMNO4RM228 MAU 1 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | NAT GAS | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035174 | UNKNOWN | PLANT-CHEM NH3FEED RM230SF12 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035173 | UNKNOWN | PLANT-CHEM NH3 FEED RM230EF5 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035172 | UNKNOWN | PLANT-CHEM CAP/RM227 MAU2 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | NAT GAS | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035171 | UNKNOWN | PLANT-CHEM CAP/RM227 EF15 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035168 | UNKNOWN | PLANT-CHEM MAU 3 RM226 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | NAT GAS | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035167 | UNKNOWN | PLANT-CHEM EF 16 RM226 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035166 | UNKNOWN | PLANT-CHEM SF 11 RM 233 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5035165 | UNKNOWN | PLANT-CHEM EF6 RM 233 /VENTILATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  |  | VENTILATION |  | ELECTRIC | HVAC-VNT* |  |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location