## HVACExchanger
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | HVAC Exchanger | Material 2 | Material of Construc | Max Pressure | Media 1 Type | Media 2 Type | Output UOM | Output Value | Owned By | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5161524 | UNKNOWN | HAYSC-DEWS-DEWT HEATERS /EXCHANGER | PAPT-Z5-HAYSC-DEWS-DEWT | P132 | INSV | INST | HUSSAARM | M |  | AH12AB3A1A11A | TUBE EXC | [7 empty] | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110701 | BELL-GOSSETT | HAYSC-WTPS-CHMB HVAC /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB | P132 | INSV | INST | HUSSAARM | H |  | BP42240 | PLATE EXC |  | STAINLESS |  | WATER |  | BTU/HR | 962,971.00 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110084 | TRANE | HAYSC-WTPS-CHMB CUH8 /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB | P132 | INSV | INST | HUSSAARM | M |  | FCJ020 | TUBE EXC |  | OTHER |  | WATER |  |  | 7.00 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110082 | TRANE | HAYSC-WTPS-CHMB CUH7 /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB | P132 | INSV | INST | HUSSAARM | M |  | FCJ020 | TUBE EXC |  | OTHER |  | WATER |  |  | 7.00 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110080 | TRANE | HAYSC-WTPS-CHMB-CORR HUH16B /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-CORR | P132 | INSV | INST | HUSSAARM | M |  | 38S | TUBE EXC |  | OTHER |  | WATER |  |  | 14.30 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110078 | TRANE | HAYSC-WTPS-CHMB-CORR HUH16A /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-CORR | P132 | INSV | INST | HUSSAARM | M |  | 38S | TUBE EXC |  | OTHER |  | WATER |  |  | 14.30 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110076 | TRANE | HAYSC-WTPS-CHMB-FERR HUH13D /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-FERR | P132 | INSV | INST | HUSSAARM | M |  | 60S | TUBE EXC |  | OTHER |  | WATER |  |  | 27.40 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110074 | TRANE | HAYSC-WTPS-CHMB-FERR HUH13C /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-FERR | P132 | INSV | INST | HUSSAARM | M |  | 60S | TUBE EXC |  | OTHER |  | WATER |  |  | 27.40 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110072 | TRANE | HAYSC-WTPS-CHMB-FERR HUH13B /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-FERR | P132 | INSV | INST | HUSSAARM | M |  | 60S | TUBE EXC |  | OTHER |  | WATER |  |  | 27.40 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110070 | TRANE | HAYSC-WTPS-CHMB-FERR HUH13A /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-FERR | P132 | INSV | INST | HUSSAARM | M |  | 60S | TUBE EXC |  | OTHER |  | WATER |  |  | 27.40 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110068 | TRANE | HAYSC-WTPS-CHMB-CORR HUH12 /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-CORR | P132 | INSV | INST | HUSSAARM | M |  | 38S | TUBE EXC |  | OTHER |  | WATER |  |  | 14.30 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110066 | TRANE | HAYSC-WTPS-CHMB-CAUS HUH11D /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-CAUS | P132 | INSV | INST | HUSSAARM | M |  | 60S | TUBE EXC |  | OTHER |  | WATER |  |  | 27.20 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110064 | TRANE | HAYSC-WTPS-CHMB-CAUS HUH11C /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-CAUS | P132 | INSV | INST | HUSSAARM | M |  | 60S | TUBE EXC |  | OTHER |  | WATER |  |  | 27.40 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110062 | TRANE | HAYSC-WTPS-CHMB-CAUS HUH11B /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-CAUS | P132 | INSV | INST | HUSSAARM | M |  | 60S | TUBE EXC |  | OTHER |  | WATER |  |  | 27.40 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110060 | TRANE | HAYSC-WTPS-CHMB-CAUS HUH11A /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-CAUS | P132 | INSV | INST | HUSSAARM | M |  | 60S | TUBE EXC |  | OTHER |  | WATER |  |  | 27.40 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110058 | TRANE | HAYSC-WTPS-CHMB HUH10 /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB | P132 | INSV | INST | HUSSAARM | M |  | 38S | TUBE EXC |  | OTHER |  | WATER |  |  | 14.30 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110056 | TRANE | HAYSC-WTPS-CHMB HUH9 /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB | P132 | INSV | INST | HUSSAARM | M |  | 38S | TUBE EXC |  | OTHER |  | WATER |  |  | 14.30 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110055 | TRANE | HAYSC-WTPS-CHMB-CL2S HUH5C /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-CL2S | P132 | INSV | INST | HUSSAARM | M |  | 38S | TUBE EXC |  | OTHER |  | WATER |  |  | 14.30 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110053 | TRANE | HAYSC-WTPS-CHMB-CL2S HUH5B /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-CL2S | P132 | INSV | INST | HUSSAARM | M |  | 38S | TUBE EXC |  | OTHER |  | WATER |  |  | 14.30 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110051 | TRANE | HAYSC-WTPS-CHMB-CL2S HUH5A /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-CL2S | P132 | INSV | INST | HUSSAARM | M |  | 38S | TUBE EXC |  | OTHER |  | WATER |  |  | 14.30 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110049 | TRANE | HAYSC-WTPS-CHMB-AMMS HUH4 /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-AMMS | P132 | INSV | INST | HUSSAARM | M |  | 38S | TUBE EXC |  | OTHER |  | WATER |  |  | 14.30 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110047 | TRANE | HAYSC-WTPS-CHMB-FLOR HUH3 /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-FLOR | P132 | INSV | INST | HUSSAARM | M |  | 38S | TUBE EXC |  | OTHER |  | WATER |  |  | 14.30 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110044 | TRANE | HAYSC-WTPS-CHMB-NAMO HUH2 /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-NNMO | P132 | INSV | INST | HUSSAARM | M |  | 38S | TUBE EXC |  | OTHER |  | WATER |  |  | 14.30 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110042 | TRANE | HAYSC-WTPS-CHMB-LPOL HUH1C /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-LPOL | P132 | INSV | INST | HUSSAARM | M |  | 38S | TUBE EXC |  | OTHER |  | WATER |  |  | 14.30 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110040 | TRANE | HAYSC-WTPS-CHMB-LPOL HUH1B /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-LPOL | P132 | INSV | INST | HUSSAARM | M |  | 38S | TUBE EXC |  | OTHER |  | WATER |  |  | 14.30 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110039 | TRANE | HAYSC-WTPS-CHMB-CL2S HUH1E /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-CL2S | P132 | INSV | INST | HUSSAARM | M |  | 38S | TUBE EXC |  | OTHER |  | WATER |  |  | 14.30 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110037 | TRANE | HAYSC-WTPS-CHMB-CL2S HUH1D /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-CL2S | P132 | INSV | INST | HUSSAARM | M |  | 38S | TUBE EXC |  | OTHER |  | WATER |  |  | 14.30 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5110035 | TRANE | HAYSC-WTPS-CHMB-CL2S HUH1A /EXCHANGER | PAPT-Z5-HAYSC-WTPS-CHMB-CL2S | P132 | INSV | INST | HUSSAARM | M |  | 38S | TUBE EXC |  | OTHER |  | WATER |  |  | 14.30 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5101490 | UNKNOWN | HAYSC-WTPS-TRMT-FLTR HEATERS /EXCHANGER | PAPT-Z5-HAYSC-WTPS-TRMT-FLTR | P132 | INSV | INST | HUSSAARM | H |  | CCI | TUBE EXC | [7 empty] | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5084675 | TRANE | ROCKC-WTPS-TRMT CU-6 /EXCHANGER | PACO-CL-ROCKC-WTPS-TRMT | P136 | INSV | INST | HUSSAARM | M |  | PUY-A18NHA3 | PLATE EXC | [5 empty] | BTU/HR | 18,000.00 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5084673 | TRANE | ROCKC-WTPS-TRMT CU-5 /EXCHANGER | PACO-CL-ROCKC-WTPS-TRMT | P136 | INSV | INST | HUSSAARM | M |  | PUY-A18NHA3 | PLATE EXC | [5 empty] | BTU/HR | 18,000.00 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5084671 | TRANE | ROCKC-WTPS-TRMT CU-4 /EXCHANGER | PACO-CL-ROCKC-WTPS-TRMT | P136 | INSV | INST | HUSSAARM | M |  | PUY-A18NHA3 | PLATE EXC | [5 empty] | BTU/HR | 18,000.00 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5084665 | TRANE | ROCKC-WTPS-TRMT CU-3 /EXCHANGER | PACO-CL-ROCKC-WTPS-TRMT | P136 | INSV | INST | HUSSAARM | M |  | 4TTB4018E1000 | PLATE EXC | [5 empty] | TONS | 1.50 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5084663 | TRANE | ROCKC-WTPS-TRMT CU-2 /EXCHANGER | PACO-CL-ROCKC-WTPS-TRMT | P136 | INSV | INST | HUSSAARM | M |  | 4TTB4036E1000 | PLATE EXC | [5 empty] | TONS | 3.00 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5084661 | TRANE | ROCKC-WTPS-TRMT CU-1 /EXCHANGER | PACO-CL-ROCKC-WTPS-TRMT | P136 | INSV | INST | HUSSAARM | M |  | 4TTB4030E1000 | PLATE EXC | [5 empty] | TONS | 2.50 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location