## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | HVAC Exchanger | Material 2 | Material of Construc | Max Pressure | Media 1 Type | Media 2 Type | Output UOM | Output Value | Owned By | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5161524 | UNKNOWN | HAYSC-DEWS-DEWT HEATERS /EXCHANGER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  | AH12AB3A1A11A | TUBE EXC | [7 empty] | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5110701 | BELL-GOSSETT | HAYSC-WTPS-CHMB HVAC /EXCHANGER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | BP42240 | PLATE EXC |  | STAINLESS |  | WATER |  | BTU/HR | 962,971.00 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5110084 | TRANE | HAYSC-WTPS-CHMB CUH8 /EXCHANGER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  | FCJ020 | TUBE EXC |  | OTHER |  | WATER |  |  | 7.00 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5110082 | TRANE | HAYSC-WTPS-CHMB CUH7 /EXCHANGER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  | FCJ020 | TUBE EXC |  | OTHER |  | WATER |  |  | 7.00 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | HAYSC-DEWS-DEWT HEATERS /EXCHANGER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  | AH12AB3A1A11A | TUBE EXC | [7 empty] | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| BELL-GOSSETT | HAYSC-WTPS-CHMB HVAC /EXCHANGER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | BP42240 | PLATE EXC |  | STAINLESS |  | WATER |  | BTU/HR | 962,971.00 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| TRANE | HAYSC-WTPS-CHMB CUH8 /EXCHANGER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  | FCJ020 | TUBE EXC |  | OTHER |  | WATER |  |  | 7.00 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| TRANE | HAYSC-WTPS-CHMB CUH7 /EXCHANGER | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  | FCJ020 | TUBE EXC |  | OTHER |  | WATER |  |  | 7.00 UN | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC