## Indicator
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Indicator Type | Instrument Range | Instrument UOM | Loop Power | NEMA Enclosure | On SCADA? | Output Type | Owned By | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5028601 | MAGNATROL | PLANT-CHEM F BULK TK HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028603 | MAGNATROL | PLANT-CHEM F DY TK HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028604 | MAGNATROL | PLANT-CHEM F DY TK HI/HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028618 | UNKNOWN | PLANT-CHEM BA MIX TK LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | H |  |  | ELECTRONIC INDICATOR |  |  |  |  | N |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028623 | UNKNOWN | PLANT-CHEM ST BULK TK HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028625 | UNKNOWN | PLANT-CHEM ST DY TK HI/HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028626 | UNKNOWN | PLANT-CHEM ST DY TK HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028632 | UNKNOWN | PLANT-CHEM CAP BULK TK HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028634 | UNKNOWN | PLANT-CHEM CAP DY TK HI/HI LV /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028635 | UNKNOWN | PLANT-CHEM CAP DY TK HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038192 | UNKNOWN | HTLWC-BSTR CL2 LVL INDICTATOR /INDICATOR | ILHT-Z1-HTLWC-BSTR | P313 | INSV | INST | HUSSAARM | H | FF24537 | SR1000 | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5061577 | HACH | SPARE TURBIDIMETER/WQA | ILCA-Z1-PLANT | P309 | INSV | INST | HUSSAARM | H | 060300015978 | 1720E | ELECTRONIC INDICATOR |  |  | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5061578 | HACH | PLANT-FILT FILTER 2 TURB /INDICATOR | ILCA-Z1-PLANT-FILT | P309 | INSV | DLFL INAC INST | HUSSAARM | H | 606570037 | Sc100 | ELECTRONIC INDICATOR |  |  | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5061579 | HACH | PLANT-FILT FILTER 3 TURB /INDICATOR | ILCA-Z1-PLANT-FILT | P309 | INSV | DLFL INAC INST | HUSSAARM | H | 605570886 | Sc100 | ELECTRONIC INDICATOR |  |  | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5061580 | HACH | PLANT-FILT FILTER 4 TURB /INDICATOR | ILCA-Z1-PLANT-FILT | P309 | INSV | DLFL INAC INST | HUSSAARM | H | 606570028 | Sc100 | ELECTRONIC INDICATOR |  |  | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5061581 | HACH | PLANT-FILT FILTER 5 TURB /INDICATOR | ILCA-Z1-PLANT-FILT | P309 | INSV | DLFL INAC INST | HUSSAARM | H | 605570765 | Sc100 | ELECTRONIC INDICATOR |  |  | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5061582 | HACH | PLANT-FILT FILTER 6 TURB /INDICATOR | ILCA-Z1-PLANT-FILT | P309 | INSV | DLFL INAC INST | HUSSAARM | H | 605570880 | Sc100 | ELECTRONIC INDICATOR |  |  | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5061583 | HACH | PLANT-FILT FILTER 7 TURB /INDICATOR | ILCA-Z1-PLANT-FILT | P309 | INSV | DLFL INAC INST | HUSSAARM | H | 606570025 | Sc100 | ELECTRONIC INDICATOR |  |  | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5061584 | HACH | PLANT-FILT FILTER 8 TURB /INDICATOR | ILCA-Z1-PLANT-FILT | P309 | INSV | DLFL INAC INST | HUSSAARM | H | 606570032 | Sc100 | ELECTRONIC INDICATOR |  |  | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5061585 | HACH | SOURCE WATER TURBIDIMETER/WQA | ILCA-Z1-PLANT-TRMT-RWPM | P309 | INSV | INST | HUSSAARM | H | 970400003206 | Surface Scatter 6 | ELECTRONIC INDICATOR |  |  | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5061589 | UNKNOWN | PLANT EFFLUENT FREE CHLORINE /INDICATOR | ILCA-Z1-PLANT | P309 | INSV | INST | HUSSAARM | H |  | DMTAW090C10E0000 | ELECTRONIC INDICATOR |  | PPM | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5061590 | UNKNOWN | PLANT EFFLUENT TOTAL CHLORINE /INDICATOR | ILCA-Z1-PLANT | P309 | INSV | INST | HUSSAARM | H | 2004025003 | DMTAW090C10E40000 | ELECTRONIC INDICATOR |  | PPM | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5061592 | HACH | SOURCE WATER TURB/CNTRLR | ILCA-Z1-PLANT-TRMT-RWPM | P309 | INSV | INST | HUSSAARM | H |  | sc100 | ELECTRONIC INDICATOR |  |  | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5061593 | UNKNOWN | PLANT TOTAL CL2 PMP HOUSE /INDICATOR | ILCA-Z1-PLANT | P309 | INSV | INST | HUSSAARM | H | 2707045436 | DTMAW090C10E0000 | ELECTRONIC INDICATOR |  | PPM | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5061594 | REGAL | PLANT-CHLO CHLORINATOR 3 /INDICATOR | ILCA-Z1-PLANT-CHLO | P309 | INSV | INST | HUSSAARM | H |  |  | MECHANICAL INDICATOR |  |  | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5061595 | REGAL | PLANT-CHLO CHLORINATOR 2 /INDICATOR | ILCA-Z1-PLANT-CHLO | P309 | INSV | INST | HUSSAARM | H |  |  | MECHANICAL INDICATOR |  |  | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5061596 | REGAL | PLANT-CHLO CHLORINATOR 1 /INDICATOR | ILCA-Z1-PLANT-CHLO | P309 | INSV | INST | HUSSAARM | H |  |  | MECHANICAL INDICATOR |  |  | Y | 1,2 INDOOR | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5013920 | ASHCROFT | LINC-PDB-HSRM PLNT PRS /INDICATOR | ILCP-UR-LINC.-PDB.-HSRO | P301 | REMV | INAC INST | HUSSAARM | M |  |  | MECHANICAL INDICATOR |  | PSI | N | 1,2 INDOOR | N |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5021886 | UNKNOWN | PLNT-PACB HOLDING TANK LEVEL /INDICATOR | ILIU-ES-PLNT.-PACB | P310 | INSV | INST | HUSSAARM | L |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5021887 | UNKNOWN | GCWT-PACB HOLDING TANK LEVEL /INDICATOR | ILIU-GC-GCWT.-PACB | P311 | INSV | INST | HUSSAARM | L |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y | 4-20MA | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5021927 | FLOW LINE | FRNK BULK HIGH LEVEL /INDICATOR | ILIU-BV-FRNK. | P310 | INSV | INST | HUSSAARM | L |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y | CLOSED CONTACT | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5021928 | FLOW LINE | FRNK DAY HIGH LEVEL /INDICATOR | ILIU-BV-FRNK. | P310 | INSV | INST | HUSSAARM | L |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y | CLOSED CONTACT | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5021934 | WIKA | SHBS PUMP 4 SUCTION PSI /INDICATOR | ILIU-BV-SHBS. | P310 | INSV | INST | HUSSAARM | L |  | 50459732 | MECHANICAL INDICATOR |  | PSI |  |  | N |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5021935 | WIKA | SHBS PUMP 4 DISCHARGE PSI /INDICATOR | ILIU-BV-SHBS. | P310 | INSV | INST | HUSSAARM | L |  | 50460218 | MECHANICAL INDICATOR |  | PSI |  |  | N |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5021936 | WIKA | SHBS PUMP 5 SUCTION PSI /INDICATOR | ILIU-BV-SHBS. | P310 | INSV | INST | HUSSAARM | L |  | 50459732 | MECHANICAL INDICATOR |  | PSI |  |  | N |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5021937 | WIKA | SHBS PUMP 5 DISCHARGE PSI /INDICATOR | ILIU-BV-SHBS. | P310 | INSV | INST | HUSSAARM | L |  | 50460218 | MECHANICAL INDICATOR |  | PSI |  |  | N |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5021938 | WIKA | SHBS PUMP 6 SUCTION PSI /INDICATOR | ILIU-BV-SHBS. | P310 | INSV | INST | HUSSAARM | L |  | 50459732 | MECHANICAL INDICATOR |  | PSI |  |  | N |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5021939 | WIKA | SHBS PUMP 6 DISCHARGE PSI /INDICATOR | ILIU-BV-SHBS. | P310 | INSV | INST | HUSSAARM | L |  | 50460218 | MECHANICAL INDICATOR |  | PSI |  |  | N |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5021940 | WIKA | SHBS STATION SUCTION PSI /INDICATOR | ILIU-BV-SHBS. | P310 | INSV | INST | HUSSAARM | L |  | 50459732 | MECHANICAL INDICATOR |  | PSI |  |  | N |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5021941 | WIKA | SHBS STATION DISCHARGE PSI /INDICATOR | ILIU-BV-SHBS. | P310 | INSV | INST | HUSSAARM | L |  | 50460218 | MECHANICAL INDICATOR |  | PSI |  |  | N |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028570 | MAGNATROL | PLANT-CHEM PC DY T1 HI/HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028571 | MAGNATROL | PLANT-CHEM PC DY T2 HI/HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028572 | MAGNATROL | PLANT-CHEM PC DY TK1 HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028573 | MAGNATROL | PLANT-CHEM PC DY TK2 HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028574 | MAGNATROL | PLANT-CHEM PC BULK T1 HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028575 | MAGNATROL | PLANT-CHEM PC BULK TK2 HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028579 | MAGNATROL | PLANT-CHEM CI BULK TK HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028581 | MAGNATROL | PLANT-CHEM CI DY TK HI /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028582 | MAGNATROL | PLANT-CHEM CI DY TK HI/HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | L |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028588 | MAGNATROL | PLANT-CHEM C BULK TK HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028590 | MAGNATROL | PLANT-CHEM C DY TK1 HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028591 | MAGNATROL | PLANT-CHEM C DY TK1 HI/HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028593 | MAGNATROL | PLANT-CHEM C DY TK2 HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5028594 | MAGNATROL | PLANT-CHEM C DY TK2 HI/HI LVL /INDICATOR | ILAL-Z1-PLANT-CHEM | P308 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location