## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Indicator Type | Instrument Range | Instrument UOM | Loop Power | NEMA Enclosure | On SCADA? | Output Type | Owned By | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5028601 | MAGNATROL | PLANT-CHEM F BULK TK HI LVL /INDICATOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5028603 | MAGNATROL | PLANT-CHEM F DY TK HI LVL /INDICATOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5028604 | MAGNATROL | PLANT-CHEM F DY TK HI/HI LVL /INDICATOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5028618 | UNKNOWN | PLANT-CHEM BA MIX TK LVL /INDICATOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | ELECTRONIC INDICATOR |  |  |  |  | N |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| MAGNATROL | PLANT-CHEM F BULK TK HI LVL /INDICATOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| MAGNATROL | PLANT-CHEM F DY TK HI LVL /INDICATOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| MAGNATROL | PLANT-CHEM F DY TK HI/HI LVL /INDICATOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  |  | ELECTRONIC INDICATOR |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | PLANT-CHEM BA MIX TK LVL /INDICATOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | ELECTRONIC INDICATOR |  |  |  |  | N |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC