## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Lab Equip Type | Owned By | Retest Required | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5012955 | UNKNOWN | PWTPS Lab Stir /LABEQ | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | LAB-MAG STIRRER | AW | Y |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
5019914 | UNKNOWN | DVSH PRIMARY /LABEQ | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | LAB-UV LAMP | AW | Y |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
5019916 | UNKNOWN | DVSH SECONDARY /LABEQ | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | LAB-UV LAMP | AW | Y |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
5019918 | UNKNOWN | DVSH SPORE /LABEQ | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | LAB-UV LAMP | AW | Y |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | PWTPS Lab Stir /LABEQ | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | LAB-MAG STIRRER | AW | Y |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | DVSH PRIMARY /LABEQ | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | LAB-UV LAMP | AW | Y |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | DVSH SECONDARY /LABEQ | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | LAB-UV LAMP | AW | Y |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | DVSH SPORE /LABEQ | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | LAB-UV LAMP | AW | Y |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC