## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | Duty Cycle | Full Load Amps | HP Rating | Insulation Class | Mot-Anti-Reverse | Mot-Bearing # (coup | Mot-Bearing # (free | Mot-Bearing TP (coup | Mot-Bearing TP(free | Mot-Catalog Number | Mot-Code | Mot-Coupling Type | Mot-Enclosure Type | Mot-Excitation Volta | Mot-Frame Type | Mot-Hollow Shaft | Mot-Inverter Duty | Mot-Lube Type (free | Mot-Lube Type(coup e | Mot-Nameplate Design | Mot-Service Factor | Motor Type | Orientation | Owned By | RPM Operating | RPM Rating | Rotation Direction | Special Mtn Note | Special Mtn Note Det | Temperature Rise | Volt Rating | Voltage (Running) | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5013765 | UNKNOWN | BRAD-MNB-PHOSFTRM PHOSPHATE 2 /MOTOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | L |  |  | CHEMICAL |  | 0.8 | 0.50 HP AW | [18 empty] | THREE PHASE VERT | XX | AW |  | 1800 |  |  |  | 0 °C |  | 480 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5013764 | UNKNOWN | BRAD-MNB-PHOSFTRM PHOSPHATE 1 /MOTOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | L |  |  | CHEMICAL |  | 0.8 | 0.50 HP AW | [18 empty] | THREE PHASE VERT | XX | AW |  | 1800 |  |  |  | 0 °C |  | 480 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5013763 | BALDOR | BRAD-MNB-HYPORM BRINE 3 /MOTOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | F0807114918 | IDVSNM3538 | CHEMICAL |  | 1.3 | 0.50 HP AW | [18 empty] | THREE PHASE VERT | HORIZONTAL | AW |  | 1800 |  |  |  | 0 °C | 460 | 480 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5013762 | BALDOR | BRAD-MNB-HYPORM BRINE 2 /MOTOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | F0807114938 | IDVSNM3538 | CHEMICAL |  | 1.3 | 0.50 HP AW | [18 empty] | THREE PHASE VERT | HORIZONTAL | AW |  | 1800 |  |  |  | 0 °C | 460 | 480 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | BRAD-MNB-PHOSFTRM PHOSPHATE 2 /MOTOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | L |  |  | CHEMICAL |  | 0.8 | 0.50 HP AW | [18 empty] | THREE PHASE VERT | XX | AW |  | 1800 |  |  |  | 0 °C |  | 480 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | BRAD-MNB-PHOSFTRM PHOSPHATE 1 /MOTOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | L |  |  | CHEMICAL |  | 0.8 | 0.50 HP AW | [18 empty] | THREE PHASE VERT | XX | AW |  | 1800 |  |  |  | 0 °C |  | 480 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| BALDOR | BRAD-MNB-HYPORM BRINE 3 /MOTOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | F0807114918 | IDVSNM3538 | CHEMICAL |  | 1.3 | 0.50 HP AW | [18 empty] | THREE PHASE VERT | HORIZONTAL | AW |  | 1800 |  |  |  | 0 °C | 460 | 480 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| BALDOR | BRAD-MNB-HYPORM BRINE 2 /MOTOR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | F0807114938 | IDVSNM3538 | CHEMICAL |  | 1.3 | 0.50 HP AW | [18 empty] | THREE PHASE VERT | HORIZONTAL | AW |  | 1800 |  |  |  | 0 °C | 460 | 480 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC