## MotorContactor
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Amp Rating | Contactor Type | Contactor Type | Interrupting Capacit | Owned By | Special Mtn Note | Special Mtn Note Det | Volt Rating | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5028831 | UNKNOWN | PLANT-RWPS PUMP RM EFS /CON | ILAL-Z1-PLANT-RWPS | P308 | INSV | INST | HUSSAARM | L |  |  |  | CONTACTR* |  |  | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5061825 | UNKNOWN | SPLNT-SFLT-MCC1 EYEWASH HEATER /CON | ILLC-Z1-SPLNT-SFLT-MCC1 | P307 | INSV | INST | HUSSAARM | L |  |  |  | CONTACTR* |  |  | AW |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5061829 | UNKNOWN | SPLNT-SFLT-MCC1 UNIT HEATER 7 /CON | ILLC-Z1-SPLNT-SFLT-MCC1 | P307 | INSV | INST | HUSSAARM | M |  |  |  | CONTACTR* |  |  | AW |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5061830 | UNKNOWN | SPLNT-SFLT-MCC1 UNIT HEATER 11 /CON | ILLC-Z1-SPLNT-SFLT-MCC1 | P307 | INSV | INST | HUSSAARM | M |  |  |  | CONTACTR* |  |  | AW |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5061831 | UNKNOWN | SPLNT-SFLT-MCC1 UNIT HEATER 9 /CON | ILLC-Z1-SPLNT-SFLT-MCC1 | P307 | INSV | INST | HUSSAARM | M |  |  |  | CONTACTR* |  |  | AW |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5061832 | UNKNOWN | SPLNT-SFLT-MCC1 UNIT HEATER 1 /CON | ILLC-Z1-SPLNT-SFLT-MCC1 | P307 | INSV | INST | HUSSAARM | M |  |  |  | CONTACTR* |  |  | AW |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5061833 | UNKNOWN | SPLNT-SFLT-MCC1 UNIT HEATER 6 /CON | ILLC-Z1-SPLNT-SFLT-MCC1 | P307 | INSV | INST | HUSSAARM | M |  |  |  | CONTACTR* |  |  | AW |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5061834 | UNKNOWN | SPLNT-SFLT-MCC1 CL2 RM HEATER /CON | ILLC-Z1-SPLNT-SFLT-MCC1 | P307 | INSV | INST | HUSSAARM | H |  |  |  | CONTACTR* |  |  | AW |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5061835 | UNKNOWN | SPLNT-SFLT-MCC1 CL2 EXHAUST /CON | ILLC-Z1-SPLNT-SFLT-MCC1 | P307 | INSV | INST | HUSSAARM | H |  |  |  | CONTACTR* |  |  | AW |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5061836 | UNKNOWN | SPLNT-SFLT-MCC1 EXHUAST FAN 1 /CON | ILLC-Z1-SPLNT-SFLT-MCC1 | P307 | INSV | INST | HUSSAARM | M |  |  |  | CONTACTR* |  |  | AW |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5061837 | UNKNOWN | SPLNT-SFLT-MCC1 OVERHEAD DOOR /CON | ILLC-Z1-SPLNT-SFLT-MCC1 | P307 | INSV | INST | HUSSAARM | M |  |  |  | CONTACTR* |  |  | AW |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5061838 | UNKNOWN | SPLNT-SFLT-MCC1 GATES /CON | ILLC-Z1-SPLNT-SFLT-MCC1 | P307 | INSV | INST | HUSSAARM | M |  |  |  | CONTACTR* |  |  | AW |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location