## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Amp Rating | Contactor Type | Interrupting Capacit | Owned By | Special Mtn Note | Special Mtn Note Det | Volt Rating | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5028831 | UNKNOWN | PLANT-RWPS PUMP RM EFS /CON | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | L | [5 empty] | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5061825 | UNKNOWN | SPLNT-SFLT-MCC1 EYEWASH HEATER /CON | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | L | [5 empty] | AW |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5061829 | UNKNOWN | SPLNT-SFLT-MCC1 UNIT HEATER 7 /CON | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M | [5 empty] | AW |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5061830 | UNKNOWN | SPLNT-SFLT-MCC1 UNIT HEATER 11 /CON | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M | [5 empty] | AW |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | PLANT-RWPS PUMP RM EFS /CON | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | L | [5 empty] | AW |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | SPLNT-SFLT-MCC1 EYEWASH HEATER /CON | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | L | [5 empty] | AW |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | SPLNT-SFLT-MCC1 UNIT HEATER 7 /CON | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M | [5 empty] | AW |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | SPLNT-SFLT-MCC1 UNIT HEATER 11 /CON | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M | [5 empty] | AW |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC