## MotorStarter
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Amp Rating | Fuse Size | HP Rating | Motor Starter Type | Owned By | Special Mtn Note | Special Mtn Note Det | Str-NEMA Size | Str-Overload Type | Str-Type | Volt Rating | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5248202 | EATON/CUTLER HAMMER | PLNT2 MCC1 AIR WASH BLWR /MOTSTR | MOPV-Z1-PLNT2-PROC-ELEC-MCC1 | P355 | INSV | INST | BULLJE | M |  | FVNR STARTER F206 | 52.00 A | 1 | 40.00 HP AW | MOTSTR* | AW | [6 empty] | Maint Look Functional Location | Ops Look Functional Location
5248201 | EATON/CUTLER HAMMER | PLNT2 MCC1 AERATOR BLWR 5 /MOTSTR | MOPV-Z1-PLNT2-PROC-ELEC-MCC1 | P355 | INSV | INST | BULLJE | M |  | FVNR STARTER F206 | 3.00 A | 1 | 1.50 HP AW | MOTSTR* | AW | [6 empty] | Maint Look Functional Location | Ops Look Functional Location
5248200 | EATON/CUTLER HAMMER | PLNT2 MCC1 SLUDGE 1 /MOTSTR | MOPV-Z1-PLNT2-PROC-ELEC-MCC1 | P355 | INSV | INST | BULLJE | M |  | FVNR STARTER F206 | 34.00 A | 2 | 25.00 HP AW | MOTSTR* | AW | [6 empty] | Maint Look Functional Location | Ops Look Functional Location
5248102 | EATON/CUTLER HAMMER | PLNT2 MCC1 AER BLC-113 /MOTSTR | MOPV-Z1-PLNT2-PROC-ELEC-MCC1 | P355 | INSV | INST | BULLJE | M |  | FVNR STARTER F206 | 3.00 A | 1 | 1.50 HP AW | MOTSTR* | AW | [6 empty] | Maint Look Functional Location | Ops Look Functional Location
5248101 | EATON/CUTLER HAMMER | PLNT2 MCC1 AER BLC-111 /MOTSTR | MOPV-Z1-PLNT2-PROC-ELEC-MCC1 | P355 | INSV | INST | BULLJE | M |  | FVNR STARTER F206 | 3.00 A | 1 | 1.50 HP AW | MOTSTR* | AW | [6 empty] | Maint Look Functional Location | Ops Look Functional Location
5247827 | EATON/CUTLER HAMMER | PLNT2 MCC2 SLUDGE 2 /MOTSTR | MOPV-Z1-PLNT2-PROC-ELEC-MCC2 | P355 | INSV | INST | BULLJE | L |  | HMCP | 34.00 A | 2 | 25.00 HP AW | MOTSTR* | AW | [6 empty] | Maint Look Functional Location | Ops Look Functional Location
5247825 | EATON/CUTLER HAMMER | PLNT2 MCC2 AERATOR BLWR 4 /MOTSTR | MOPV-Z1-PLNT2-PROC-ELEC-MCC2 | P355 | INSV | INST | BULLJE | L |  | HMCPS | 3.00 A | 1 | 1.50 HP AW | MOTSTR* | AW | [6 empty] | Maint Look Functional Location | Ops Look Functional Location
5247824 | EATON/CUTLER HAMMER | PLNT2 MCC2 AER BLC-112 /MOTSTR | MOPV-Z1-PLNT2-PROC-ELEC-MCC2 | P355 | INSV | INST | BULLJE | L |  | HMCPS | 3.00 A | 1 | 1.50 HP AW | MOTSTR* | AW | [6 empty] | Maint Look Functional Location | Ops Look Functional Location
5247823 | EATON/CUTLER HAMMER | PLNT2 MCC2 FUT AIR WASH BLOWER /MOTSTR | MOPV-Z1-PLNT2-PROC-ELEC-MCC2 | P355 | INSV | INST | BULLJE | L |  | FVNR STARTER F206 | 52.00 A | 1 | 40.00 HP AW | MOTSTR* | AW | [6 empty] | Maint Look Functional Location | Ops Look Functional Location
5247821 | EATON/CUTLER HAMMER | PLNT2 MCC2 AERATOR BLWR 6 /MOTSTR | MOPV-Z1-PLNT2-PROC-ELEC-MCC2 | P355 | INSV | INST | BULLJE | L |  | HMCPS | 3.00 A | 1 | 1.50 HP AW | MOTSTR* | AW | [6 empty] | Maint Look Functional Location | Ops Look Functional Location
5247114 | SQUARE D | PLNT2 SANITARY WASTE GRINDER 2 /MOTSTR | MOPV-Z1-PLNT2-PSLS | P355 | INSV | INST | BULLJE | M |  | 8536 |  |  | 6.00 HP AW | MOTSTR* | AW |  |  | 0 |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5247113 | SQUARE D | PLNT2 SANITARY WASTE GRINDER 1 /MOTSTR | MOPV-Z1-PLNT2-PSLS | P355 | INSV | INST | BULLJE | M |  | 8536 |  |  | 6.00 HP AW | MOTSTR* | AW |  |  | 0 |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5245854 | UNKNOWN | CLF2 RAKE DRIVE /MOTSTR | MOPV-Z1-PLNT2-CLF2 | P355 | INSV | INST | BULLJE | L |  |  | 10.00 A | 10 | 1.00 HP AW | MOTSTR* | AW | [6 empty] | Maint Look Functional Location | Ops Look Functional Location
5245853 | UNKNOWN | CLF1 RAKE DRIVE /MOTSTR | MOPV-Z1-PLNT2-CLF1 | P355 | INSV | INST | BULLJE | L |  |  | 10.00 A | 10 | 1.00 HP AW | MOTSTR* | AW | [6 empty] | Maint Look Functional Location | Ops Look Functional Location
5055334 | GE | RISS BSTPMP MOTSTR2 /MS | MOPV-Z1-RISS. | P355 | INSV | INST | HUSSAARM | M |  |  | 90.00 A |  | 50.00 HP AW | MOTSTR* | AW |  |  | 3 | HEATERS | FULL VOLTAGE | 480 | Maint Look Functional Location | Ops Look Functional Location
5055332 | GE | RISS BSTPMP MOTSTR1 /MS | MOPV-Z1-RISS. | P355 | INSV | INST | HUSSAARM | M |  |  | 90.00 A |  | 50.00 HP AW | MOTSTR* | AW |  |  | 3 | HEATERS | FULL VOLTAGE | 480 | Maint Look Functional Location | Ops Look Functional Location
5055330 | UNKNOWN | BLUFF BSTPMP MOTSTR2 /MS | MOPV-Z1-BLUFF | P355 | INSV | INST | HUSSAARM | M |  |  | 45.00 A |  | 7.50 HP AW | MOTSTR* | AW |  |  | 2 | HEATERS | FULL VOLTAGE | 240 | Maint Look Functional Location | Ops Look Functional Location
5055329 | UNKNOWN | BLUFF BSTPMP MOTSTR1 /MS | MOPV-Z1-BLUFF | P355 | INSV | INST | HUSSAARM | M |  |  | 45.00 A |  | 7.50 HP AW | MOTSTR* | AW |  |  | 2 | HEATERS | FULL VOLTAGE | 240 | Maint Look Functional Location | Ops Look Functional Location
5055314 | ALLEN BRADLEY | WELL3 WELL 3 /MOTSTR | MOPV-Z1-WELL3 | P355 | INSV | INST | HUSSAARM | L |  | A45 | 45.00 A |  | 10.00 HP AW | MOTSTR* | AW |  |  | 1 | BI-METALLIC | FULL VOLTAGE | 480 | Maint Look Functional Location | Ops Look Functional Location
5055312 | SQUARE D | WELL4 WELL 4 /MOTSTR | MOPV-Z1-WELL4 | P355 | INSV | INST | HUSSAARM | L |  |  |  |  | 999.00 HP AW | MOTSTR* | AW |  |  |  |  | FULL VOLTAGE | 480 | Maint Look Functional Location | Ops Look Functional Location
5055311 | ALLEN BRADLEY | WELL6 WELL 6 /MOTSTR | MOPV-Z1-WELL6 | P355 | INSV | INST | HUSSAARM | L |  | B110 | 110.00 A |  | 100.00 HP AW | MOTSTR* | AW |  |  |  | HEATERS | FULL VOLTAGE | 480 | Maint Look Functional Location | Ops Look Functional Location
5055304 | GE | BELL BSTPMP2 /MS | MOPV-Z1-BELL. | P355 | INSV | INST | HUSSAARM | L |  |  | 135.00 A |  | 100.00 HP AW | MOTSTR* | AW |  |  | 4 | HEATERS | FULL VOLTAGE | 480 | Maint Look Functional Location | Ops Look Functional Location
5055303 | GE | BELL BSTPMP1 /MS | MOPV-Z1-BELL. | P355 | INSV | INST | HUSSAARM | L |  |  | 135.00 A |  | 100.00 HP AW | MOTSTR* | AW |  |  | 4 | HEATERS | FULL VOLTAGE | 480 | Maint Look Functional Location | Ops Look Functional Location
5055296 | ALLEN BRADLEY | (RET)PLANT-MCC TRANSFER PUMP 1 /MOTSTR | MOPV-Z1-PLANT-PLT.-MCC. | P355 | REMV | INAC INST | HUSSAARM | H |  |  | 30.00 A |  | 10.00 HP AW | MOTSTR* | AW |  |  | 1 | HEATERS | FULL VOLTAGE | 480 | Maint Look Functional Location | Ops Look Functional Location
5055295 | ALLEN BRADLEY | (RET)PLANT-MCC TRANSFER PUMP 2 /MOTSTR | MOPV-Z1-PLANT-PLT.-MCC. | P355 | REMV | INAC INST | HUSSAARM | H |  |  | 30.00 A |  | 10.00 HP AW | MOTSTR* | AW |  |  | 1 | HEATERS | FULL VOLTAGE | 480 | Maint Look Functional Location | Ops Look Functional Location
5055293 | ALLEN BRADLEY | (RET)PLANT-PLT-MCC CLARIFIER MIX /MOTSTR | MOPV-Z1-PLANT-PLT.-MCC. | P355 | REMV | INAC INST | HUSSAARM | H |  |  | 30.00 A |  | 10.00 HP AW | MOTSTR* | AW |  |  | 1 | HEATERS | FULL VOLTAGE | 480 | Maint Look Functional Location | Ops Look Functional Location
5055292 | ALLEN BRADLEY | (RET)PLANT-PLT-MCC LIME BLOWER /MOTSTR | MOPV-Z1-PLANT-PLT.-MCC. | P355 | REMV | INAC INST | HUSSAARM | H |  |  | 50.00 A |  | 25.00 HP AW | MOTSTR* | AW |  |  | 2 | HEATERS | FULL VOLTAGE | 480 | Maint Look Functional Location | Ops Look Functional Location
5055282 | ALLEN BRADLEY | (RET)PLANT-MCC CLARIFIER SCRAPER /MOTSTR | MOPV-Z1-PLANT-PLT.-MCC. | P355 | REMV | INAC INST | HUSSAARM | H |  |  | 30.00 A |  | 10.00 HP AW | MOTSTR* | AW |  |  | 1 | HEATERS | FULL VOLTAGE | 480 | Maint Look Functional Location | Ops Look Functional Location
5055280 | ALLEN BRADLEY | (RET)PLANT-MCC HIGH SERVICE 3 /MOTSTR | MOPV-Z1-PLANT-PLT.-MCC. | P355 | REMV | INAC INST | HUSSAARM | H |  |  | 250.00 A |  | 200.00 HP AW | MOTSTR* | AW |  |  | 5 | HEATERS | FULL VOLTAGE | 480 | Maint Look Functional Location | Ops Look Functional Location
5055276 | ALLEN BRADLEY | (RET)PLANT-PLT-MCC BACKWASH PUMP /MOTSTR | MOPV-Z1-PLANT-PLT.-MCC. | P355 | REMV | INAC INST | HUSSAARM | H |  |  | 150.00 A |  | 100.00 HP AW | MOTSTR* | AW |  |  | 4 | BI-METALLIC | FULL VOLTAGE | 480 | Maint Look Functional Location | Ops Look Functional Location
5055271 | ALLEN BRADLEY | (RET)PLANT-MCC HIGH SERVICE 2 /MOTSTR | MOPV-Z1-PLANT-PLT.-MCC. | P355 | REMV | INAC INST | HUSSAARM | H |  |  | 150.00 A |  | 100.00 HP AW | MOTSTR* | AW |  |  | 4 | HEATERS | FULL VOLTAGE | 480 | Maint Look Functional Location | Ops Look Functional Location
5055270 | ALLEN BRADLEY | (RET)PLANT-MCC HIGH SERVICE 1 /MOTSTR | MOPV-Z1-PLANT-PLT.-MCC. | P355 | REMV | INAC INST | HUSSAARM | M |  |  | 250.00 A |  | 200.00 HP AW | MOTSTR* | AW |  |  | 5 | HEATERS | FULL VOLTAGE | 480 | Maint Look Functional Location | Ops Look Functional Location
5055267 | CUTLER HAMMER | COLLEGE BSTPMP3 RVSS BYP PC /MS | MOPV-Z1-COLLE-MCC. | P355 | INSV | INST | HUSSAARM | M |  |  | 270.00 A |  | 200.00 HP AW | MOTSTR* | AW |  |  | 5 | BI-METALLIC | FULL VOLTAGE | 480 | Maint Look Functional Location | Ops Look Functional Location