## NetworkSwitch
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Annual Fee | Application | Baud Rate | Communication Switch | Communication Type | Owned By | Special Mtn Note | Special Mtn Note Det | Standby Power Type | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5189406 | CISCO | DLCC-CB-GRND-MAIN RACK SWT/COMM | MOSL-C4-SERVI | P362 | INSV | INST | LYONSE | M | FOC1822Z0FB | CATALYST 2960+ |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5195610 | CISCO | JEFFCITY HS PUMPS /COMM-SW | MOJC-SY-PLNT. | P352 | INSV | INST | LYONSE | L | FD01846T0A2 | IE-2000-8TC-B |  | CONTROL ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5196401 | CISCO | JEFF CITY HS PUMP RM SWT/COMM | MOJC-SY-PLNT. | P352 | INSV | INST | LYONSE | H | FD01846T0A2 | IE-2000-8TC-B |  | CONTROL ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5196724 | CISCO | NORTH-EAST HS SWGR SCADA /COMM-SW | MOSL-N4-NORTH | P360 | INSV | INST | LYONSE | M | FOC1843Z2ZD | IE-3000-8TC |  | NETWORK |  | COMM-SW* | NETWORK | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5197300 | CISCO | NORTH-PLC-K F-PO4-POLY SCADA /COMM-SW | MOSL-N4-NORTH | P360 | INSV | INST | LYONSE | M | FOC1409V7V9 | IE-3000-8TC |  | NETWORK |  | COMM-SW* | NETWORK | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5197301 | CISCO | NORTH-PLC-M EAST SLUDGE SCADA /COMM-SW | MOSL-N4-NORTH | P360 | INSV | INST | LYONSE | M | FDO1903T00V | IE-2000-4TS-B |  | NETWORK |  | COMM-SW* | NETWORK | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5197302 | CISCO | NORTH-PLC-N WEST SLUDGE SCADA /COMM-SW | MOSL-N4-NORTH | P360 | INSV | INST | LYONSE | M | FDO1903U01B | IE-2000-4TS-B |  | NETWORK |  | COMM-SW* | NETWORK | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5197303 | CISCO | NORTH-PLC-P WEST BASIN SCADA /COMM-SW | MOSL-N4-NORTH | P360 | INSV | INST | LYONSE | M | FDO1903T019 | IE-2000-4TS-B |  | NETWORK |  | COMM-SW* | NETWORK | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5197304 | CISCO | NORTH-PLC-L FERR-AMMON SCADA /COMM-SW | MOSL-N4-NORTH | P360 | INSV | INST | LYONSE | M | FOC1741V11G | IE-3000-8TC |  | NETWORK |  | COMM-SW* | NETWORK | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5197305 | CISCO | NORTH-PLC-H ANALYZER RM SCADA /COMM-SW | MOSL-N4-NORTH | P360 | INSV | INST | LYONSE | M | FDO1835U0D9 | IE-2000-4T-B |  | NETWORK |  | COMM-SW* | NETWORK | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5210205 | ALLEN BRADLEY | STRATMANN TANK SWT/COMM | MOSL-C4-STRT.-PB.. | P359 | INSV | INST | LYONSE | M | 60157FC5 | STRATIX 5700 |  | CONTROL AND DAQ |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5210206 | CISCO | NORTH-EAST BASIN SWT/COMM | MOSL-N4-NORTH-EB.. | P360 | OOS | INST | LYONSE | M | FDO1903T004 | IE-2000-4TS-B |  | CONTROL AND DAQ |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5211002 | ALLEN BRADLEY | NORTH-HS VFD SWT/COMM | MOSL-N4-NORTH-CB..-NC..-ELSR | P360 | INSV | INST | LYONSE | M | 60157DC8 | STRATIX 5700 |  | CONTROL AND DAQ |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5211003 | ALLEN BRADLEY | NORTH-EAST INTK SWT/COMM | MOSL-N4-NORTH-EIN.-CBIN | P360 | INSV | INST | LYONSE | M | 6015B1B9 | STRATIX 5700 |  | CONTROL AND DAQ |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5211004 | ALLEN BRADLEY | NORTH-WEST INTK SWT/COMM | MOSL-N4-NORTH-WIN.-CB..-MCC. | P360 | INSV | INST | LYONSE | M | 6015B1CB | STRATIX 5700 |  | CONTROL AND DAQ |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5211700 | CISCO | NORTH-PLC O EAST BASIN SCADA /COMM-SW | MOSL-N4-NORTH | P360 | OOS | INST | LYONSE | M | FDO1903T004 | IE-2000-4TS-B |  | NETWORK |  | COMM-SW* | NETWORK | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5211832 | CISCO | CENT-HSL-GRND PLCR1 DATA SWT /COMM | MOSL-W4-CENT.-ES..-ESBL | P359 | INSV | INST | LYONSE | M | FOC1841Z3DX | IE-3000-8TC |  | CONTROL ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5211833 | CISCO | ROSS BOOSTER-GRND DATA SWT /COMM | MOSL-C4-ROSS. | P359 | INSV | INST | LYONSE | M | FDO1835U07N | IE-2000-4T-B |  | CONTROL ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5212200 | CISCO | MEXICO-MAIN SCADA DATA SWT /COMM | MOMX-MZ-PLNT.-MCC4 | P359 | INSV | INST | LYONSE | H | FCQ1743Y4TN | WS-C2960-24-S |  | CONTROL ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5212201 | CISCO | CENT-FP2-UPRLVL FP2 DATA SWT /COMM | MOSL-W4-CENT.-FP2. | P359 | INSV | INST | LYONSE | M | FDO1815T0T8 | IE-2000-16TC-B |  | CONTROL ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5212202 | CISCO | PARKVILLE SCADA DATA SWT/COMM | MOPV-Z1-PLANT-PLT. | P362 | INSV | INST | LYONSE | H | FOC1822W3DD | WS-C2960+24TC-L |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5212203 | CISCO | DLCC-RADIOS DATA SWT/COMM | MOSL-C4-SERVI | P362 | INSV | INST | LYONSE | H | FOC1741V13S | IE-3000-8TC |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5212204 | CISCO | JEFF CITY HS PUMP RM SWT/COMM | MOJC-SY-PLNT. | P352 | INSV | INST | LYONSE | H | FOC1822W3PS | WS-C2960+24TC-L |  | CONTROL ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5222712 | ALLEN BRADLEY | NORTH-GRND-CARBON FEED SWT/COMM | MOSL-N4-NORTH-CFB. | P362 | INSV | INST | LYONSE | M | 6015DA00 | STRATIX 5700 |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5227905 | CISCO | BRUNSWICK SCADA DATA SWT /COMM | MOBR | P362 | INSV | INST | ABERNERJ | H | FOC2032Z019 | WS-C2960C-8TC-L |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5239408 | ALLEN BRADLEY | NORTH-PLC O EAST BASIN SCADA /COMM-SW | MOSL-N4-NORTH | P360 | INSV | INST | GENTRYT | M | SV3IF0WB | STRATIX 5700 |  | NETWORK |  | COMM-SW* | NETWORK | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5244618 | CISCO | PARKVILLE SCADA Network switch 1/COMM | MOPV-Z1-PLNT2-OPS.-TELE | P362 | INSV | INST | ABERNERJ | H |  | WS-C2960X-24TS-L |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5244619 | CISCO | PARKVILLE SCADA Network switch 2/COMM | MOPV-Z1-PLNT2-OPS.-TELE | P362 | INSV | INST | ABERNERJ | H |  | WS-C2960X-24TS-L |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5000954 | BLACK BOX | CFLD PMP BLDG SWITCH /COMM-SW | MOSL-W4-CFLD. | P359 | OOS | INST | HUSSAARM | M |  | LBH600A-HD-24 |  |  |  | COMM-SW* |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5000955 | BLACK BOX | CFLD MCC SWITCH /COMM-SW | MOSL-W4-CFLD. | P359 | INSV | INST | HUSSAARM | M |  | LBH600A-HD-24 |  |  |  | COMM-SW* |  | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5014548 | UNKNOWN | CENT-FP2-UPRLVL FP2 DATA SWT /COMM | MOSL-W4-CENT.-FP2.-UPLV | P359 | INSV | INST | HUSSAARM | M |  |  |  | CONTROL ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5014553 | UNKNOWN | CENT-FP2-UPRLVL KNOB FIBR SWT /COMM | MOSL-W4-CENT.-FP2.-UPLV | P359 | INSV | INST | HUSSAARM | M |  |  |  | CONTROL ONLY |  | COMM-SW* | NONE | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5014554 | UNKNOWN | CENT-FP2-UPRLVL HOG FIBER SWT /COMM | MOSL-W4-CENT.-FP2.-UPLV | P359 | INSV | INST | HUSSAARM | M |  |  |  | CONTROL ONLY |  | COMM-SW* | NONE | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5014555 | UNKNOWN | CENT-FP2-UPRLVL ES HSL SWT /COMM | MOSL-W4-CENT.-FP2.-UPLV | P359 | INSV | INST | HUSSAARM | M |  |  |  | CONTROL ONLY |  | COMM-SW* | NONE | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5014556 | UNKNOWN | CENT-FP2-UPRLVL LAB FIBER SWT /COMM | MOSL-W4-CENT.-FP2.-UPLV | P359 | INSV | INST | HUSSAARM | M |  |  |  | CONTROL ONLY |  | COMM-SW* | NONE | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5014561 | UNKNOWN | CENT-LAB FIBR SW /COMMUNICATIONS | MOSL-W4-CENT.-LAB. | P359 | INSV | INST | HUSSAARM | M |  |  |  | CONTROL ONLY |  | COMM-SW* | NETWORK | AW |  |  | NONE | Maint Look Functional Location | Ops Look Functional Location
5014570 | CISCO | CENT-AIN-INT A COMM SW /COMMUNICATIONS | MOSL-W4-CENT.-AIN.-INTC | P359 | INSV | INST | HUSSAARM | M |  |  |  | CONTROL ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5014572 | UNKNOWN | CENT-BIN-INT INT COMM SW /COMMUNICATIONS | MOSL-W4-CENT.-BIN.-INTC | P359 | INSV | INST | HUSSAARM | M |  |  |  | CONTROL ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5014575 | UNKNOWN | CENT-CB-UPR-NC-ITLAB1 SCADA SWT /COMM | MOSL-W4-CENT.-CB..-UNCF-ITLB | P359 | INSV | INST | HUSSAARM | M |  |  |  | CONTROL ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5014576 | UNKNOWN | CENT-CB-UPR-NC-ITLAB2 SCADA SWT /COMM | MOSL-W4-CENT.-CB..-UNCF-ITLB | P359 | INSV | INST | HUSSAARM | M |  |  |  | CONTROL ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5014577 | UNKNOWN | CENT-CB-UPR-NC-ITLAB BUS NET SWIT /COMM | MOSL-W4-CENT.-CB..-UNCF-ITLB | P359 | INSV | INST | HUSSAARM | M |  |  |  | CONTROL ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5016134 | CISCO | STRT-RB-RT ENET SW /COMM-SW | MOSL-C4-STRT.-RB..-RT.. | P359 | INSV | INST | HUSSAARM | M | FOC1409V7V9 | IE-3000-8TC | 0 USD |  |  | COMM-SW* | NETWORK | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5041340 | UNKNOWN | MERAM-CB SWT /COMMUNICATIONS | MOSL-S4-MERAM-CBG. | P362 | INSV | INST | HUSSAARM | M |  |  |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5041360 | UNKNOWN | SOUTH-CB-GRND-NC-OPS BUS SWT /COMM | MOSL-S4-SOUTH-CBG.-NCFR-OBTH | P361 | INSV | INST | HUSSAARM | M |  |  |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5041366 | UNKNOWN | SOUTH-CB-GRND-NC-OPS SWT /COMMUNICATIONS | MOSL-S4-SOUTH-CBG.-NCFR-OBTH | P361 | INSV | INST | HUSSAARM | M |  |  | 0 USD | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5069423 | UNKNOWN | NORTH-EB E FILTERS SCADA /COMM-SW | MOSL-N4-NORTH-EB.. | P360 | OOS | INST | HUSSAARM | M | N-TRON SERIAL# 4782 | 508FX2-ST |  | NETWORK |  | COMM-SW* | NETWORK | AW |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5189300 | CISCO | MERAM-CB-GRND-CF-HYPO FEED SWT/COMM | MOSL-S4-MERAM | P362 | INSV | INST | LYONSE | M | FDO1817T0SL | IE 2000 |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5189301 | CISCO | MERAM-CB-GRND-CNTRL RM SWT/COMM | MOSL-S4-MERAM | P362 | INSV | INST | LYONSE | M | FCW1810A2ML | CATALYST 2960+ |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5189302 | CISCO | SOUTH-CB-GRND-CF-HI SRVC PNL SWT/COMM | MOSL-S4-SOUTH | P362 | INSV | INST | LYONSE | M | FDO1740T02V | IE 2000 |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5189303 | CISCO | SOUTH-CB-GRND-FILTER PNL SWT/COMM | MOSL-S4-SOUTH | P362 | INSV | INST | LYONSE | M | FDO1817T0UD | IE 2000 |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5189400 | CISCO | CENTRAL-CB-GRND-CNTRL RM SWT/COMM | MOSL-W4-CENT. | P362 | INSV | INST | LYONSE | M | FOC1809V2ZW | CATALYST 2960+ |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5189401 | CISCO | CENTRAL-FP-GRND-CNTRL RM SWT/COMM | MOSL-W4-CENT.-FP1. | P362 | INSV | INST | LYONSE | M | FOC1822Z0FS | CATALYST 2960+ |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5189402 | CISCO | NORTH-GRND-CNTRL RM SWT/COMM | MOSL-N4-NORTH | P362 | INSV | INST | LYONSE | M | FOC1923Y103 | CATALYST 2960+ |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5189403 | CISCO | JOPLIN-MAIN RACK SWT/COMM | MOJP-Z1-PLNT. | P353 | INSV | INST | LYONSE | H | FOC1822W3JZ | CATALYST 2960+ |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5189404 | CISCO | SPARE SWT/COMM |  | P362 | OOS | AVLB | LYONSE | M |  | CATALYST 2960 |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5189405 | CISCO | SOUTH-CB-GRND-MAIN RACK SWT/COMM | MOSL-S4-SOUTH | P362 | INSV | INST | LYONSE | M | FCW1810A2L7 | CATALYST 2960+ |  | DAQ ONLY |  | COMM-SW* | NETWORK | AW |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location