## NonPotableWaterTank
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | Indoor/Outdoor | Owned By | Special Mtn Note | Special Mtn Note Det | Tank Non Potable Wat | Tnk-Auto Refill | Tnk-Diameter | Tnk-Material | Tnk-Pressure Rating | Tnk-Side Length (ft) | Tnk-State Inspection | Tnk-Volume (gal) | Underground | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5215402 | UNKNOWN | DRWTP-RSHS-CLAR Distribution Box /TANK | NJBC-BU-DRWTP-RSHS-CLAR | P203 | INSV | INST | TAYLORDM | M |  |  | RAW WATER | OUTDOORS | AW |  |  | NON-PRESSURIZED WNON | XX |  | CONCRETE |  |  | XX |  | Y | Maint Look Functional Location | Ops Look Functional Location
5211333 | UNKNOWN | RANN SLUDGE HOLDING /TANK | NJPG-PG-RANN. | P203 | INSV | INST | LOD_EAM_02 | M | 8123518 | 2010WT |  |  | AW |  |  | NON-PRESSURIZED WNON | [8 empty] | Maint Look Functional Location | Ops Look Functional Location
5211332 | UNKNOWN | RANN BACKWASH 2 /TANK | NJPG-PG-RANN. | P203 | INSV | INST | LOD_EAM_02 | M | 8129649 | 2516WT |  |  | AW |  |  | NON-PRESSURIZED WNON | [8 empty] | Maint Look Functional Location | Ops Look Functional Location
5211331 | UNKNOWN | RANN BACKWASH 1 /TANK | NJPG-PG-RANN. | P203 | INSV | INST | LOD_EAM_02 | M | 8129649 | 2516WT |  |  | AW |  |  | NON-PRESSURIZED WNON | [8 empty] | Maint Look Functional Location | Ops Look Functional Location
5141144 | UNKNOWN | DRWTP-LLPS WET WELL 2 /Tank | NJBC-BU-DRWTP-LLPS | P203 | INSV | INST | HUSSAARM | L |  |  | RAW WATER | INDOORS | AW |  |  | NON-PRESSURIZED WNON | XX |  | CONCRETE | ATMOSPHERIC |  | XX |  | Y | Maint Look Functional Location | Ops Look Functional Location
5141142 | UNKNOWN | DRWTP-LLPS WET WELL 1 /Tank | NJBC-BU-DRWTP-LLPS | P203 | INSV | INST | HUSSAARM | L |  |  | RAW WATER | INDOORS | AW |  |  | NON-PRESSURIZED WNON | XX |  | CONCRETE | ATMOSPHERIC |  | XX |  | Y | Maint Look Functional Location | Ops Look Functional Location
5141140 | UNKNOWN | DRWTP-RWPS WET WELL 2 /Tank | NJBC-BU-DRWTP-RWPS | P203 | INSV | INST | HUSSAARM | L |  |  | RAW WATER | INDOORS | AW |  |  | NON-PRESSURIZED WNON | XX |  | CONCRETE | ATMOSPHERIC |  | XX |  | Y | Maint Look Functional Location | Ops Look Functional Location
5141138 | UNKNOWN | DRWTP-RWPS WET WELL 1 /Tank | NJBC-BU-DRWTP-RWPS | P203 | INSV | INST | HUSSAARM | L |  |  | RAW WATER | INDOORS | AW |  |  | NON-PRESSURIZED WNON | XX |  | CONCRETE | ATMOSPHERIC |  | XX |  | Y | Maint Look Functional Location | Ops Look Functional Location
5140960 | UNKNOWN | OTTERBROOK Clarifier /Tank | NJBC-CM-OTTER | P203 | INSV | INST | HUSSAARM | M |  |  | WASH WATER | OUTDOORS | AW |  |  | NON-PRESSURIZED WNON | Y | 16.00 Feet | STEEL | ATMOSPHERIC | 17.000 Feet | N | 23,000.00 1GL | N | Maint Look Functional Location | Ops Look Functional Location
5140948 | UNKNOWN | OLDORCHARD Clarifier /Tank | NJBC-CM-OLDOR | P203 | INSV | INST | HUSSAARM | M |  |  | WASH WATER | OUTDOORS | AW |  |  | NON-PRESSURIZED WNON | Y | 30.00 Feet | STEEL | 15-100PSIG | 12.000 Feet | N | 60,000.00 1GL | N | Maint Look Functional Location | Ops Look Functional Location
5140945 | UNKNOWN | GIBBSSTA Clarifier /Tank | NJBC-CM-GBSTA | P203 | INSV | INST | HUSSAARM | M |  |  | WASH WATER |  | AW |  |  | NON-PRESSURIZED WNON | XX | 35.00 Feet | XX | 15-100PSIG | 12.000 Feet | XX | 40,000.00 1GL | XX | Maint Look Functional Location | Ops Look Functional Location
5140942 | UNKNOWN | KINGSTON Clarifier /Tank | NJBC-CM-KINGS | P203 | INSV | INST | HUSSAARM | M |  |  | WASH WATER | OUTDOORS | AW |  |  | NON-PRESSURIZED WNON | Y | 20.00 Feet | STEEL | 15-100PSIG | 12.000 Feet | N | 25,000.00 1GL | N | Maint Look Functional Location | Ops Look Functional Location
5140941 | UNKNOWN | HADDONHTS Clarifier /Tank | NJBC-CM-HAHTS | P203 | INSV | INST | HUSSAARM | M |  |  | WASH WATER | OUTDOORS | AW |  |  | NON-PRESSURIZED WNON | Y | 34.00 Feet | CONCRETE | 15-100PSIG | 15.000 Feet | N | 60,000.00 1GL | N | Maint Look Functional Location | Ops Look Functional Location
5140932 | UNKNOWN | ELLISBERG Clarifier /Tank | NJBC-CM-ELLIS | P203 | INSV | INST | HUSSAARM | L |  |  | WASH WATER | OUTDOORS | AW |  |  | NON-PRESSURIZED WNON | Y | 37.00 Feet | CONCRETE | 15-100PSIG | 12.000 Feet | N | 50,000.00 1GL | N | Maint Look Functional Location | Ops Look Functional Location
5140930 | UNKNOWN | COLUMBIALK Clarifier /Tank | NJBC-CM-COLUM | P203 | INSV | INST | HUSSAARM | L |  |  | WASH WATER | OUTDOORS | AW |  |  | NON-PRESSURIZED WNON | Y | 16.00 Feet | STEEL | 15-100PSIG | 17.000 Feet | N | 23,000.00 1GL | N | Maint Look Functional Location | Ops Look Functional Location
5140929 | UNKNOWN | EGBERT Waste Water Holding /Tank | NJBC-CM-EGBER | P203 | INSV | INST | HUSSAARM | L |  |  | WASH WATER |  | AW |  |  | NON-PRESSURIZED WNON | XX | 12.00 Feet | XX | 15-100PSIG | 16.500 Feet | XX | 14,000.00 1GL | XX | Maint Look Functional Location | Ops Look Functional Location
5140928 | UNKNOWN | CAMDEN Recovery /Tank | NJBC-CM-CASTA | P203 | INSV | INST | HUSSAARM | L |  |  | WASH WATER | OUTDOORS | AW |  |  | NON-PRESSURIZED WNON | Y | 22.00 Feet | CONCRETE | ATMOSPHERIC | 13.000 Feet | N | 26,000.00 1GL | N | Maint Look Functional Location | Ops Look Functional Location
5140927 | UNKNOWN | CAMDEN Low Service Suction Well /Tank | NJBC-CM-CASTA | P203 | INSV | INST | HUSSAARM | L |  |  | WASH WATER | OUTDOORS | AW |  |  | NON-PRESSURIZED WNON | Y |  | CONCRETE | 15-100PSIG | 11.000 Feet | N | 52,000.00 1GL | Y | Maint Look Functional Location | Ops Look Functional Location
5140925 | UNKNOWN | CAMDEN Clarifier /Tank | NJBC-CM-CASTA | P203 | INSV | INST | HUSSAARM | L |  |  | WASH WATER | OUTDOORS | AW |  |  | NON-PRESSURIZED WNON | Y | 32.00 Feet | CONCRETE | 15-100PSIG | 17.000 Feet | N | 92,000.00 1GL | N | Maint Look Functional Location | Ops Look Functional Location
5140922 | UNKNOWN | BROWNING Clarifier /Tank | NJBC-CM-BROWN | P203 | INSV | INST | HUSSAARM | M |  |  | WASH WATER | OUTDOORS | AW |  |  | NON-PRESSURIZED WNON | Y | 37.00 Feet | CONCRETE | 15-100PSIG | 14.000 Feet | N | 86,000.00 1GL | N | Maint Look Functional Location | Ops Look Functional Location
5140919 | UNKNOWN | BEVERLY Settling Basin /Tank | NJBC-BU-BEVER | P203 | OOS | INAC INST | HUSSAARM | L |  |  | WASH WATER | OUTDOORS | AW |  |  | NON-PRESSURIZED WNON | N | 40.00 Feet | CONCRETE | ATMOSPHERIC | 40.000 Feet | N | 150,000.00 1GL | N | Maint Look Functional Location | Ops Look Functional Location
5140918 | UNKNOWN | MAGNOLIA Wash Water Settling /Tank | NJBC-CM-MAGNO | P203 | INSV | INST | HUSSAARM | M |  |  | WASH WATER |  | AW |  |  | NON-PRESSURIZED WNON | XX | 16.00 Feet | XX | 15-100PSIG | 17.000 Feet | XX | 23,000.00 1GL | XX | Maint Look Functional Location | Ops Look Functional Location
5120012 | UNKNOWN | MANS-PLT Settling Tank /Tank | NJBC-MF-MANS.-PLT. | P203 | INSV | INST | HUSSAARM | M |  |  | WASH WATER | OUTDOORS | AW |  |  | NON-PRESSURIZED WNON | XX |  | XX | 15-100PSIG |  | XX |  | N | Maint Look Functional Location | Ops Look Functional Location
5120001 | UNKNOWN | MANS-PLT Settling Tank /Tank | NJBC-MF-MANS.-PLT. | P203 | INSV | INST | HUSSAARM | M |  |  | WASH WATER | OUTDOORS | AW |  |  | NON-PRESSURIZED WNON | XX |  | XX | 15-100PSIG |  | XX |  | N | Maint Look Functional Location | Ops Look Functional Location
5118923 | UNKNOWN | WOOD Settling Tank /Tank | NJBC-MH-WOOD. | P203 | INSV | INST | HUSSAARM | M |  |  | WASH WATER | OUTDOORS | AW |  |  | NON-PRESSURIZED WNON | XX |  | XX | 15-100PSIG |  | XX |  | N | Maint Look Functional Location | Ops Look Functional Location
5118921 | UNKNOWN | HOME Backwash Tank /Tank | NJBC-HS-HOME. | P203 | INSV | INST | HUSSAARM | M |  |  | WASH WATER | OUTDOORS | AW |  |  | NON-PRESSURIZED WNON | XX | 0.00 Feet | XX | 15-100PSIG | 0.000 Feet | XX | 0.00 1GL | N | Maint Look Functional Location | Ops Look Functional Location