## OperatorComputerTerminal
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | HMI Software | Network Scheme | OIT Type | Operating System | Owned By | RAID | RAM Memory | Software License# | Special Mtn Note | Special Mtn Note Det | Standby Power Type | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5012832 | UNKNOWN | SWTPS Scada router /OIT | ILPT-SN-SWTPS | P304 | INSV | INST | HUSSAARM | H |  | Cisco 800 |  |  | SCADA DOMAIN | OIT* |  | AW | [5 empty] | UPS | Maint Look Functional Location | Ops Look Functional Location
5012833 | UNKNOWN | SWTPS Network switch /OIT | ILPT-SN-SWTPS | P304 | INSV | INST | HUSSAARM | H |  | DS2-RPC |  |  | SCADA DOMAIN | OIT* |  | AW | [5 empty] | UPS | Maint Look Functional Location | Ops Look Functional Location
5012834 | UNKNOWN | SWTPS Internet router /OIT | ILPT-SN-SWTPS | P304 | INSV | INST | HUSSAARM | H | [5 empty] | OIT* |  | AW | [6 empty] | Maint Look Functional Location | Ops Look Functional Location
5035004 | DELL | PLANT-ADMN VIEW CLIENT1 /OIT | ILAL-Z1-PLANT-ADMN | P308 | INSV | INST | HUSSAARM | M | [5 empty] | OIT* |  | AW | [5 empty] | UPS | Maint Look Functional Location | Ops Look Functional Location
5035005 | DELL | PLANT-ADMN VIEW CLIENT2 /OIT | ILAL-Z1-PLANT-ADMN | P308 | INSV | INST | HUSSAARM | M | [5 empty] | OIT* |  | AW | [5 empty] | UPS | Maint Look Functional Location | Ops Look Functional Location
5035006 | DELL | PLANT-ADMN VIEW CLIENT3 /OIT | ILAL-Z1-PLANT-ADMN | P308 | INSV | INST | HUSSAARM | M | [5 empty] | OIT* |  | AW |  | 0.00 GB |  |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location
5035007 | DELL | PLANT-ADMN VIEW CLIENT4/LAB /OIT | ILAL-Z1-PLANT-ADMN | P308 | INSV | INST | HUSSAARM | M | [5 empty] | OIT* |  | AW | [5 empty] | UPS | Maint Look Functional Location | Ops Look Functional Location
5035008 | DELL | PLANT-TRMT VIEW CLIENT5/FLTR HALL /OIT | ILAL-Z1-PLANT-TRMT | P308 | INSV | INST | HUSSAARM | M | [5 empty] | OIT* |  | AW | [5 empty] | NONE | Maint Look Functional Location | Ops Look Functional Location