## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Actuator Manufacture | Actuator Type | Application | Automated/Actuated | Bypass Valve? | Fail Position | Gear Type | Joint Type | Material of Construc | Normal Position | Normal Sys Pressure | Number of Turns | Open Direction | Open/Close Switches? | Owned By | Plant Valve Type | Pressure Class | Special Mtn Note | Special Mtn Note Det | Vlv-Valve Size | Vlv-Valve Type | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
10299203 | CAPITAL CONTROLS | PLNT AUTO SWITCH OVER 4 /Valve | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | PR00017 |  |  |  | Y | XX |  |  | XX |  | XX |  | 999.00 TN | XX |  | AW | ELECTRIC MOTOR PVLV | XX |  |  | XX | BALL | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
10299197 | CAPITAL CONTROLS | PLNT AUTO SWITCH OVER 3 /Valve | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | PR00017 |  |  |  | Y | XX |  |  | XX |  | XX |  | 999.00 TN | XX |  | AW | ELECTRIC MOTOR PVLV | XX |  |  | XX | BALL | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
10299194 | CAPITAL CONTROLS | PLNT AUTO SWITCH OVER 2 /Valve | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | PR00017 |  |  |  | Y | XX |  |  | XX |  | XX |  | 999.00 TN | XX |  | AW | ELECTRIC MOTOR PVLV | XX |  |  | XX | BALL | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
10299190 | CAPITAL CONTROLS | PLNT AUTO SWITCH OVER 1 /Valve | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | PR00017 |  |  |  | Y | XX |  |  | XX |  | XX |  | 999.00 TN | XX |  | AW | ELECTRIC MOTOR PVLV | XX |  |  | XX | BALL | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| CAPITAL CONTROLS | PLNT AUTO SWITCH OVER 4 /Valve | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | PR00017 |  |  |  | Y | XX |  |  | XX |  | XX |  | 999.00 TN | XX |  | AW | ELECTRIC MOTOR PVLV | XX |  |  | XX | BALL | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| CAPITAL CONTROLS | PLNT AUTO SWITCH OVER 3 /Valve | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | PR00017 |  |  |  | Y | XX |  |  | XX |  | XX |  | 999.00 TN | XX |  | AW | ELECTRIC MOTOR PVLV | XX |  |  | XX | BALL | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| CAPITAL CONTROLS | PLNT AUTO SWITCH OVER 2 /Valve | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | PR00017 |  |  |  | Y | XX |  |  | XX |  | XX |  | 999.00 TN | XX |  | AW | ELECTRIC MOTOR PVLV | XX |  |  | XX | BALL | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| CAPITAL CONTROLS | PLNT AUTO SWITCH OVER 1 /Valve | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | PR00017 |  |  |  | Y | XX |  |  | XX |  | XX |  | 999.00 TN | XX |  | AW | ELECTRIC MOTOR PVLV | XX |  |  | XX | BALL | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC