## PowerBreaker
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Amp Rating | Breaker Type | Owned By | Power Breaker Type | Special Mtn Note | Special Mtn Note Det | Volt Rating | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5030203 | GE | MNOFF-ADMN-SWT2 CHEM CONTACTOR /BRKR | ILPK-Z1-MNOFF-ADMN-SWT2 | P305 | INSV | INST | HUSSAARM | H |  | CAT# TED 134125 | 125.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5030206 | GE | MNOFF-ADMN-SWT2 HVAC /BRKR | ILPK-Z1-MNOFF-ADMN-SWT2 | P305 | INSV | INST | HUSSAARM | H |  | TED134100 | 100.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5030209 | GE | MNOFF-ADMN-SWT2 WELL 1 /BRKR | ILPK-Z1-MNOFF-ADMN-SWT2 | P305 | INSV | INST | HUSSAARM | H |  | TJK436F000 | 400.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5030210 | GE | MNOFF-ADMN-SWT2 WELL 3 /BRKR | ILPK-Z1-MNOFF-ADMN-SWT2 | P305 | INSV | INST | HUSSAARM | H |  | TJK436F000 | 400.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5030215 | GE | MNOFF-ADMN-SWT2 SPARE /BRKR | ILPK-Z1-MNOFF-ADMN-SWT2 | P305 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | MOLDED CASE | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5030226 | UNKNOWN | MNOFF-ADMN MAIN DISCONNECT /BRKR | ILPK-Z1-MNOFF-ADMN | P305 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5045526 | CUTLER HAMMER | EWTPS-PRBD-MCC1 LP1 XFRMR FEED /BRKR | ILSL-Z1-EWTPS-PRBD-MCC1 | P303 | INSV | INST | HUSSAARM | H |  | HFD 65K | 70.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5045528 | CUTLER HAMMER | EWTPS-PRBD-MCC1 IXP-PP-1 FEED /BRKR | ILSL-Z1-EWTPS-PRBD-MCC1 | P303 | INSV | INST | HUSSAARM | H |  | HFD 65K | 110.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5045532 | CUTLER HAMMER | EWTPS-PRBD-MCC1 SEWAGE LIFT ST /BRKR | ILSL-Z1-EWTPS-PRBD-MCC1 | P303 | INSV | INST | HUSSAARM | H |  | HFD 65K | 30.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5045535 | CUTLER HAMMER | EWTPS-PRBD-MCC1 NASH VP DP ST /BRKR | ILSL-Z1-EWTPS-PRBD-MCC1 | P303 | INSV | INST | HUSSAARM | H |  | HFD 65K | 30.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5045536 | CUTLER HAMMER | EWTPS-PRBD-MCC1 SUBM WASTE P1 /BRKR | ILSL-Z1-EWTPS-PRBD-MCC1 | P303 | INSV | INST | HUSSAARM | H |  | HFD 65K | 20.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5045538 | CUTLER HAMMER | EWTPS-PRBD-MCC1 SUBM WASTE P2 /BRKR | ILSL-Z1-EWTPS-PRBD-MCC1 | P303 | INSV | INST | HUSSAARM | H |  | HFD 65K | 20.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5045540 | CUTLER HAMMER | EWTPS-PRBD-MCC1 TW-BF-101 ELE V /BRKR | ILSL-Z1-EWTPS-PRBD-MCC1 | P303 | INSV | INST | HUSSAARM | H |  | HFD 65K | 20.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5045541 | CUTLER HAMMER | EWTPS-PRBD-MCC1 SOFT WTR BSTR /BRKR | ILSL-Z1-EWTPS-PRBD-MCC1 | P303 | INSV | INST | HUSSAARM | H |  | HFD 65K | 20.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5045543 | CUTLER HAMMER | EWTPS-PRBD-MCC1 OPS BLDG ROOM /BRKR | ILSL-Z1-EWTPS-PRBD-MCC1 | P303 | INSV | INST | HUSSAARM | H |  | HMDL 65K | 400.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5045545 | CUTLER HAMMER | EWTPS-PRBD-MCC1 IX FEED PUMP 1 /BRKR | ILSL-Z1-EWTPS-PRBD-MCC1 | P303 | INSV | INST | HUSSAARM | H |  | HMCP | 100.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5045547 | CUTLER HAMMER | EWTPS-PRBD-MCC1 IX FEED PUMP 2 /BRKR | ILSL-Z1-EWTPS-PRBD-MCC1 | P303 | INSV | INST | HUSSAARM | H |  | HMCP | 100.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5045548 | CUTLER HAMMER | EWTPS-PRBD-MCC1 500 DIST PUMP /BRKR | ILSL-Z1-EWTPS-PRBD-MCC1 | P303 | INSV | INST | HUSSAARM | H |  | HFD 65K | 100.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5045549 | CUTLER HAMMER | EWTPS-PRBD-MCC1 1000 DIST PUMP /BRKR | ILSL-Z1-EWTPS-PRBD-MCC1 | P303 | INSV | INST | HUSSAARM | H |  | HFD 65K | 125.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5045552 | CUTLER HAMMER | EWTPS-PRBD-MCC1 1500 DIST PUMP /BRKR | ILSL-Z1-EWTPS-PRBD-MCC1 | P303 | INSV | INST | HUSSAARM | H |  | HJD 65K | 200.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5045553 | CUTLER HAMMER | EWTPS-PRBD-MCC1 MAIN BREAKER /BRKR | ILSL-Z1-EWTPS-PRBD-MCC1 | P303 | INSV | INST | HUSSAARM | H |  | DIGITRIP RMS 310 | 1,600.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5045616 | SQUARE D | RRBSS-BSTR RIVER RD MAIN /BRKR | ILSL-Z1-RRBSS-BSTR | P303 | INSV | INST | HUSSAARM | H |  | CAT #40274-522-02 | 400.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5063007 | UNKNOWN | WELL3 MAIN /BRKR | ILSB-Z1-WELL3 | P312 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5065146 | CUTLER HAMMER | STRTF-HISB-MCCY HS PUMP #1 /BRKR | ILST-Z1-STRTF-HISB-MCCY | P302 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5065147 | CUTLER HAMMER | STRTF-HISB-MCCY HS PUMP #2 /BRKR | ILST-Z1-STRTF-HISB-MCCY | P302 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5065148 | CUTLER HAMMER | STRTF-HISB-MCCY HS PUMP #3 /BRKR | ILST-Z1-STRTF-HISB-MCCY | P302 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028763 | UNKNOWN | PLANT-CHEM-MCCS CARBON RM S HTR /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028764 | UNKNOWN | PLANT-CHEM-MCCS BLANKETPOLYSKID /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028765 | UNKNOWN | PLANT-CHEM-MCCS 504 FLOOR AC /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028766 | UNKNOWN | PLANT-CHEM-MCCS BOOSTER PMP /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028767 | UNKNOWN | PLANT-CHEM-MCCS DEHUMIDIFIER /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028768 | UNKNOWN | PLANT-CHEM-MCCS NH3 FEED N HTR /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028769 | UNKNOWN | PLANT-CHEM-MCCS NH3 FEED S HTR /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028770 | UNKNOWN | PLANT-CHEM-MCCS NH3 SCBR W HTR /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028771 | UNKNOWN | PLANT-CHEM-MCCS NH3 SCBR E HTR /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028772 | UNKNOWN | PLANT-CHEM-MCCS MAIN BRKR /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028773 | UNKNOWN | PLANT-CHEM-MCCN TIE BREAKER /BRKR | ILAL-Z1-PLANT-CHEM-MCCN | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028774 | UNKNOWN | PLANT-CHEM-MCCN NH3 FEED EF5 /BRKR | ILAL-Z1-PLANT-CHEM-MCCN | P308 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028798 | UNKNOWN | HARLD-BSTR-MCC1 MAIN /BRKR | ILAL-Z1-HARLD-BSTR-MCC1 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028799 | UNKNOWN | HARLD-BSTR-MCC1 VFD /BRKR | ILAL-Z1-HARLD-BSTR-MCC1 | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028800 | UNKNOWN | HARLD-BSTR-MCC1 XFMR PRIMARY /BRKR | ILAL-Z1-HARLD-BSTR-MCC1 | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028802 | UNKNOWN | HARLD-BSTR-MCC1 PMP1 ACL /BRKR | ILAL-Z1-HARLD-BSTR-MCC1 | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028803 | UNKNOWN | HARLD-BSTR-MCC1 PMP2 ACL /BRKR | ILAL-Z1-HARLD-BSTR-MCC1 | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028909 | UNKNOWN | PCBST-BSTR UTILITY PWR /BRKR | ILAL-Z1-PCBST-BSTR | P308 | INSV | INST | HUSSAARM | H |  |  | 500.00 A |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028917 | UNKNOWN | PBRT3 UTILITY PWR /BRKR | ILAL-Z1-PBRT3 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5030183 | SQUARE D | MNOFF-ADMN-SWT1 MAIN BREAKER /BRKR | ILPK-Z1-MNOFF-ADMN-SWT1 | P305 | INSV | INST | HUSSAARM | H | RGF36080CU31A | RG800 | 800.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5030188 | GE | MNOFF-ADMN-SWT2 MAIN BREAKER /BRKR | ILPK-Z1-MNOFF-ADMN-SWT2 | P305 | INSV | INST | HUSSAARM | H |  |  | 1,000.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5030191 | GE | MNOFF-ADMN-SWT2 SPARE /BRKR | ILPK-Z1-MNOFF-ADMN-SWT2 | P305 | INSV | INST | HUSSAARM | H |  | TED134020 | 20.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5030193 | GE | MNOFF-ADMN-SWT2 OUTSIDE LIGHTS /BRKR | ILPK-Z1-MNOFF-ADMN-SWT2 | P305 | INSV | INST | HUSSAARM | H |  | TED134020 | 20.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5030196 | GE | MNOFF-ADMN-SWT2 GATE OPERATOR /BRKR | ILPK-Z1-MNOFF-ADMN-SWT2 | P305 | INSV | INST | HUSSAARM | H |  | TED134020 | 20.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5030198 | GE | MNOFF-ADMN-SWT2 GENERATOR PWR /BRKR | ILPK-Z1-MNOFF-ADMN-SWT2 | P305 | INSV | INST | HUSSAARM | H |  | CAT# TED 134040WL | 40.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5030201 | GE | MNOFF-ADMN-SWT2 SPARE /BRKR | ILPK-Z1-MNOFF-ADMN-SWT2 | P305 | INSV | INST | HUSSAARM | H |  | TED134020 | 20.00 A | MOLDED CASE | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5065149 | CUTLER HAMMER | STRTF-NCIX-MCCY IX PUMP #1 /BRKR | ILST-Z1-STRTF-NCIX-MCCY | P302 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5075423 | UNKNOWN | DODGE-WL03 MAIN /BRKR | ILPE-PE-DODGE-WL03 | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075424 | UNKNOWN | GRISW MAIN /BRKR | ILPE-PE-GRISW | P306 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075425 | UNKNOWN | GRISW-BSTR MAIN /BRKR | ILPE-PE-GRISW-BSTR | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075426 | UNKNOWN | GRISW-BSTR AMMONIA /BRKR | ILPE-PE-GRISW-BSTR | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075427 | UNKNOWN | GRISW-WL02 MAIN /BRKR | ILPE-PE-GRISW-WL02 | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075428 | UNKNOWN | GRISW-WL04 MAIN /BRKR | ILPE-PE-GRISW-WL04 | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075429 | UNKNOWN | GRISW-WL03 MAIN /BRKR | ILPE-PE-GRISW-WL03 | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075430 | UNKNOWN | RIVER-CTRL NEW FILTER BUILDING /BRKR | ILPE-PE-RIVER-CTRL | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075431 | UNKNOWN | RIVER-CTRL AIR SCOUR /BRKR | ILPE-PE-RIVER-CTRL | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075432 | UNKNOWN | RIVER-UVBL MAIN /BRKR | ILPE-PE-RIVER-UVBL | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075433 | UNKNOWN | RIVER-ST01 MAIN /BRKR | ILPE-PE-RIVER-ST01 | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075434 | UNKNOWN | RIVER-ST02 MAIN /BRKR | ILPE-PE-RIVER-ST02 | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075435 | UNKNOWN | RIVER-ST01 FEED TO XFRM 2 /BRKR | ILPE-PE-RIVER-ST01 | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075436 | UNKNOWN | RIVER FEED TO XFRM 10 /BRKR | ILPE-PE-RIVER | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075437 | UNKNOWN | RIVER FEED TO XFRM 11 /BRKR | ILPE-PE-RIVER | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075438 | UNKNOWN | RIVER-PRET MAIN /BRKR | ILPE-PE-RIVER-PRET | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075439 | UNKNOWN | RIVER-INTK UPRIVER MOTOR FEED /BRKR | ILPE-PE-RIVER-INTK | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075440 | UNKNOWN | RIVER-INTK DOWNRIVER MOTOR FEED /BRKR | ILPE-PE-RIVER-INTK | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075441 | UNKNOWN | DODGE-BSTR PANEL MAIN /BRKR | ILPE-PE-DODGE-BSTR | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075442 | UNKNOWN | DODGE-BSTR PUMP 1 /BRKR | ILPE-PE-DODGE-BSTR | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075443 | UNKNOWN | DODGE-BSTR PUMP 2 /BRKR | ILPE-PE-DODGE-BSTR | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075444 | UNKNOWN | DODGE-BSTR PUMP 3 /BRKR | ILPE-PE-DODGE-BSTR | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075445 | UNKNOWN | GRISW-BSTR PANEL MAIN /BRKR | ILPE-PE-GRISW-BSTR | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075446 | UNKNOWN | GRISW-BSTR PUMP 1 /BRKR | ILPE-PE-GRISW-BSTR | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075447 | UNKNOWN | GRISW-BSTR PUMP 2 /BRKR | ILPE-PE-GRISW-BSTR | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075448 | UNKNOWN | GRISW-BSTR PUMP 3 /BRKR | ILPE-PE-GRISW-BSTR | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5065150 | CUTLER HAMMER | STRTF-NCIX-MCCY IX PUMP #2 /BRKR | ILST-Z1-STRTF-NCIX-MCCY | P302 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5065151 | WESTINGHOUSE | STRTF-LWSB-MCC1 LS PUMP #1 /BRKR | ILST-Z1-STRTF-LWSB-MCC1 | P302 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5065152 | WESTINGHOUSE | STRTF-LWSB-MCC1 LS PUMP #2 /BRKR | ILST-Z1-STRTF-LWSB-MCC1 | P302 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5065153 | WESTINGHOUSE | STRTF-LWSB-MCC1 LS PUMP #3 /BRKR | ILST-Z1-STRTF-LWSB-MCC1 | P302 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5065154 | WESTINGHOUSE | STRTF-LWSB-MCC1 VACUUM PMP 1 /BRKR | ILST-Z1-STRTF-LWSB-MCC1 | P302 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5065155 | WESTINGHOUSE | STRTF-LWSB-MCC1 VACUUM PMP 2 /BRKR | ILST-Z1-STRTF-LWSB-MCC1 | P302 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5065156 | SQUARE D | STRTF-VACB-MCCY PIT PUMP #1 /BRKR | ILST-Z1-STRTF-VACB-MCCY | P302 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5065157 | SQUARE D | STRTF-VACB-MCCY FLOATER #1 /BRKR | ILST-Z1-STRTF-VACB-MCCY | P302 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5065158 | SQUARE D | STRTF-VACB-MCCY PIT VACPMP 1 /BRKR | ILST-Z1-STRTF-VACB-MCCY | P302 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5065159 | SQUARE D | STRTF-VACB-MCCY PIT VACPMP 2 /BRKR | ILST-Z1-STRTF-VACB-MCCY | P302 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5075407 | UNKNOWN | SKOTY-WL16 MAIN /BRKR | ILPE-PE-SKOTY-WL16 | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075408 | UNKNOWN | SKOTY-WL17 MAIN /BRKR | ILPE-PE-SKOTY-WL17 | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075409 | UNKNOWN | SKOTY-WL18 MAIN /BRKR | ILPE-PE-SKOTY-WL18 | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075410 | UNKNOWN | SKOTY POWER BUILDING 1 /BRKR | ILPE-PE-SKOTY | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075411 | UNKNOWN | SKOTY POWER BUILDING 2 /BRKR | ILPE-PE-SKOTY | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075412 | UNKNOWN | SKOTY POWER BUILDING 3 /BRKR | ILPE-PE-SKOTY | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075413 | UNKNOWN | SKOTY POWER BUILDING 4 /BRKR | ILPE-PE-SKOTY | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075414 | UNKNOWN | DODGE-WL05 MAIN /BRKR | ILPE-PE-DODGE-WL05 | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075415 | UNKNOWN | DODGE CHEMICAL FEED /BRKR | ILPE-PE-DODGE | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075416 | UNKNOWN | GRISW CHEMICAL FEED /BRKR | ILPE-PE-GRISW | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075417 | UNKNOWN | SKOTY-PLNT AMMONIA /BRKR | ILPE-PE-SKOTY-PLNT | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075418 | UNKNOWN | DODGE MAIN /BRKR | ILPE-PE-DODGE | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075419 | UNKNOWN | DODGE-BSTR MAIN /BRKR | ILPE-PE-DODGE-BSTR | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075420 | UNKNOWN | DODGE-BSTR HYPOCHLORITE /BRKR | ILPE-PE-DODGE-BSTR | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075421 | UNKNOWN | DODGE-CHEM AMMONIA /BRKR | ILPE-PE-DODGE-CHEM | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5075422 | UNKNOWN | DODGE-WL04 MAIN /BRKR | ILPE-PE-DODGE-WL04 | P306 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021949 | UNKNOWN | PLNT-PACB-MCC1 ROOF DECK LIGHTING /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021950 | UNKNOWN | PLNT-PACB-MCC1 CNTL PANEL&FLOW MTRS/BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021951 | UNKNOWN | PLNT-PACB-MCC1 CSFP 1 /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021952 | UNKNOWN | PLNT-PACB-MCC1 CSFP 2 /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021953 | UNKNOWN | PLNT-PACB-MCC1 CSFP 3 /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021954 | UNKNOWN | PLNT-PACB-MCC1 EXHAUST FANS /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021955 | UNKNOWN | PLNT-PACB-MCC1 SPARE /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021956 | UNKNOWN | PLNT-PACB-MCC1 GENERATOR INPUT /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021958 | UNKNOWN | PLNT-PACB-MCC1 MIXER 1 /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021959 | UNKNOWN | PLNT-PACB-MCC1 MIXER 2 /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021960 | UNKNOWN | PLNT-PACB-MCC1 BAG HOUSE /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021961 | UNKNOWN | PLNT-PACB-MCC1 TANKLESS WATER HTR /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021962 | UNKNOWN | PLNT-PACB-MCC1 ELECTRIC HTR PMP RM /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021963 | UNKNOWN | PLNT-PACB-MCC1 ELECTRIC HTR ELC RM /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021964 | UNKNOWN | PLNT-PACB-MCC1 MOTORIZED VALVE 1 /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021965 | UNKNOWN | PLNT-PACB-MCC1 MOTORIZED VALVE 2 /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021966 | UNKNOWN | GCWT-PACB-MCC1 INDOOR LIGHTING /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021967 | UNKNOWN | GCWT-PACB-MCC1 RECEPTACLES /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021968 | UNKNOWN | GCWT-PACB-MCC1 OUTDOOR LIGHTING /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021969 | UNKNOWN | GCWT-PACB-MCC1 ROOF DECK LIGHTING /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021970 | UNKNOWN | GCWT-PACB-MCC1 CNTL PANEL&FLOW MTRS/BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021971 | UNKNOWN | GCWT-PACB-MCC1 CSFP 1 /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021972 | UNKNOWN | GCWT-PACB-MCC1 CSFP 2 /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021973 | UNKNOWN | GCWT-PACB-MCC1 CSFP 3 /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021974 | UNKNOWN | GCWT-PACB-MCC1 CSPS 4 /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021975 | UNKNOWN | GCWT-PACB-MCC1 EXHAUST FANS /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5010485 | UNKNOWN | EMGINTRC-MCC PIT MAIN /BRKR | ILAR-Z1-EMGIN-MCCP | P313 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 120/240 | Maint Look Functional Location | Ops Look Functional Location
5012726 | UNKNOWN | PWTPS-LSPS Low duty 5 /BRKR | ILPT-PO-PWTPS-LSPS | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012727 | UNKNOWN | PWTPS-LSPS Low duty 4 /BRKR | ILPT-PO-PWTPS-LSPS | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012728 | UNKNOWN | PWTPS-LSPS Low duty 3 /BRKR | ILPT-PO-PWTPS-LSPS | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012729 | UNKNOWN | PWTPS-LSPS Low duty 2 /BRKR | ILPT-PO-PWTPS-LSPS | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012730 | UNKNOWN | PWTPS-LSPS Low duty 1 /BRKR | ILPT-PO-PWTPS-LSPS | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012731 | UNKNOWN | SWTPS High duty West /BRKR | ILPT-SN-SWTPS | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012732 | UNKNOWN | SWTPS High duty East /BRKR | ILPT-SN-SWTPS | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012733 | UNKNOWN | PWTPS Wash /BRKR | ILPT-PO-PWTPS | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012734 | UNKNOWN | PWTPS High service 1 /BRKR | ILPT-PO-PWTPS | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012735 | UNKNOWN | PWTPS High service 2 /BRKR | ILPT-PO-PWTPS | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012736 | UNKNOWN | PWTPS High service 3 /BRKR | ILPT-PO-PWTPS | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012737 | UNKNOWN | PWTPS High service 4 /BRKR | ILPT-PO-PWTPS | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012738 | UNKNOWN | SWTPS-SW08 Well 8 /BRKR | ILPT-SN-SWTPS-SW08 | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 240 | Maint Look Functional Location | Ops Look Functional Location
5012739 | UNKNOWN | SWTPS-SW07 Well 7 /BRKR | ILPT-SN-SWTPS-SW07 | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 240 | Maint Look Functional Location | Ops Look Functional Location
5012740 | UNKNOWN | PWTPS Waste 1 /BRKR | ILPT-PO-PWTPS | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012741 | UNKNOWN | PWTPS Waste 2 /BRKR | ILPT-PO-PWTPS | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012742 | UNKNOWN | IMPST-UGPS Pump 3 /BRKR | ILPT-PO-IMPST-UGPS | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012743 | UNKNOWN | IMPST-UGPS Pump 2 /BRKR | ILPT-PO-IMPST-UGPS | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012744 | UNKNOWN | IMPST-UGPS Pump 1 /BRKR | ILPT-PO-IMPST-UGPS | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012745 | UNKNOWN | IMPST-GENB Pump Vac /BRKR | ILPT-PO-IMPST-GENB | P304 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012746 | UNKNOWN | IMPST Float 1 /BRKR | ILPT-PO-IMPST | P304 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | MOLDED CASE |  |  | 240 | Maint Look Functional Location | Ops Look Functional Location
5012747 | UNKNOWN | IMPST Float 2 /BRKR | ILPT-PO-IMPST | P304 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | MOLDED CASE |  |  | 240 | Maint Look Functional Location | Ops Look Functional Location
5021946 | UNKNOWN | PLNT-PACB-MCC1 INDOOR LIGHTING /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021947 | UNKNOWN | PLNT-PACB-MCC1 RECEPTACLES /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021948 | UNKNOWN | PLNT-PACB-MCC1 OUTDOOR LIGHTING /BRKR | ILIU-ES-PLNT.-PACB-MCC1 | P310 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021976 | UNKNOWN | GCWT-PACB-MCC1 SPARE /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5028714 | UNKNOWN | PLANT-DSPS-SWT2 DP 3 /BRKR | ILAL-Z1-PLANT-DSPS-SWT2 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028715 | UNKNOWN | PLANT-DSPS-SWT2 MCC WP1N /BRKR | ILAL-Z1-PLANT-DSPS-SWT2 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028716 | UNKNOWN | PLANT-DSPS-SWT2 DP 2 /BRKR | ILAL-Z1-PLANT-DSPS-SWT2 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028717 | UNKNOWN | PLANT-DSPS-SWT2 TIE BREAKER /BRKR | ILAL-Z1-PLANT-DSPS-SWT2 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028718 | UNKNOWN | PLANT-RWPS-MCC1 FEED FROM TX4 /BRKR | ILAL-Z1-PLANT-RWPS-MCC1 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028719 | UNKNOWN | PLANT-RWPS-MCC1 FEED FROM TX3 /BRKR | ILAL-Z1-PLANT-RWPS-MCC1 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028720 | UNKNOWN | PLANT-RWPS-MCC1 PPRWPS /BRKR | ILAL-Z1-PLANT-RWPS-MCC1 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028721 | UNKNOWN | PLANT-RWPS-MCC1 PPRWPS1 /BRKR | ILAL-Z1-PLANT-RWPS-MCC1 | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028743 | UNKNOWN | PLANT-CHEM-MCCS LPCA2 XFMR /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028744 | UNKNOWN | PLANT-CHEM-MCCS LPCA1 XFMR /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028745 | UNKNOWN | PLANT-CHEM-MCCS LPFA1 XFMR /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028746 | UNKNOWN | PLANT-CHEM-MCCS PP AA /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028747 | UNKNOWN | PLANT-CHEM-MCCS SCOURVENTVALVE /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028748 | UNKNOWN | PLANT-CHEM-MCCS AIR COMPR PANEL /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028749 | UNKNOWN | PLANT-CHEM-MCCS FAP MIXER /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028750 | UNKNOWN | PLANT-CHEM-MCCS BAP MIXER /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028751 | UNKNOWN | PLANT-CHEM-MCCS UPS IPFA1/IPCA1 /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028752 | UNKNOWN | PLANT-CHEM-MCCS PP WP1 FEEDER /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028753 | UNKNOWN | PLANT-CHEM-MCCS SCRUBBER PANEL /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028754 | UNKNOWN | PLANT-CHEM-MCCS PP WP2 FEEDER /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028755 | UNKNOWN | PLANT-CHEM-MCCS CARBON PANEL /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028756 | UNKNOWN | PLANT-CHEM-MCCS CAUSTIC MXR1 /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028757 | UNKNOWN | PLANT-CHEM-MCCS CAUSTIC MXR2 /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028760 | UNKNOWN | PLANT-CHEM-MCCS NH3 STOR N HTR /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028761 | UNKNOWN | PLANT-CHEM-MCCS NH3 STOR S HTR /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028762 | UNKNOWN | PLANT-CHEM-MCCS CARBON RM N HTR /BRKR | ILAL-Z1-PLANT-CHEM-MCCS | P308 | INSV | INST | HUSSAARM | L |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5021977 | UNKNOWN | GCWT-PACB-MCC1 GENERATOR INPUT /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021979 | UNKNOWN | GCWT-PACB-MCC1 MIXER 1 /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021980 | UNKNOWN | GCWT-PACB-MCC1 MIXER 2 /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021981 | UNKNOWN | GCWT-PACB-MCC1 BAG HOUSE /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021982 | UNKNOWN | GCWT-PACB-MCC1 TANKLESS WATER HTR /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021983 | UNKNOWN | GCWT-PACB-MCC1 ELECTRIC HTR PMP RM /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021984 | UNKNOWN | GCWT-PACB-MCC1 ELECTRIC HTR ELC RM /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021985 | UNKNOWN | GCWT-PACB-MCC1 MOTORIZED VALVE 1 /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5021986 | UNKNOWN | GCWT-PACB-MCC1 MOTORIZED VALVE 2 /BRKR | ILIU-GC-GCWT.-PACB-MCC1 | P311 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | MOLDED CASE |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5028697 | UNKNOWN | PLANT-DSPS-SWT1 UTILTY MAIN /BRKR | ILAL-Z1-PLANT-DSPS-SWT1 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5028698 | UNKNOWN | PLANT-DSPS-SWT1 GENERATOR MAIN /BRKR | ILAL-Z1-PLANT-DSPS-SWT1 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5028699 | UNKNOWN | PLANT-DSPS-SWT1 WP2 TX 1 /BRKR | ILAL-Z1-PLANT-DSPS-SWT1 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5028700 | UNKNOWN | PLANT-DSPS-SWT1 WP 2 TX2 /BRKR | ILAL-Z1-PLANT-DSPS-SWT1 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5028701 | UNKNOWN | PLANT-DSPS-SWT1 RWPS EAST TX 3 /BRKR | ILAL-Z1-PLANT-DSPS-SWT1 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5028702 | UNKNOWN | PLANT-DSPS-SWT1 RWPS WEST TX 4 /BRKR | ILAL-Z1-PLANT-DSPS-SWT1 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5028703 | UNKNOWN | PLANT-DSPS-SWT2 PP DPS2 /BRKR | ILAL-Z1-PLANT-DSPS-SWT2 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028704 | UNKNOWN | PLANT-DSPS-SWT2 DP 5 /BRKR | ILAL-Z1-PLANT-DSPS-SWT2 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028705 | UNKNOWN | PLANT-DSPS-SWT2 DP 6 /BRKR | ILAL-Z1-PLANT-DSPS-SWT2 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028706 | UNKNOWN | PLANT-DSPS-SWT2 BWP 1 /BRKR | ILAL-Z1-PLANT-DSPS-SWT2 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028707 | UNKNOWN | PLANT-DSPS-SWT2 PP DPS 1 /BRKR | ILAL-Z1-PLANT-DSPS-SWT2 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028708 | UNKNOWN | PLANT-DSPS-SWT2 BWP 2 /BRKR | ILAL-Z1-PLANT-DSPS-SWT2 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028709 | UNKNOWN | PLANT-DSPS-SWT2 MCC WP1S /BRKR | ILAL-Z1-PLANT-DSPS-SWT2 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028710 | UNKNOWN | PLANT-DSPS-SWT2 DP 4 /BRKR | ILAL-Z1-PLANT-DSPS-SWT2 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028711 | UNKNOWN | PLANT-DSPS-SWT2 FEED FROM TX 1 /BRKR | ILAL-Z1-PLANT-DSPS-SWT2 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028712 | UNKNOWN | PLANT-DSPS-SWT2 FEED FROM TX 2 /BRKR | ILAL-Z1-PLANT-DSPS-SWT2 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028713 | UNKNOWN | PLANT-DSPS-SWT2 DP 1 /BRKR | ILAL-Z1-PLANT-DSPS-SWT2 | P308 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | AIR (BREAKER) |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location