## PowerDisconnect
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Amp Rating | Current Rating | Fuse Size | Owned By | Power Disconnect Typ | Special Mtn Note | Special Mtn Note Det | Volt Rating | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5028072 | SQUARE D | SJHC-MCC SJHC PUMP 1 DISCONNECT /DISC | MOSJ-Z1-SJHC.-MCCS | P357 | INSV | INST | HUSSAARM | H |  | ISOFLEX MODEL 4 | 360.00 A |  |  | AW | LOADBREAK DISCONNECT |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5028078 | SQUARE D | SJHC-MCCSJHC PMP3 PWR DISCNCT /DISC | MOSJ-Z1-SJHC.-MCCS | P357 | INSV | INST | HUSSAARM | H |  | ISOFLEX MODEL 4 | 360.00 A |  |  | AW | LOADBREAK DISCONNECT |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5028080 | SQUARE D | SJHC-MCCSJHC MN STA DISCNCT2 /DISC | MOSJ-Z1-SJHC.-MCCS | P357 | INSV | INST | HUSSAARM | H |  | ISOFLEX MODEL 4 | 600.00 A |  |  | AW | LOADBREAK DISCONNECT |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5028082 | SQUARE D | SJHC-MCCSJHC LP2 XFMR DISCNCT /DISC | MOSJ-Z1-SJHC.-MCCS | P357 | INSV | INST | HUSSAARM | H |  | ISOFLEX MODEL 4 | 600.00 A |  |  | AW | LOADBREAK DISCONNECT |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5028085 | SQUARE D | SJHC-MCCSJHC AFD XFMR DISCNCT /DISC | MOSJ-Z1-SJHC.-MCCS | P357 | INSV | INST | HUSSAARM | H |  | ISOFLEX MODEL 4 | 600.00 A |  |  | AW | LOADBREAK DISCONNECT |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5028088 | SQUARE D | SJHC-MCCSJHC MN DISCNCT SWIT /DISC | MOSJ-Z1-SJHC.-MCCS | P357 | INSV | INST | HUSSAARM | H |  | ISOFLEX MODEL 4 |  |  |  | AW | LOADBREAK DISCONNECT |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5028169 | CUTLER HAMMER | PLNT LIME BLOWER DISCONNECT 1 /DISC | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | L |  |  | 100.00 A |  | 100 | AW | LOADBREAK DISCONNECT |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028171 | CUTLER HAMMER | PLNT LIME BLOWER DISCONNECT 2 /DISC | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | L |  |  | 100.00 A |  | 100 | AW | LOADBREAK DISCONNECT |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028176 | CUTLER HAMMER | PLNT SERVICE WATER PUMP 1 /DISC | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | L |  |  | 30.00 A |  | 0 | AW | NON-LOADBREAK DISCONNECT |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028178 | CUTLER HAMMER | PLNT SERVICE WATER PUMP 2 /DISC | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | L |  |  | 30.00 A |  | 0 | AW | NON-LOADBREAK DISCONNECT |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028181 | CUTLER HAMMER | PLNT SERVICE WATER PUMP 3 /DISC | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | L |  |  | 30.00 A |  | 0 | AW | NON-LOADBREAK DISCONNECT |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location