## PowerMonitor
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Adjustable? | Amp Rating | Owned By | Power Monitor Type | Special Mtn Note | Special Mtn Note Det | System Monitored | Volt Rating | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5012295 | SQUARE D | CENT-KHSUBSTA S_CP3A /MON | MOSL-W4-CENT.-KHSU | P359 | INSV | INST | HUSSAARM | M |  | ION 7330 | Y | 2,000.00 A | AW | PWRMON* |  |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5027245 | GE | PLNT-SWTGRSWBDM METR52G MULTILN /MON | MOSJ-Z1-PLNT.-SWTM | P357 | INSV | INST | HUSSAARM | H | C6584310 | PQMT20CA | Y |  | AW | PWRMON* |  |  | Y | 240 | Maint Look Functional Location | Ops Look Functional Location
5027248 | CUTLER HAMMER | PLNT-SWTGRSWBDM BRKR MERING /MON | MOSJ-Z1-PLNT.-SWTM | P357 | INSV | INST | HUSSAARM | H |  |  | Y |  | AW | PWRMON* |  |  | Y | 480 | Maint Look Functional Location | Ops Look Functional Location
5027251 | GE | PLNT-SWTGR SWBDM METERING 52M /MON | MOSJ-Z1-PLNT.-SWTM | P357 | INSV | INST | HUSSAARM | H |  |  | Y |  | AW | PWRMON* |  |  | Y | 240 | Maint Look Functional Location | Ops Look Functional Location
5027276 | GE | PLNT-MCCH DISTRIB PMP2 /MON | MOSJ-Z1-PLNT.-MCCH | P357 | INSV | INST | HUSSAARM | H | D6560288 | PQM | Y |  | AW | PWRMON* |  |  | Y | 480 | Maint Look Functional Location | Ops Look Functional Location
5027296 | GE | PLNT-MCC H MCC METERING /MON | MOSJ-Z1-PLNT.-MCCH | P357 | INSV | INST | HUSSAARM | H | C6591125 | PQMT20CA | Y |  | AW | PWRMON* |  |  | Y |  | Maint Look Functional Location | Ops Look Functional Location
5027442 | GE | SJWF-MCC WF POWER MONITOR /MON | MOSJ-Z1-SJWF.-MCCW | P357 | INSV | INST | HUSSAARM | H |  | PQMT20CA | Y | 8.00 A | AW | PWRMON* |  |  | Y | 240 | Maint Look Functional Location | Ops Look Functional Location
5028048 | GE | PLNT-MCCC MULTLN /MON | MOSJ-Z1-PLNT.-MCCC | P357 | INSV | INST | HUSSAARM | H | C6591127 | PQMT20CA | Y |  | AW | PWRMON* |  |  | Y | 480 | Maint Look Functional Location | Ops Look Functional Location
5031869 | UNKNOWN | PLNT-HSB PWRLOGIC SYS-MONITORING /MON | MOJP-Z1-PLNT.-HSB. | P353 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | PWRMON* |  |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031871 | UNKNOWN | PLNT-HSB PWRLOGIC SYS-MONITORING /MON | MOJP-Z1-PLNT.-HSB. | P353 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | PWRMON* |  |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031881 | UNKNOWN | PLNT-HSB HS8 /MON | MOJP-Z1-PLNT.-HSB. | P353 | INSV | INST | HUSSAARM | H | 13-250820 |  |  |  | AW | PWRMON* |  |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031883 | UNKNOWN | PLNT-HSB HS11 /MON | MOJP-Z1-PLNT.-HSB. | P353 | INSV | INST | HUSSAARM | H | 13-250210 |  |  |  | AW | PWRMON* |  |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031885 | UNKNOWN | PLNT-HSB HS9 /MON | MOJP-Z1-PLNT.-HSB. | P353 | INSV | INST | HUSSAARM | H | 13-250280 |  |  |  | AW | PWRMON* |  |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031887 | UNKNOWN | PLNT-HSB HS12 /MON | MOJP-Z1-PLNT.-HSB. | P353 | INSV | INST | HUSSAARM | H | 13-250580 |  |  |  | AW | PWRMON* |  |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031944 | ALLEN BRADLEY | SCIN PQM II-#6 /MON | MOJP-Z1-SCIN. | P353 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | PWRMON* |  |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031946 | ALLEN BRADLEY | SCIN PQM II-#5 /MON | MOJP-Z1-SCIN. | P353 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | PWRMON* |  |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031950 | ALLEN BRADLEY | SCIN PQM II-SOUTH STATION #1 /MON | MOJP-Z1-SCIN. | P353 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | PWRMON* |  |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031952 | ALLEN BRADLEY | SCIN PQM II-#3 /MON | MOJP-Z1-SCIN. | P353 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | PWRMON* |  |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5031954 | ALLEN BRADLEY | SCIN PQM II-#2 /MON | MOJP-Z1-SCIN. | P353 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | PWRMON* |  |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5039315 | UNKNOWN | SOUTH-SWTGR BLDG 9 WBUS UE METER /MON | MOSL-S4-SOUTH-SWTG | P361 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | PWRMON* |  |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5039320 | UNKNOWN | SOUTH-SWTGR BLDG 9 EBUS UE METER /MON | MOSL-S4-SOUTH-SWTG | P361 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | PWRMON* |  |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5039353 | UNKNOWN | MERAM-MCC HYP SRV PWRMON1 /MON | MOSL-S4-MERAM-MCCH | P362 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | PWRMON* |  |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5039354 | UNKNOWN | MERAM-MCC HYP SRV PWRMON2 /MON | MOSL-S4-MERAM-MCCH | P362 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | PWRMON* |  |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5066633 | UNKNOWN | TANEY-WLL1 # 1 WELL PHASE /MON | MOLT-Z1-TANEY-WLL1 | P365 | INSV | INST | HUSSAARM | M |  |  | Y |  | AW | PWRMON* |  |  | PUMP | 480 | Maint Look Functional Location | Ops Look Functional Location
5066634 | UNKNOWN | TANEY-WLL2 # 2 WELL PHASE /MON | MOLT-Z1-TANEY-WLL2 | P365 | INSV | INST | HUSSAARM | M |  |  | Y |  | AW | PWRMON* |  |  | PUMP | 240 | Maint Look Functional Location | Ops Look Functional Location
5246212 | EATON/CUTLER HAMMER | PLNT2 SWGR /PWRMON | MOPV-Z1-PLNT2-PROC-ELEC-SWGR | P355 | INSV | INST | BULLJE | L |  | PXG 900 | Y |  | AW | PWRMON* |  |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5247817 | EATON/CUTLER HAMMER | PLNT2 MCC2 MAIN METERING /PWRMON | MOPV-Z1-PLNT2-PROC-ELEC-MCC2 | P355 | INSV | INST | BULLJE | L |  | Power Xpert 2270 | Y |  | AW | PWRMON* |  |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5248207 | EATON/CUTLER HAMMER | PLNT2 MCC1 MAIN METERING /PWRMON | MOPV-Z1-PLNT2-PROC-ELEC-MCC1 | P355 | INSV | INST | BULLJE | M |  | Power Xpert 2270 | Y |  | AW | PWRMON* |  |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5000614 | UNKNOWN | ALMT-MCC VOLT MONITOR /MON | MOSL-S3-ALMT.-MCC. | P359 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | PWRMON* |  |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5002629 | ALLEN BRADLEY | CENT-FP2-MCC 480 V N PWR MON /MON | MOSL-W4-CENT.-FP2.-MCC4 | P359 | INSV | INST | HUSSAARM | M |  |  |  | 0.00 A | AW | PWRMON* |  |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5002649 | ALLEN BRADLEY | CENT-FP2-MCC HV KH S PWR MAIN /MON | MOSL-W4-CENT.-FP2.-MCCH | P359 | INSV | INST | HUSSAARM | M |  |  |  | 0.00 A | AW | PWRMON* |  |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5002671 | ALLEN BRADLEY | CENT-CIN-INT-MCC KH E PWR MON /MON | MOSL-W4-CENT.-CIN.-INT.-MCCK | P359 | INSV | INST | HUSSAARM | M |  |  |  | 0.00 A | AW | PWRMON* |  |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5002672 | ALLEN BRADLEY | CENT-CIN-INT-MCC KH N PWR MON /MON | MOSL-W4-CENT.-CIN.-INT.-MCCK | P359 | INSV | INST | HUSSAARM | M |  |  |  | 0.00 A | AW | PWRMON* |  |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5002697 | ALLEN BRADLEY | CENT-BIN-INT-MCC BS PWR MON /MON | MOSL-W4-CENT.-BIN.-INTC-MCCB | P359 | INSV | INST | HUSSAARM | M |  |  |  | 0.00 A | AW | PWRMON* |  |  | B INT | 480 | Maint Look Functional Location | Ops Look Functional Location
5002698 | ALLEN BRADLEY | CENT-BIN-INT-MCC BS PWR MON /MON | MOSL-W4-CENT.-BIN.-INTC-MCCB | P359 | INSV | INST | HUSSAARM | M |  |  |  | 0.00 A | AW | PWRMON* |  |  | B INT | 480 | Maint Look Functional Location | Ops Look Functional Location
5006611 | UNKNOWN | NORTH-CB-NC-EL-SWTGR W BUSPWRMET /MON | MOSL-N4-NORTH-CB..-NC..-ELSW | P360 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | PWRMON* |  |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5006614 | UNKNOWN | NORTH-CB-NC-EL-SWTGR TVSS E /MON | MOSL-N4-NORTH-CB..-NC..-ELSW | P360 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | PWRMON* |  |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5006615 | UNKNOWN | NORTH-CB-NC-EL-SWTGR TVSS W /MON | MOSL-N4-NORTH-CB..-NC..-ELSW | P360 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | PWRMON* |  |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5006620 | UNKNOWN | NORTH-CB-NC-EL-SWTGR E BUSPWRMET /MON | MOSL-N4-NORTH-CB..-NC..-ELSW | P360 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | PWRMON* |  |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5006649 | CUTLER HAMMER | NORTH-WIN-CB-MCC MN MET W BUS /MON | MOSL-N4-NORTH-WIN.-CB..-MCC. | P360 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | PWRMON* |  |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5006666 | CUTLER HAMMER | NORTH-WIN-CB-MCC MN MET E BUS /MON | MOSL-N4-NORTH-WIN.-CB..-MCC. | P360 | INSV | INST | HUSSAARM | M |  |  |  |  | AW | PWRMON* |  |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5006671 | UNKNOWN | NORTH-EIN-CBLD-MCC W BUS PHASE/MON | MOSL-N4-NORTH-EIN.-CBIN-MCC. | P360 | INSV | INST | HUSSAARM | M |  |  |  | 2,000.00 A | AW | PWRMON* |  |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5006698 | UNKNOWN | NORTH-EIN-CBLD-MCC E BUS PHASE/MON | MOSL-N4-NORTH-EIN.-CBIN-MCC. | P360 | INSV | INST | HUSSAARM | M |  |  |  | 2,000.00 A | AW | PWRMON* |  |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5006743 | ABB | NORTH-PLNTSWG E MAIN PTS SEC 3 /MON | MOSL-N4-NORTH-PLNT | P360 | INSV | INST | HUSSAARM | M |  | ADVANCE |  |  | AW | PWRMON* |  |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5006753 | ABB | NORTH-PLNTSWG W MAIN PTS SEC 8 /MON | MOSL-N4-NORTH-PLNT | P360 | INSV | INST | HUSSAARM | M |  | ADVANCE |  |  | AW | PWRMON* |  |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5007655 | UNKNOWN | PLNT-SWTGR 13-KV METERING /MON | MOJC-SY-PLNT.-SW13 | P352 | INSV | INST | HUSSAARM | H |  |  |  |  | AW | PWRMON* |  |  |  | 13KV | Maint Look Functional Location | Ops Look Functional Location
5011030 | FURNAS | SADDL-WELL PUMP OVERLOAD /MON | MOSD-Z1-SADDL-WELL | P369 | INSV | INST | HUSSAARM | H |  | ESP100 |  | 135.00 A | AW | PWRMON* |  |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5012286 | SQUARE D | CENT-KHSUBSTA S_MAIN /MON | MOSL-W4-CENT.-KHSU | P359 | INSV | INST | HUSSAARM | M |  | ION 7330 | Y | 2,000.00 A | AW | PWRMON* |  |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5012287 | SQUARE D | CENT-KHSUBSTA N_MAIN /MON | MOSL-W4-CENT.-KHSU | P359 | INSV | INST | HUSSAARM | M |  | ION 7330 | Y | 2,000.00 A | AW | PWRMON* |  |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5012288 | SQUARE D | CENT-KHSUBSTA N_HHB /MON | MOSL-W4-CENT.-KHSU | P359 | INSV | INST | HUSSAARM | M |  | ION 7330 | Y | 2,000.00 A | AW | PWRMON* |  |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5012289 | SQUARE D | CENT-KHSUBSTA N_CP3A /MON | MOSL-W4-CENT.-KHSU | P359 | INSV | INST | HUSSAARM | M |  | ION 7330 | Y | 2,000.00 A | AW | PWRMON* |  |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5012290 | SQUARE D | CENT-KHSUBSTA N_FP2 /MON | MOSL-W4-CENT.-KHSU | P359 | INSV | INST | HUSSAARM | M |  | ION 7330 | Y | 2,000.00 A | AW | PWRMON* |  |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5012291 | SQUARE D | CENT-KHSUBSTA N_ELEC /MON | MOSL-W4-CENT.-KHSU | P359 | INSV | INST | HUSSAARM | M |  | ION 7330 | Y | 2,000.00 A | AW | PWRMON* |  |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5012292 | SQUARE D | CENT-KHSUBSTA S_FP2 /MON | MOSL-W4-CENT.-KHSU | P359 | INSV | INST | HUSSAARM | M |  | ION 7330 | Y | 2,000.00 A | AW | PWRMON* |  |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5012293 | SQUARE D | CENT-KHSUBSTA S_ELEC /MON | MOSL-W4-CENT.-KHSU | P359 | INSV | INST | HUSSAARM | M |  | ION 7330 | Y | 2,000.00 A | AW | PWRMON* |  |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5012294 | SQUARE D | CENT-KHSUBSTA S_HHB /MON | MOSL-W4-CENT.-KHSU | P359 | INSV | INST | HUSSAARM | M |  | ION 7330 | Y | 2,000.00 A | AW | PWRMON* |  |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location