## PowerPanel
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Amp Rating | Fuse Size | Fused | Number of Breakers | Owned By | Power Panel Type | Special Mtn Note | Special Mtn Note Det | Volt Rating | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5028255 | UNKNOWN | FCOS PANELBOARD 3 /PP | MOSJ-Z1-FCOS. | P357 | INSV | INST | HUSSAARM | M |  |  | 225.00 A |  |  |  | AW | BREAKER PROTECTED |  |  | 120/240 | Maint Look Functional Location | Ops Look Functional Location
5028252 | UNKNOWN | FCOS PANELBOARD 2 /PP | MOSJ-Z1-FCOS. | P357 | INSV | INST | HUSSAARM | M |  |  | 60.00 A |  |  |  | AW | BREAKER PROTECTED |  |  | 120/240 | Maint Look Functional Location | Ops Look Functional Location
5028249 | UNKNOWN | FCOS PANELBOARD 1 /PP | MOSJ-Z1-FCOS. | P357 | INSV | INST | HUSSAARM | M | [6 empty] | AW | BREAKER PROTECTED |  |  | 120/240 | Maint Look Functional Location | Ops Look Functional Location
5028235 | GE | PLNT LIGHTING LPC /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M |  |  | 150.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 208Y/120 | Maint Look Functional Location | Ops Look Functional Location
5028232 | GE | PLNT LPC 1 /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M |  |  | 100.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 208Y/120 | Maint Look Functional Location | Ops Look Functional Location
5028229 | GE | PLNT PBD C /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M |  |  | 250.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028227 | GE | PLNT PPC TUSS /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M |  |  | 50.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 208Y/120 | Maint Look Functional Location | Ops Look Functional Location
5028224 | UNKNOWN | PLNT GPWF /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M |  | ATV71HD11M3X | 100.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 208Y/120 | Maint Look Functional Location | Ops Look Functional Location
5028221 | UNKNOWN | PLNT PPWF /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M |  | ATV71HD11M3X | 50.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 208Y/120 | Maint Look Functional Location | Ops Look Functional Location
5028218 | CUTLER HAMMER | PLNT DISTRIBUTION GPIB /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M |  | C320KGS3 | 150.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 208Y/120 | Maint Look Functional Location | Ops Look Functional Location
5028215 | CUTLER HAMMER | PLNT DISTRIB PNL PPIC TUSS /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M |  | C320KGS3 | 50.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 208Y/120 | Maint Look Functional Location | Ops Look Functional Location
5028213 | UNKNOWN | PLNT DISTRIBUTION PPIB TUSS /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M | ATU71HC16H4 | ALTIVAR71 | 50.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 208Y/120 | Maint Look Functional Location | Ops Look Functional Location
5028211 | GE | PLNT DISTRIBUTION DPIB /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M |  | CL04A310M | 250.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028209 | GE | PLNT DISTRIBUTION DPIC /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M |  | CL04A310M | 250.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028206 | GE | PLNT DISTRIBUTION LPIB /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M |  | CL04A310A | 100.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 208Y/120 | Maint Look Functional Location | Ops Look Functional Location
5028203 | UNKNOWN | PLNT DISTRIBUTION DPPS /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M | 1W0347278740004 | CIMRP5M4011 | 100.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028200 | UNKNOWN | PLNT DISTRIBUTION DPI /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M | 1W0347278740003 | CIMRP5M4011 | 400.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028197 | UNKNOWN | PLNT DISTRIBUTION DPIA /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M | 1W035728500001 | CIMRP5M4011 | 300.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028195 | CUTLER HAMMER | PLNT DISTRIBUTION GPIC /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M |  |  | 150.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 208Y/120 | Maint Look Functional Location | Ops Look Functional Location
5028192 | CUTLER HAMMER | PLNT DISTRIBUTION PPIATUSS /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M |  |  | 50.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 208Y/120 | Maint Look Functional Location | Ops Look Functional Location
5028189 | CUTLER HAMMER | PLNT DISTRIBUTION LPIA /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M |  |  | 50.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 208Y/120 | Maint Look Functional Location | Ops Look Functional Location
5028186 | CUTLER HAMMER | PLNT DISTRIBUTION GPIA /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M |  |  | 250.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5028183 | CUTLER HAMMER | PLNT HIGH SERVICE /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | M |  |  | 100.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 208Y/120 | Maint Look Functional Location | Ops Look Functional Location
5028174 | CUTLER HAMMER | PLNT FILT GAL LGHTNG PNL /PP | MOSJ-Z1-PLNT. | P357 | INSV | INST | HUSSAARM | L |  |  | 50.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 208Y/120 | Maint Look Functional Location | Ops Look Functional Location
5028069 | GE | FNBS-MCC FNBS LIGHTING PANEL /PP | MOSJ-Z1-FNBS.-MCCF | P357 | INSV | INST | HUSSAARM | H | [6 empty] | AW | BREAKER PROTECTED |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5028064 | SQUARE D | KHBS-KHB-MCCKHBS 120/208VOLT /PP | MOSJ-Z1-KHBS.-KHB.-MCCK | P357 | INSV | INST | HUSSAARM | H | [6 empty] | AW | BREAKER PROTECTED |  |  |  | Maint Look Functional Location | Ops Look Functional Location