## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Amp Rating | Fuse Size | Fused | Number of Breakers | Owned By | Power Panel Type | Special Mtn Note | Special Mtn Note Det | Volt Rating | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5028255 | UNKNOWN | FCOS PANELBOARD 3 /PP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  |  | 225.00 A |  |  |  | AW | BREAKER PROTECTED |  |  | 120/240 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5028252 | UNKNOWN | FCOS PANELBOARD 2 /PP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  |  | 60.00 A |  |  |  | AW | BREAKER PROTECTED |  |  | 120/240 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5028249 | UNKNOWN | FCOS PANELBOARD 1 /PP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M | [6 empty] | AW | BREAKER PROTECTED |  |  | 120/240 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5028235 | GE | PLNT LIGHTING LPC /PP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  |  | 150.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 208Y/120 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | FCOS PANELBOARD 3 /PP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  |  | 225.00 A |  |  |  | AW | BREAKER PROTECTED |  |  | 120/240 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | FCOS PANELBOARD 2 /PP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  |  | 60.00 A |  |  |  | AW | BREAKER PROTECTED |  |  | 120/240 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | FCOS PANELBOARD 1 /PP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M | [6 empty] | AW | BREAKER PROTECTED |  |  | 120/240 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| GE | PLNT LIGHTING LPC /PP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  |  | 150.00 A |  | N |  | AW | BREAKER PROTECTED |  |  | 208Y/120 | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC