## PowerRelay
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Amp Rating | Breaker Name | Owned By | Phase ID | Power Relay Type | Special Mtn Note | Special Mtn Note Det | Style Number | Volt Rating | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5000572 | ALLEN BRADLEY | CARM-MCC PHASE MON DISCONNECT /RELAY | MOSL-W1-CARM.-MCC. | P359 | INSV | INST | HUSSAARM | M |  |  | 30.00 A | INCOMING | AW | PHASE 3 | PWRRELAY* |  |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5000725 | UNKNOWN | CFLD FIRE ALM /RELAY | MOSL-W4-CFLD. | P359 | INSV | INST | HUSSAARM | M |  |  |  |  | AW |  | PWRRELAY* |  |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5000833 | UNKNOWN | LUCS /RELAY | MOSL-N1-LUCS. | P359 | INSV | INST | HUSSAARM | M |  |  |  | OTHER | AW | PHASE 3 | PWRRELAY* |  |  |  | 480 | Maint Look Functional Location | Ops Look Functional Location
5006739 | UNKNOWN | NORTH-PLNTSWG E BUS E BAS OC SEC 1/RELAY | MOSL-N4-NORTH-PLNT | P360 | INSV | INST | HUSSAARM | H |  | BE1-851 |  |  | AW |  | PWRRELAY* |  |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5006740 | UNKNOWN | NORTH-PLNTSWG E BUS W BAS OC SEC 1/RELAY | MOSL-N4-NORTH-PLNT | P360 | INSV | INST | HUSSAARM | H |  | BE1-851 |  |  | AW |  | PWRRELAY* |  |  |  | 4160 | Maint Look Functional Location | Ops Look Functional Location
5006759 | UNKNOWN | NORTH-PLNTSWG W BUS E BAS OC SEC10/RELAY | MOSL-N4-NORTH-PLNT | P360 | INSV | INST | HUSSAARM | H |  | BE1-851 |  |  | AW |  | PWRRELAY* |  |  |  | 120 | Maint Look Functional Location | Ops Look Functional Location
5039431 | UNKNOWN | MERAM-CB-GRND-CF CARBFD1 /RELAY | MOSL-S4-MERAM-CBG.-CFAR-CARB | P362 | REMV | INAC INST | HUSSAARM | M |  |  | 0.00 A |  | AW |  | PWRRELAY* |  |  |  | 240 | Maint Look Functional Location | Ops Look Functional Location
5039432 | UNKNOWN | MERAM-CB-GRND-CF CARBFD2 /RELAY | MOSL-S4-MERAM-CBG.-CFAR-CARB | P362 | REMV | INAC INST | HUSSAARM | M |  |  |  |  | AW |  | PWRRELAY* |  |  |  | 240 | Maint Look Functional Location | Ops Look Functional Location
5039433 | UNKNOWN | MERAM-CB-GRND-CF CARBFD3 /RELAY | MOSL-S4-MERAM-CBG.-CFAR-CARB | P362 | REMV | INAC INST | HUSSAARM | M |  |  |  |  | AW |  | PWRRELAY* |  |  |  | 240 | Maint Look Functional Location | Ops Look Functional Location
5039434 | UNKNOWN | MERAM-CB-GRND-CF CARBFD4 /RELAY | MOSL-S4-MERAM-CBG.-CFAR-CARB | P362 | REMV | INAC INST | HUSSAARM | M |  |  | 0.00 A |  | AW |  | PWRRELAY* |  |  |  | 240 | Maint Look Functional Location | Ops Look Functional Location