## PowerTransferSwitch
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Amp Rating | Owned By | Programmable | Special Mtn Note | Special Mtn Note Det | Transfer Switch Type | Volt Rating | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5038203 | UNKNOWN | WELL3-MCC1 CONTROLS /TRAN-SW | ILHT-Z1-WELL3-MCC1 | P313 | INSV | INST | HUSSAARM | H |  |  |  | AW |  |  |  | MANUAL TRANSFER | 120/240 | Maint Pumping Power Prod | Ops Pumping Power Prd
5038205 | UNKNOWN | HSITE-BSTR-MCC1 CONTROLS /TRAN-SW | ILHT-Z1-HSITE-BSTR-MCC1 | P313 | INSV | INST | HUSSAARM | H |  |  |  | AW | Y |  |  | MANUAL TRANSFER | 120/240 | Maint Pumping Power Prod | Ops Pumping Power Prd
5038206 | ASCO | HTLWC-BSTR-MCC1 CONTROLS /TRAN-SW | ILHT-Z1-HTLWC-BSTR-MCC1 | P313 | INSV | INST | HUSSAARM | H |  |  |  | AW | Y |  |  | AUTOMATIC TRANSFER | 120/240 | Maint Pumping Power Prod | Ops Pumping Power Prd
5045555 | CUTLER HAMMER | EWTPS-PRBD-MCC1 TRANSFER SWITCH /TRAN-SW | ILSL-Z1-EWTPS-PRBD-MCC1 | P303 | INSV | INST | HUSSAARM | H |  | ATC 600 IQ TRANSFER | 1,600.00 A | AW | Y |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5045598 | RONK | WWTPS-TRTP W PLANT ATS 0001 /TRAN-SW | ILSL-Z1-WWTPS-TRTP | P303 | INSV | INST | HUSSAARM | H | 132894 | Cat#T6233-6 | 400.00 A | AW | N |  |  | MANUAL TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5045615 | SQUARE D | RRBSS-BSTR RIVER RD BSTR /TRAN-SW | ILSL-Z1-RRBSS-BSTR | P303 | INSV | INST | HUSSAARM | L |  | CAT#4028133801 | 400.00 A | AW |  |  |  | MANUAL TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5047108 | ASCO | WELL1-MCCW MCC /TRAN-SW | ILCS-Z1-WELL1-MCCW | P313 | INSV | INST | HUSSAARM | M |  | 7000 |  | AW | Y |  |  | AUTOMATIC TRANSFER |  | Maint Pumping Power Prod | Ops Pumping Power Prd
5047455 | ASCO | WELL1-MCCP CONTROL /TRAN-SW | ILNC-Z1-WELL1-MCCP | P313 | INSV | INST | HUSSAARM | H | 539255-004-RE |  |  | AW |  |  |  | AUTOMATIC TRANSFER |  | Maint Pumping Power Prod | Ops Pumping Power Prd
5050778 | UNKNOWN | WLBS-BST TRANSFER SWITCH /TRAN-SW | ILIU-BV-WLBS.-BST. | P310 | INSV | INST | HUSSAARM | H | F940547434 | 0T225 | 225.00 A | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5050779 | GE | EDGE-BST HOUSE TRANSFER /TRAN-SW | ILIU-ES-EDGE.-BST. | P310 | INSV | INST | HUSSAARM | H | G030521719 | OTPCB-5628490 | 225.00 A | AW |  |  |  | AUTOMATIC TRANSFER | 208Y/120 | Maint Pumping Power Prod | Ops Pumping Power Prd
5050780 | UNKNOWN | EDGE-BST TRANSFER 4160 /TRAN-SW | ILIU-ES-EDGE.-BST. | P310 | INSV | INST | HUSSAARM | H |  |  | 600.00 A | AW |  |  |  | AUTOMATIC TRANSFER | 4160 | Maint Pumping Power Prod | Ops Pumping Power Prd
5050781 | UNKNOWN | BOND-BST TRANSFER /TRAN-SW | ILIU-GC-BOND.-BST. | P311 | INSV | INST | HUSSAARM | H | K970659026 | OT 800 | 800.00 A | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5050782 | CUTLER HAMMER | BBST TRANSFER SWITCH /TRAN-SW | ILIU-ES-BBST. | P310 | INSV | INST | HUSSAARM | H |  |  | 400.00 A | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5050784 | ASCO | DTCH TRANSFER SWITCH /TRAN-SW | ILIU-BV-DTCH. | P310 | INSV | INST | HUSSAARM | H | 347495-001 FP | H03AUS030800N10C | 800.00 A | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5050785 | UNKNOWN | FRNK TRANSFER SWITCH /TRAN-SW | ILIU-BV-FRNK. | P310 | INSV | INST | HUSSAARM | H | J020428469 | OTPCO-558 3853 | 800.00 A | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5050787 | UNKNOWN | GCBS-BST TRANSFER SWITCH /TRAN-SW | ILIU-GC-GCBS.-BST. | P311 | INSV | INST | HUSSAARM | H |  |  |  | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5050821 | UNKNOWN | GCWT EMERG PWR X-FER SWITCH /TRAN-SW | ILIU-GC-GCWT. | P311 | INSV | INST | HUSSAARM | H |  |  | 600.00 A | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5054681 | ASCO | WELL1-MCC1 PWRPNL /TRAN-SW | ILRG-Z1-WELL1-MCC1 | P313 | INSV | INST | HUSSAARM | H |  | 700 SERIES |  | AW |  |  |  | AUTOMATIC TRANSFER | 120/240 | Maint Pumping Power Prod | Ops Pumping Power Prd
5059918 | UNKNOWN | LWCON-WL01-MCCW MCC /TRAN-SW | ILLO-Z1-LWCON-WL01-MCCW | P313 | INSV | INST | HUSSAARM | H |  |  |  | AW |  |  |  | MANUAL TRANSFER |  | Maint Pumping Power Prod | Ops Pumping Power Prd
5063249 | GE | WSWL2-WL02-MCC1 CNTRLR /TRAN-SW | ILWS-Z1-WSWL2-WL02-MCC1 | P313 | INSV | INST | HUSSAARM | H |  |  |  | AW | N |  |  | MANUAL TRANSFER | 120/240 | Maint Pumping Power Prod | Ops Pumping Power Prd
5063250 | SQUARE D | EFRBS-MCC1 CNTRLR /TRAN-SW | ILWS-Z1-EFRBS-MCC1 | P313 | INSV | INST | HUSSAARM | H |  |  |  | AW | N |  |  | MANUAL TRANSFER | 120/240 | Maint Pumping Power Prod | Ops Pumping Power Prd
5063257 | GE | WSW11-MCC1 CNTRLR /TRAN-SW | ILWS-Z1-WSW11-MCC1 | P313 | INSV | INST | HUSSAARM | H |  |  |  | AW | N |  |  | MANUAL TRANSFER | 120/240 | Maint Pumping Power Prod | Ops Pumping Power Prd
5065177 | ASCO | STRTF-HISB HIGH SIDE /TRAN-SW | ILST-Z1-STRTF-HISB | P302 | INSV | INST | HUSSAARM | M |  |  |  | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5065178 | ASCO | STRTF-LWSB LOW SIDE /TRAN-SW | ILST-Z1-STRTF-LWSB | P302 | INSV | INST | HUSSAARM | M |  | 940 |  | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5065179 | ONAN | WSTOR-BSTR WS BOOSTER /TRAN-SW | ILST-Z1-WSTOR-BSTR | P302 | INSV | INST | HUSSAARM | M |  |  |  | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5068509 | GE | WELL5-MCC1 #1 /TRAN-SW | ILVV-Z1-WELL5-MCC1 | P313 | INSV | INST | HUSSAARM | H |  | TC35364 |  | AW |  |  |  | MANUAL TRANSFER | OTHER | Maint Pumping Power Prod | Ops Pumping Power Prd
5068510 | GE | LWCON-MCC1 #1 /TRAN-SW | ILVV-Z1-LWCON-MCC1 | P313 | INSV | INST | HUSSAARM | H |  | TC35366 | 0.00 A | AW |  |  |  | MANUAL TRANSFER | 120/240 | Maint Pumping Power Prod | Ops Pumping Power Prd
5068810 | GE | 2SITE-BSTR-MCCA #1 /TRAN-SW | ILWA-Z1-2SITE-BSTR-MCCA | P313 | INSV | INST | HUSSAARM | H |  | TC35365 | 0.00 A | AW | N |  |  | MANUAL TRANSFER | 120/240 | Maint Pumping Power Prod | Ops Pumping Power Prd
5184000 | WESTINGHOUSE | SWITCHGEAR UTILITY_GENERATOR/TRAN-SW | ILIU-ES-PLNT.-HSP. | P310 | INSV | INST | ALBERSTG | H | ST-29990 |  | 1,200.00 A | AW |  |  |  | AUTOMATIC TRANSFER | 4160 | Maint Pumping Power Prod | Ops Pumping Power Prd
5001209 | ASCO | WELL1-SWT1 MCC SWTCHGR /TRAN-SW | ILMR-Z1-WELL1-SWT1 | P313 | INSV | INST | HUSSAARM | H | 316504FP | 7000 | 260.00 A | AW | Y |  |  | AUTOMATIC TRANSFER | 120/240 | Maint Pumping Power Prod | Ops Pumping Power Prd
5001213 | SQUARE D | WELL2-SWT2 MCC SWTCHGR /TRAN-SW | ILMR-Z1-WELL2-SWT2 | P313 | INSV | INST | HUSSAARM | H |  |  | 100.00 A | AW | N |  |  | MANUAL TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5010323 | UNKNOWN | WELLSITE SWITCH /TRAN-SW | ILMP-Z1-WELLS | P313 | INSV | INST | HUSSAARM | H | 1316669 | ZTGK22EC-38 |  | AW |  |  |  | AUTOMATIC TRANSFER |  | Maint Pumping Power Prod | Ops Pumping Power Prd
5010375 | SQUARE D | LWCONN-MCC LWCNN SWTGR /TRAN-SW | ILFR-Z1-LWCON-MCCL | P313 | INSV | INST | HUSSAARM | M |  | 82344-RB | 200.00 A | AW | N |  |  | MANUAL TRANSFER | 120/240 | Maint Pumping Power Prod | Ops Pumping Power Prd
5010377 | UNKNOWN | WELLSITE-W3-MCC W3 SWTGR /TRAN-SW | ILFR-Z1-WELLS-W3..-MCCW | P313 | INSV | INST | HUSSAARM | M |  |  | 600.00 A | AW | N |  |  | MANUAL TRANSFER | 120/240 | Maint Pumping Power Prod | Ops Pumping Power Prd
5010483 | SQUARE D | LWCONN-BST-MCCBSTRM MAN XFR /TRAN-SW | ILAR-Z1-LWCON-BST.-MCCB | P313 | INSV | INST | HUSSAARM | M |  | 82344 | 200.00 A | AW | N |  |  | MANUAL TRANSFER | 277/480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5012714 | SQUARE D | PWTPS-SWTGR 1 Generator Trans /TRAN-SW | ILPT-PO-PWTPS-SWTG | P304 | INSV | INST | HUSSAARM | H |  |  |  | AW | N |  |  | MANUAL TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5012724 | ONAN | SWTPS Transfer /TRAN-SW | ILPT-SN-SWTPS | P304 | INSV | INST | HUSSAARM | H |  | OTEC | 225.00 A | AW |  |  |  | AUTOMATIC TRANSFER | 120/240 | Maint Pumping Power Prod | Ops Pumping Power Prd
5012725 | ASCO | IMPST-GENB Transfer /TRAN-SW | ILPT-PO-IMPST-GENB | P304 | INSV | INST | HUSSAARM | H | 361710RE | 940 | 70.00 A | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5012995 | SQUARE D | LWCON-WL02-MCC W PUMP ROOM /TRAN-SW | ILLW-Z1-LWCON-WL02-MCCW | P313 | INSV | INST | HUSSAARM | H |  |  | 100.00 A | AW | N |  |  | MANUAL TRANSFER |  | Maint Pumping Power Prod | Ops Pumping Power Prd
5023428 | SQUARE D | WELL2 TRANSFER SWITCH /TRAN-SW | ILAH-Z1-WELL2 | P313 | INSV | INST | HUSSAARM | M |  | 82344F | 200.00 A | AW |  |  |  | MANUAL TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5024642 | ASCO | WELL SWITCHGEAR /TRAN-SW | ILRC-Z1-WELL. | P313 | INSV | INST | HUSSAARM | H |  | 7000 SERIES |  | AW | Y |  |  | AUTOMATIC TRANSFER | 240 | Maint Pumping Power Prod | Ops Pumping Power Prd
5028905 | ASCO | HARLD-BSTR 1 /TRAN-SW | ILAL-Z1-HARLD-BSTR | P308 | INSV | INST | HUSSAARM | H |  |  |  | AW | Y |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5028910 | UNKNOWN | PCBST-BSTR STATION /TRAN-SW | ILAL-Z1-PCBST-BSTR | P308 | INSV | INST | HUSSAARM | H |  |  |  | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5028918 | UNKNOWN | PBRT3 STATION /TRAN-SW | ILAL-Z1-PBRT3 | P308 | INSV | INST | HUSSAARM | H |  |  |  | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5029272 | GE | WELL2-MCC1 POWER PANEL /TRAN-SW | ILDP-LW-WELL2-MCC1 | P313 | INSV | INST | HUSSAARM | H |  | TC35365 |  | AW | N |  |  | MANUAL TRANSFER | 277/480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5029275 | UNKNOWN | LWCON-BSTR-MCC1 POWER PANEL /TRAN-SW | ILDP-LW-LWCON-BSTR-MCC1 | P313 | INSV | INST | HUSSAARM | H |  |  |  | AW | N |  |  | MANUAL TRANSFER | 120/240 | Maint Pumping Power Prod | Ops Pumping Power Prd
5029327 | UNKNOWN | WELL1-MCC1 CNTRL /TRAN-SW | ILRO-Z1-WELL1-MCC1 | P313 | INSV | INST | HUSSAARM | H |  |  |  | AW |  |  |  | AUTOMATIC TRANSFER | 240 | Maint Pumping Power Prod | Ops Pumping Power Prd
5029363 | UNKNOWN | PSITE-PLNT-MCCA CNTRL /TRAN-SW | ILTC-Z1-PSITE-PLNT-MCCA | P313 | INSV | INST | HUSSAARM | H | 49119 | 98A06829-W |  | AW | Y |  |  | AUTOMATIC TRANSFER |  | Maint Pumping Power Prod | Ops Pumping Power Prd
5029438 | GE | WELL2-MCC1 /TRAN-SW | ILSF-Z1-WELL2-MCC1 | P313 | INSV | INST | HUSSAARM | H |  | TC35364 |  | AW |  |  |  | MANUAL TRANSFER |  | Maint Pumping Power Prod | Ops Pumping Power Prd
5029440 | ASCO | LWCON-MCC1 /TRAN-SW | ILSF-Z1-LWCON-MCC1 | P313 | INSV | INST | HUSSAARM | H |  |  |  | AW |  |  |  | AUTOMATIC TRANSFER |  | Maint Pumping Power Prod | Ops Pumping Power Prd
5030224 | ASCO | MNOFF-ADMN MAIN OFFICE /TRAN-SW | ILPK-Z1-MNOFF-ADMN | P305 | INSV | INST | HUSSAARM | H | 269456 | 7000 | 800.00 A | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5030248 | UNKNOWN | FYTWS-WE02 WELL2 TRNSFR SWITCH /TRAN-SW | ILPK-Z1-FYTWS-WE02 | P305 | INSV | INST | HUSSAARM | H |  |  | 0.00 A | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5030259 | ASCO | WLLWS-WE05 TRANSFER SWITCH /TRAN-SW | ILPK-Z1-WLLWS-WE05 | P305 | INSV | INST | HUSSAARM | H | 269395 FP | H7ACTSA30800N5XC | 800.00 A | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5030299 | UNKNOWN | RT9BS ROUTE 9 /TRAN-SW | ILPK-Z1-RT9BS | P305 | INSV | INST | HUSSAARM | H | 1304122.1.3 | ZTSM40ES-5 | 400.00 A | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5030308 | ASCO | CRTSS-RSVR COURT ST TRNSFR SW /TRAN-SW | ILPK-Z1-CRTSS-RSVR | P305 | INSV | INST | HUSSAARM | H | 269396 FP | E7ACTSA30400N5XL | 400.00 A | AW |  |  |  | AUTOMATIC TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5031006 | EATON/CUTLER HAMMER | SHBS TRANSFER SWITCH /TRAN-SW | ILIU-BV-SHBS. | P310 | INSV | INST | HUSSAARM | H |  |  | 400.00 A | AW |  |  |  | MANUAL TRANSFER | 480 | Maint Pumping Power Prod | Ops Pumping Power Prd
5038069 | GE | WELL4-MCC1 CNTRL PNL /TRAN-SW | ILCH-Z1-WELL4-MCC1 | P313 | INSV | INST | HUSSAARM | H |  | TC3526 |  | AW | N |  |  | MANUAL TRANSFER | 120/240 | Maint Pumping Power Prod | Ops Pumping Power Prd
5038070 | ASCO | PHCON-MCC1 CNTRL PNL /TRAN-SW | ILCH-Z1-PHCON-MCC1 | P313 | INSV | INST | HUSSAARM | H | 630178RE | D00300020070F10C |  | AW |  |  |  | AUTOMATIC TRANSFER | 120/240 | Maint Pumping Power Prod | Ops Pumping Power Prd