## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | BHP Rating | Centrifugal Pump Typ | Flow Maximum | Flow Rating | Flow UOM | Lube Type 1 | Lube Type 2 | Orientation | Owned By | Pmp-Bearing#(lower/o | Pmp-Bearing#(upper/i | Pmp-BearingTP-lower/ | Pmp-BearingTP-upper/ | Pmp-Discharge Size | Pmp-Efficiency (fact | Pmp-Impeller Mat'l | Pmp-Impeller Size | Pmp-Inlet Size | Pmp-Material | Pmp-NPSH Rating | Pmp-Seal Type | Pmp-Shut-off Head | Pmp-Stages | Pmp-TDH Rating | RPM Rating | Rotation Direction | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5055168 | ABS | RISS BOOSTER 2 /PUMP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | L |  |  | DISTRIBUTION SYSTEM BOOSTER | 0.00 HP AW | NON-SUBMERGED TURBINE | 0.000 GPM | 750.00 UN | GPM |  |  | VERTICAL | AW |  |  |  |  | 8 | 0.00 % |  | 0.0000 " |  |  |  | PACKING |  |  |  | 3600 |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5055170 | ABS | (RET)PLANT Scrubber /PUMP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | SMVC50 | CHEMICAL | 0.00 HP AW | END SUCTION | 0.000 GPM | 100.00 UN | GPM |  |  | VERTICAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5240309 | ABS | PLNT2 CO2 /PUMP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  | 3SV13FF4F60 | CHEMICAL |  | XX | 22.000 GPM | 16.00 UN | GPM |  |  | VERTICAL | AW |  |  |  |  | XX | 60.00 % | STAINLESS |  | LESS THAN 1 | STAINLESS |  |  |  | 13 | 120 | 3500 | CW (FROM MOTOR FAN END) |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5243805 | ABS | PLNT2 SLUDGE 1 /PUMP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  | NP3153.185 | SLUDGE |  | SUBMERSIBLE | 1,240.000 GPM | 1,200.00 UN | GPM |  |  | VERTICAL | AW |  |  | ANTI FRICTION | ANTI FRICTION | 6 | 88.50 % | CAST IRON | 7.6250 " | 6 | CAST IRON | 22.4 | MECHANICAL |  | 1 | 21 | 1725 |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| ABS | RISS BOOSTER 2 /PUMP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | L |  |  | DISTRIBUTION SYSTEM BOOSTER | 0.00 HP AW | NON-SUBMERGED TURBINE | 0.000 GPM | 750.00 UN | GPM |  |  | VERTICAL | AW |  |  |  |  | 8 | 0.00 % |  | 0.0000 " |  |  |  | PACKING |  |  |  | 3600 |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| ABS | (RET)PLANT Scrubber /PUMP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | SMVC50 | CHEMICAL | 0.00 HP AW | END SUCTION | 0.000 GPM | 100.00 UN | GPM |  |  | VERTICAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| ABS | PLNT2 CO2 /PUMP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  | 3SV13FF4F60 | CHEMICAL |  | XX | 22.000 GPM | 16.00 UN | GPM |  |  | VERTICAL | AW |  |  |  |  | XX | 60.00 % | STAINLESS |  | LESS THAN 1 | STAINLESS |  |  |  | 13 | 120 | 3500 | CW (FROM MOTOR FAN END) |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| ABS | PLNT2 SLUDGE 1 /PUMP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | M |  | NP3153.185 | SLUDGE |  | SUBMERSIBLE | 1,240.000 GPM | 1,200.00 UN | GPM |  |  | VERTICAL | AW |  |  | ANTI FRICTION | ANTI FRICTION | 6 | 88.50 % | CAST IRON | 7.6250 " | 6 | CAST IRON | 22.4 | MECHANICAL |  | 1 | 21 | 1725 |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC