## PumpPositiveDisplacement
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | BHP Rating | Flow Maximum | Flow Rating | Flow UOM | Lube Type 1 | Lube Type 2 | Orientation | Owned By | Pmp-Bearing#(lower/o | Pmp-Bearing#(upper/i | Pmp-BearingTP-lower/ | Pmp-BearingTP-upper/ | Pmp-Discharge Size | Pmp-Efficiency (fact | Pmp-Impeller Mat'l | Pmp-Impeller Size | Pmp-Inlet Size | Pmp-Material | Pmp-NPSH Rating | Pmp-Seal Type | Pmp-Shut-off Head | Pmp-Stages | Pmp-TDH Rating | Positive Displacemen | RPM Rating | Rotation Direction | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5013579 | UNKNOWN | BRAD-MNB-HYPORM HYPO 4 /PUMP | ILCP-CP-BRAD.-MNB.-HYPO | P301 | INSV | INST | HUSSAARM | H | M1086075 | 301256-SA10 | CHEMICAL | 0.00 HP AW | 0.000 GPM | 350.00 UN | GPH |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | PERISTALTIC | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013578 | UNKNOWN | BRAD-MNB-HYPORM HYPO 3 /PUMP | ILCP-CP-BRAD.-MNB.-HYPO | P301 | INSV | INST | HUSSAARM | H | M1086074 | 301256-SA10 | CHEMICAL | 0.00 HP AW | 0.000 GPM | 350.00 UN | GPH |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | PERISTALTIC | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013577 | UNKNOWN | BRAD-MNB-HYPORM HYPO 2 /PUMP | ILCP-CP-BRAD.-MNB.-HYPO | P301 | INSV | INST | HUSSAARM | H | M2086073 | 301256-SA11 | CHEMICAL | 0.00 HP AW | 0.000 GPM | 800.00 UN | GPH |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | PERISTALTIC | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013576 | UNKNOWN | BRAD-MNB-HYPORM HYPO 1 /PUMP | ILCP-CP-BRAD.-MNB.-HYPO | P301 | INSV | INST | HUSSAARM | H | M2086072 | 301256-SA11 | CHEMICAL | 0.00 HP AW | 0.000 GPM | 800.00 UN | GPH |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | PERISTALTIC | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013570 | UNKNOWN | BRAD-MNB-FL2ROOM FLOURIDE 2 /PUMP | ILCP-CP-BRAD.-MNB.-FL2R | P301 | INSV | INST | HUSSAARM | H |  |  | CHEMICAL | 0.00 HP AW | 0.000 GPM | 317.00 UN | GPH |  |  | XX | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013569 | UNKNOWN | BRAD-MNB-FL2ROOM FLOURIDE 1 /PUMP | ILCP-CP-BRAD.-MNB.-FL2R | P301 | INSV | INST | HUSSAARM | H |  |  | CHEMICAL | 0.00 HP AW | 0.000 GPM | 317.00 UN | GPH |  |  | XX | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013566 | UNKNOWN | BRAD-MNB-PHOSFTRM PHOSPHATE 2 /PUMP | ILCP-CP-BRAD.-MNB.-PHOS | P301 | INSV | INST | HUSSAARM | L |  |  | CHEMICAL | 0.00 HP AW | 0.000 GPM | 317.00 UN | GPH |  |  | XX | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013565 | UNKNOWN | BRAD-MNB-PHOSFTRM PHOSPHATE 1 /PUMP | ILCP-CP-BRAD.-MNB.-PHOS | P301 | INSV | INST | HUSSAARM | L |  |  | CHEMICAL | 0.00 HP AW | 0.000 GPM | 317.00 UN | GPH |  |  | XX | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013564 | UNKNOWN | BRAD-MNB-HYPORM BRINE 3 /PUMP | ILCP-CP-BRAD.-MNB.-HYPO | P301 | INSV | INST | HUSSAARM | H | 238811-3 | E7C02XECA01 | CHEMICAL | 0.00 HP AW | 0.000 GPM | 0.80 UN | GPM |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | DIAPHRAGM | 1800 |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013563 | UNKNOWN | BRAD-MNB-HYPORM BRINE 2 /PUMP | ILCP-CP-BRAD.-MNB.-HYPO | P301 | INSV | INST | HUSSAARM | H | 238811-2 | E7C02XECA01 | CHEMICAL | 0.00 HP AW | 0.000 GPM | 0.80 UN | GPM |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | DIAPHRAGM | 1800 |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013562 | UNKNOWN | BRAD-MNB-HYPORM BRINE 1 /PUMP | ILCP-CP-BRAD.-MNB.-HYPO | P301 | INSV | INST | HUSSAARM | H | 238811-1 | E7C02XECA01 | CHEMICAL | 0.00 HP AW | 0.000 GPM | 0.80 UN | GPM |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | DIAPHRAGM | 1800 |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013561 | UNKNOWN | BRAD-WCM-FERRICRM FERRIC 3 /PUMP | ILCP-CP-BRAD.-WCM.-FERR | P301 | INSV | INST | HUSSAARM | M |  |  | CHEMICAL | 0.00 HP AW | 0.000 GPM | 317.00 UN | GPH |  |  | XX | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013560 | UNKNOWN | BRAD-WCM-FERRICRM FERRIC 2 /PUMP | ILCP-CP-BRAD.-WCM.-FERR | P301 | INSV | INST | HUSSAARM | M |  |  | CHEMICAL | 0.00 HP AW | 0.000 GPM | 317.00 UN | GPH |  |  | XX | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013559 | UNKNOWN | BRAD-WCM-FERRICRM FERRIC 1 /PUMP | ILCP-CP-BRAD.-WCM.-FERR | P301 | INSV | INST | HUSSAARM | M |  |  | CHEMICAL | 0.00 HP AW | 0.000 GPM | 317.00 UN | GPH |  |  | XX | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013516 | GOULDS | MATS-CEM-NRTHCEMRM W8SLURRY /PUMP | ILCP-CP-MATS.-CEM.-NRTH | P301 | INSV | INST | HUSSAARM | H |  | SRLFO2x2-10 | CHEMICAL | 0.00 HP AW | 0.000 GPM | 900.00 UN | LB/HR |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " |  |  |  | PACKING |  |  |  | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013515 | GOULDS | MATS-CEM-NRTHCEMRM E8SLURRY /PUMP | ILCP-CP-MATS.-CEM.-NRTH | P301 | INSV | INST | HUSSAARM | H |  | SRLFO2x2-10 | CHEMICAL | 0.00 HP AW | 0.000 GPM | 900.00 UN | LB/HR |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " |  |  |  | PACKING |  |  |  | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013514 | UNKNOWN | MATS-CEM-NRTHCEMRM W8FLOURIDE /PUMP | ILCP-CP-MATS.-CEM.-NRTH | P301 | INSV | INST | HUSSAARM | H |  |  | CHEMICAL | 0.00 HP AW | 0.000 GPM | 50.00 UN | GPD |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013513 | UNKNOWN | MATS-CEM-NRTHCEMRM E8FLOURIDE /PUMP | ILCP-CP-MATS.-CEM.-NRTH | P301 | INSV | INST | HUSSAARM | H |  |  | CHEMICAL | 0.00 HP AW | 0.000 GPM | 50.00 UN | GPD |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013512 | LMI | MATS-CEM-NRTHCEMRM W8FERRIC /PUMP | ILCP-CP-MATS.-CEM.-NRTH | P301 | INSV | INST | HUSSAARM | H | 08092659973-2 | C721-460BI | CHEMICAL | 0.00 HP AW | 0.000 GPM | 4.00 UN | GPH |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013511 | LMI | MATS-CEM-NRTHCEMRM E8FERRIC /PUMP | ILCP-CP-MATS.-CEM.-NRTH | P301 | INSV | INST | HUSSAARM | H | 07022322068-1 | C721-460BI | CHEMICAL | 0.00 HP AW | 0.000 GPM | 4.00 UN | GPH |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013510 | UNKNOWN | MATS-CEM-NRTHCEMRM W8SILICA /PUMP | ILCP-CP-MATS.-CEM.-NRTH | P301 | INSV | INST | HUSSAARM | M |  |  | CHEMICAL | 0.00 HP AW | 0.000 GPM | 50.00 UN | GPD |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5013509 | UNKNOWN | MATS-CEM-NRTHCEMRM E8SILICA /PUMP | ILCP-CP-MATS.-CEM.-NRTH | P301 | INSV | INST | HUSSAARM | M |  |  | CHEMICAL | 0.00 HP AW | 0.000 GPM | 50.00 UN | GPD |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5010479 | PULSAFEEDER | LINC-PDB-CHEMROOM SILICA /PUMP | ILCP-UR-LINC.-PDB.-CHEM | P301 | REMV | INAC INST | HUSSAARM | L |  |  | CHEMICAL |  |  | 2.70 UN | GPH |  |  | HORIZONTAL | AW |  |  |  |  | XX | [10 empty] | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5010478 | PULSAFEEDER | LINC-PDB-CHEMROOM FERRIC /PUMP | ILCP-UR-LINC.-PDB.-CHEM | P301 | REMV | INAC INST | HUSSAARM | H |  |  | CHEMICAL | 0.00 HP AW | 0.000 GPM | 2.70 UN | GPH |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location
5010477 | PULSAFEEDER | LINC-PDB-CHEMROOM FLOURIDE /PUMP | ILCP-UR-LINC.-PDB.-CHEM | P301 | REMV | INAC INST | HUSSAARM | H | D289718-1 | MF073 | CHEMICAL |  |  | 2.70 UN | GPH |  |  | HORIZONTAL | AW |  |  |  |  | XX | [10 empty] | DIAPHRAGM | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location