## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | BHP Rating | Flow Maximum | Flow Rating | Flow UOM | Lube Type 1 | Lube Type 2 | Orientation | Owned By | Pmp-Bearing#(lower/o | Pmp-Bearing#(upper/i | Pmp-BearingTP-lower/ | Pmp-BearingTP-upper/ | Pmp-Discharge Size | Pmp-Efficiency (fact | Pmp-Impeller Mat'l | Pmp-Impeller Size | Pmp-Inlet Size | Pmp-Material | Pmp-NPSH Rating | Pmp-Seal Type | Pmp-Shut-off Head | Pmp-Stages | Pmp-TDH Rating | Positive Displacemen | RPM Rating | Rotation Direction | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5013579 | UNKNOWN | BRAD-MNB-HYPORM HYPO 4 /PUMP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | M1086075 | 301256-SA10 | CHEMICAL | 0.00 HP AW | 0.000 GPM | 350.00 UN | GPH |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | PERISTALTIC | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5013578 | UNKNOWN | BRAD-MNB-HYPORM HYPO 3 /PUMP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | M1086074 | 301256-SA10 | CHEMICAL | 0.00 HP AW | 0.000 GPM | 350.00 UN | GPH |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | PERISTALTIC | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5013577 | UNKNOWN | BRAD-MNB-HYPORM HYPO 2 /PUMP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | M2086073 | 301256-SA11 | CHEMICAL | 0.00 HP AW | 0.000 GPM | 800.00 UN | GPH |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | PERISTALTIC | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5013576 | UNKNOWN | BRAD-MNB-HYPORM HYPO 1 /PUMP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | M2086072 | 301256-SA11 | CHEMICAL | 0.00 HP AW | 0.000 GPM | 800.00 UN | GPH |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | PERISTALTIC | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | BRAD-MNB-HYPORM HYPO 4 /PUMP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | M1086075 | 301256-SA10 | CHEMICAL | 0.00 HP AW | 0.000 GPM | 350.00 UN | GPH |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | PERISTALTIC | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | BRAD-MNB-HYPORM HYPO 3 /PUMP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | M1086074 | 301256-SA10 | CHEMICAL | 0.00 HP AW | 0.000 GPM | 350.00 UN | GPH |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | PERISTALTIC | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | BRAD-MNB-HYPORM HYPO 2 /PUMP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | M2086073 | 301256-SA11 | CHEMICAL | 0.00 HP AW | 0.000 GPM | 800.00 UN | GPH |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | PERISTALTIC | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | BRAD-MNB-HYPORM HYPO 1 /PUMP | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | M2086072 | 301256-SA11 | CHEMICAL | 0.00 HP AW | 0.000 GPM | 800.00 UN | GPH |  |  | HORIZONTAL | AW |  |  |  |  | XX | 0.00 % |  | 0.0000 " | [7 empty] | PERISTALTIC | XX |  |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC