## RTUPLC
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | COMM 1 Device | COMM 1 Type | COMM 2 Device | COMM 2 Type | COMM 3 Device | COMM 3 Type | COMM 4 Device | COMM 4 Type | COMM 5 Device | COMM 5 Type | COMM 6 Device | COMM 6 Type | CPU Battery # or (No | End Node? | Owned By | RTU Type | Remote I/O | Special Mtn Note | Special Mtn Note Det | Standby Power Type | Volt Rating | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5017818 | ALLEN BRADLEY | PESO PLC /RTU-PLC | ILCP-PS-PESO. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | NONE | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017819 | ALLEN BRADLEY | AR-TU PLC /RTU-PLC | ILCP-AT-ARTUS | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | NONE | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017820 | ALLEN BRADLEY | STJO-BTR PLC /RTU-PLC | ILCP-SJ-STJO.-BTR. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | UPS | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017821 | ALLEN BRADLEY | TLNO-BTR PLC /RTU-PLC | ILCP-TO-TLNO.-BTR. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | UPS | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017822 | ALLEN BRADLEY | URBNA-BTR PLC /RTU-PLC | ILCP-UR-URBNA-BTR. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | UPS | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017823 | ALLEN BRADLEY | STDP-BTR PLC /RTU-PLC | ILCP-CP-STDP.-BTR. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017824 | ALLEN BRADLEY | PHLO PLC /RTU-PLC | ILCP-UR-PHLO. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | UPS | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017825 | MODICON | LINC-PDB CP1 /RTU-PLC | ILCP-UR-LINC.-PDB. | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017826 | MODICON | LINC-ECB CP4 /RTU-PLC | ILCP-UR-LINC.-ECB. | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017827 | MODICON | LINC-BWB CP2 /RTU-PLC | ILCP-UR-LINC.-BWB. | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017828 | MODICON | LINC-FB CP3 /RTU-PLC | ILCP-UR-LINC.-FB.. | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017829 | ALLEN BRADLEY | LINC-PDB-CHEMROOM CP5 /RTU-PLC | ILCP-UR-LINC.-PDB.-CHEM | P301 | REMV | INAC INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017831 | ALLEN BRADLEY | MATS-FBE E8HS /RTU-PLC | ILCP-CP-MATS.-FBE. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR |  | Maint Look Functional Location | Ops Look Functional Location
5017832 | ALLEN BRADLEY | MATS-FBW W8HS /RTU-PLC | ILCP-CP-MATS.-FBW. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR |  | Maint Look Functional Location | Ops Look Functional Location
5017833 | ALLEN BRADLEY | BRAD-WCM-ELECRM PLC1 LIMESYS1 /RTU-PLC | ILCP-CP-BRAD.-WCM.-ELEC | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 24VDC | Maint Look Functional Location | Ops Look Functional Location
5017834 | ALLEN BRADLEY | BRAD-WCM-ELECRM PLC2WCHEMFEED /RTU-PLC | ILCP-CP-BRAD.-WCM.-ELEC | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 24VDC | Maint Look Functional Location | Ops Look Functional Location
5017835 | ALLEN BRADLEY | BRAD-WCM-ELECRM PLC3LIMESYS2 /RTU-PLC | ILCP-CP-BRAD.-WCM.-ELEC | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 24VDC | Maint Look Functional Location | Ops Look Functional Location
5017836 | ALLEN BRADLEY | BRAD-MNB PLC4FLTR1 /RTU-PLC | ILCP-CP-BRAD.-MNB. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 24VDC | Maint Look Functional Location | Ops Look Functional Location
5017837 | ALLEN BRADLEY | BRAD-MNB PLC5FLTR2 /RTU-PLC | ILCP-CP-BRAD.-MNB. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 24VDC | Maint Look Functional Location | Ops Look Functional Location
5017838 | ALLEN BRADLEY | BRAD-MNB PLC6FLTR3 /RTU-PLC | ILCP-CP-BRAD.-MNB. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 24VDC | Maint Look Functional Location | Ops Look Functional Location
5017839 | ALLEN BRADLEY | BRAD-MNB PLC7FLTR4 /RTU-PLC | ILCP-CP-BRAD.-MNB. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 24VDC | Maint Look Functional Location | Ops Look Functional Location
5017840 | ALLEN BRADLEY | BRAD-MNB-EELCR PLC8HSPUMPS /RTU-PLC | ILCP-CP-BRAD.-MNB.-EELC | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 24VDC | Maint Look Functional Location | Ops Look Functional Location
5017841 | ALLEN BRADLEY | BRAD-MNB-WELCR PLC9ECHEMFEED /RTU-PLC | ILCP-CP-BRAD.-MNB.-WELC | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 24VDC | Maint Look Functional Location | Ops Look Functional Location
5017842 | ALLEN BRADLEY | BRAD-MNB-EELCR PLC10WELLDATA /RTU-PLC | ILCP-CP-BRAD.-MNB.-EELC | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 24VDC | Maint Look Functional Location | Ops Look Functional Location
5017817 | ALLEN BRADLEY | MKTST-BTR PLC /RTU-PLC | ILCP-CP-MKTST-BTR. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | UPS | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017793 | MODICON | WL53 PLC /RTU-PLC | ILCP-CP-WL53. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | NONE | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017794 | MODICON | NTWL-W35 PLC /RTU-PLC | ILCP-UR-NTWL.-W35. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | NONE | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017795 | MODICON | WL55 PLC /RTU-PLC | ILCP-CP-WL55. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | NONE | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017796 | MODICON | WL54 PLC /RTU-PLC | ILCP-CP-WL54. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | NONE | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017797 | MODICON | WL56 PLC /RTU-PLC | ILCP-CP-WL56. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017798 | MODICON | WL57 PLC /RTU-PLC | ILCP-CP-WL57. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | NONE | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017799 | MODICON | WL58 PLC /RTU-PLC | ILCP-CP-WL58. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | NONE | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017800 | MODICON | WL59 PLC /RTU-PLC | ILCP-CP-WL59. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | NONE | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017801 | MODICON | WL60 PLC /RTU-PLC | ILCP-CP-WL60. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | NONE | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017802 | MODICON | WL61 PLC /RTU-PLC | ILCP-CP-WL61. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | NONE | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017803 | MODICON | WL62 PLC /RTU-PLC | ILCP-CP-WL62. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | NONE | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017804 | MODICON | WL63 PLC /RTU-PLC | ILCP-CP-WL63. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | NONE | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017805 | MODICON | WL64 PLC /RTU-PLC | ILCP-CP-WL64. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | NONE | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017806 | MODICON | WL65 PLC /RTU-PLC | ILCP-CP-WL65. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | NONE | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017807 | MODICON | WL66 PLC /RTU-PLC | ILCP-CP-WL66. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017808 | ALLEN BRADLEY | BRAD-W67 PLC11 /RTU-PLC | ILCP-CP-BRAD.-W67. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017809 | ALLEN BRADLEY | WL68 PLC /RTU-PLC | ILCP-CP-WL68. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | UPS | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017810 | ALLEN BRADLEY | WL69 PLC /RTU-PLC | ILCP-CP-WL69. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | UPS | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017811 | ALLEN BRADLEY | WL70 PLC /RTU-PLC | ILCP-CP-WL70. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | UPS | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017812 | ALLEN BRADLEY | WL71 PLC /RTU-PLC | ILCP-CP-WL71. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | UPS | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017813 | ALLEN BRADLEY | WL72 PLC /RTU-PLC | ILCP-CP-WL72. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017814 | ALLEN BRADLEY | WL73 PLC /RTU-PLC | ILCP-CP-WL73. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | UPS | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017815 | MODICON | R150 PLC /RTU-PLC | ILCP-CP-R150. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 120VAC | Maint Look Functional Location | Ops Look Functional Location
5017816 | ALLEN BRADLEY | NEIL-BTR PLC /RTU-PLC | ILCP-CP-NEIL.-BTR. | P301 | INSV | INST | HUSSAARM | H |  |  | FULL PROCESS CONTROLLER | [14 empty] | AW | RTU-PLC* | Y |  |  | GENERATOR | 120VAC | Maint Look Functional Location | Ops Look Functional Location