## Recorder
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Data Recorder Type | Instrument Range | Instrument UOM | Loop Power | NEMA Enclosure | On SCADA? | Output Type | Owned By | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5038750 | UNKNOWN | SOUTH-CB-GRND-NC-WQ F1 TURB /RECORDER | MOSL-S4-SOUTH-CBG.-NCFR-LAB. | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038752 | UNKNOWN | SOUTH-CB-GRND-NC-WQ F2 TURB /RECORDER | MOSL-S4-SOUTH-CBG.-NCFR-LAB. | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038755 | UNKNOWN | SOUTH-CB-GRND-NC-WQ F3 TURB /RECORDER | MOSL-S4-SOUTH-CBG.-NCFR-LAB. | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038758 | UNKNOWN | SOUTH-CB-GRND-NC-WQ F4 TURB /RECORDER | MOSL-S4-SOUTH-CBG.-NCFR-LAB. | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038761 | UNKNOWN | SOUTH-CB-GRND-NC-WQ F5 TURB /RECORDER | MOSL-S4-SOUTH-CBG.-NCFR-LAB. | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038764 | UNKNOWN | SOUTH-CB-GRND-NC-WQ NTAP TURB /RECORDER | MOSL-S4-SOUTH-CBG.-NCFR-LAB. | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038767 | UNKNOWN | SOUTH-CB-GRND-NC-WQ STAP TURB /RECORDER | MOSL-S4-SOUTH-CBG.-NCFR-LAB. | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038770 | UNKNOWN | SOUTH-CB-GRND-NC-WQ NBAS TURB /RECORDER | MOSL-S4-SOUTH-CBG.-NCFR-LAB. | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038773 | UNKNOWN | SOUTH-CB-GRND-NC-WQ SBAS TURB /RECORDER | MOSL-S4-SOUTH-CBG.-NCFR-LAB. | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038776 | UNKNOWN | SOUTH-CB-GRND-NC-WQ RAW TURB /RECORDER | MOSL-S4-SOUTH-CBG.-NCFR-LAB. | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038779 | UNKNOWN | SOUTH-CB-GRND-NC-WQ NTAP FLUO /RECORDER | MOSL-S4-SOUTH-CBG.-NCFR-LAB. | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038782 | UNKNOWN | SOUTH-CB-GRND-NC-WQ STAP FLUO /RECORDER | MOSL-S4-SOUTH-CBG.-NCFR-LAB. | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038784 | UNKNOWN | SOUTH-CB-GRND-NC-WQ NTAP CL2 /RECORDER | MOSL-S4-SOUTH-CBG.-NCFR-LAB. | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038786 | UNKNOWN | SOUTH-CB-GRND-NC-WQ STAP CL2 /RECORDER | MOSL-S4-SOUTH-CBG.-NCFR-LAB. | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038789 | UNKNOWN | SOUTH-CB-GRND-NC-WQ NBASIN CL2 /RECORDER | MOSL-S4-SOUTH-CBG.-NCFR-LAB. | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038792 | UNKNOWN | SOUTH-CB-GRND-NC-WQ SBASIN CL2 /RECORDER | MOSL-S4-SOUTH-CBG.-NCFR-LAB. | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038864 | UNKNOWN | SOUTH-SB-SFTNR SBASIN PH /RECORDER | MOSL-S4-SOUTH-SB..-SFTN | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location
5038867 | UNKNOWN | SOUTH-NB-SFTNR NBASIN PH /RECORDER | MOSL-S4-SOUTH-NB..-SFTN | P361 | INSV | INST | HUSSAARM | M |  |  | ELECTRONIC CHART RECORDER |  |  |  |  | Y |  | AW |  |  | Maint Look Functional Location | Ops Look Functional Location