## Scale
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Instrument Range | Instrument UOM | Loop Power | NEMA Enclosure | On SCADA? | Output Type | Owned By | Scale Type | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5013935 | UNKNOWN | LINC-PDB-CL2ROOM EAST SCALE /SCALE | ILCP-UR-LINC.-PDB.-CL2R | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | LBS | N | 1,2 INDOOR | Y | 4-20MA | AW | ELECTRONIC SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment
5013936 | UNKNOWN | LINC-PDB-CL2ROOM WEST SCALE /SCALE | ILCP-UR-LINC.-PDB.-CL2R | P301 | REMV | INAC INST | HUSSAARM | H |  |  |  | LBS | N | 1,2 INDOOR | Y | 4-20MA | AW | ELECTRONIC SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment
5013937 | UNKNOWN | MATS-CEM-CL2ROOM NORTH SCALE /SCALE | ILCP-CP-MATS.-CEM.-CL2R | P301 | INSV | INST | HUSSAARM | H |  |  |  | LBS | N | 1,2 INDOOR | Y | 4-20MA | AW | ELECTRONIC SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment
5013938 | UNKNOWN | MATS-CEM-CL2ROOM SOUTH SCALE /SCALE | ILCP-CP-MATS.-CEM.-CL2R | P301 | INSV | INST | HUSSAARM | H |  |  |  | LBS | N | 1,2 INDOOR | Y | 4-20MA | AW | ELECTRONIC SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment
5013941 | FORCE FLOW | BRAD-MNB-PHOSFTRM PHOS SCALE /SCALE | ILCP-CP-BRAD.-MNB.-PHOS | P301 | INSV | INST | HUSSAARM | L | FF31744 | DR30LP |  | LBS | N | 1,2 INDOOR | Y | 4-20MA | AW | ELECTRONIC SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment
5013942 | FORCE FLOW | BRAD-WCM-FERRICRM FERRIC SCALE /SCALE | ILCP-CP-BRAD.-WCM.-FERR | P301 | INSV | INST | HUSSAARM | H | FF31743 | DR30LP |  | LBS | N | 1,2 INDOOR | Y | 4-20MA | AW | ELECTRONIC SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment
5013943 | FORCE FLOW | BRAD-MNB-FL2ROOM FLOURIDE SCALE /SCALE | ILCP-CP-BRAD.-MNB.-FL2R | P301 | INSV | INST | HUSSAARM | H | FF31742 | DR30LP |  | LBS | N | 1,2 INDOOR | Y | 4-20MA | AW | ELECTRONIC SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment
5013944 | UNKNOWN | MATS-CEM-NRTHCEMRM E8 FL SCALE /SCALE | ILCP-CP-MATS.-CEM.-NRTH | P301 | INSV | INST | HUSSAARM | H |  |  |  | LBS | N |  | N |  | AW | MECHANICAL SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment
5013945 | UNKNOWN | MATS-CEM-NRTHCEMRM W8 FL SCALE /SCALE | ILCP-CP-MATS.-CEM.-NRTH | P301 | INSV | INST | HUSSAARM | H |  |  |  | LBS | N |  | N |  | AW | MECHANICAL SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment
5013963 | UNKNOWN | MATS-CEM-NRTHCEMRM E8 SLAKER /SCALE | ILCP-CP-MATS.-CEM.-NRTH | P301 | INSV | INST | HUSSAARM | H |  |  |  | LBS | Y | 3 RAINTIGHT | N | 4-20MA | AW | ELECTRONIC SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment
5013965 | UNKNOWN | MATS-CEM-NRTHCEMRM W8 SLAKER /SCALE | ILCP-CP-MATS.-CEM.-NRTH | P301 | INSV | INST | HUSSAARM | H |  |  |  | LBS | N | 3 RAINTIGHT | N | 4-20MA | AW | ELECTRONIC SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment