## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Instrument Range | Instrument UOM | Loop Power | NEMA Enclosure | On SCADA? | Output Type | Owned By | Scale Type | Special Mtn Note | Special Mtn Note Det | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5013935 | UNKNOWN | LINC-PDB-CL2ROOM EAST SCALE /SCALE | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  |  | LBS | N | 1,2 INDOOR | Y | 4-20MA | AW | ELECTRONIC SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
5013936 | UNKNOWN | LINC-PDB-CL2ROOM WEST SCALE /SCALE | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  |  | LBS | N | 1,2 INDOOR | Y | 4-20MA | AW | ELECTRONIC SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
5013937 | UNKNOWN | MATS-CEM-CL2ROOM NORTH SCALE /SCALE | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  |  | LBS | N | 1,2 INDOOR | Y | 4-20MA | AW | ELECTRONIC SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
5013938 | UNKNOWN | MATS-CEM-CL2ROOM SOUTH SCALE /SCALE | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  |  | LBS | N | 1,2 INDOOR | Y | 4-20MA | AW | ELECTRONIC SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | LINC-PDB-CL2ROOM EAST SCALE /SCALE | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  |  | LBS | N | 1,2 INDOOR | Y | 4-20MA | AW | ELECTRONIC SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | LINC-PDB-CL2ROOM WEST SCALE /SCALE | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  |  | LBS | N | 1,2 INDOOR | Y | 4-20MA | AW | ELECTRONIC SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | MATS-CEM-CL2ROOM NORTH SCALE /SCALE | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  |  | LBS | N | 1,2 INDOOR | Y | 4-20MA | AW | ELECTRONIC SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | MATS-CEM-CL2ROOM SOUTH SCALE /SCALE | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  |  | LBS | N | 1,2 INDOOR | Y | 4-20MA | AW | ELECTRONIC SCALE |  |  | Maint Water Treatment Equip | Ops Water Treatment |  |  | NJMM-MM-ABTNK-MCC