## Scrubber
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | Backwash Rate (gpm/s | Flow Normal Range | Indoor/Outdoor | Material of Construc | Media 1 Depth | Media 1 Type | Media 2 Depth | Media 2 Type | Media Regeneration R | Owned By | Scrubber Type | Special Mtn Note | Special Mtn Note Det | Surface Area (sq/ft) | Wash Type | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5141983 | POWELL | DRWTP CL2 /SCRUBBER | NJBC-BU-DRWTP | P203 | INSV | INST | HUSSAARM | H |  | JOB 9300 | WATER | 0.000 GF2 |  |  |  | 0.00 Feet |  | 0.00 Feet |  |  | AW | LIQUID MEDIA |  |  | 0.00 ft2 |  | Maint Water Treatment Equip | Ops Water Treatment
5141994 | UNKNOWN | DRWTP-TRMT-OZNE DESTRUCT 1 /SCRUBBER | NJBC-BU-DRWTP-TRMT-OZNE | P203 | INSV | INST | HUSSAARM | H | ME-411 |  | WATER | 0.000 GF2 |  |  |  | 0.00 Feet |  | 0.00 Feet |  |  | AW | DRY MEDIA |  |  | 0.00 ft2 |  | Maint Water Treatment Equip | Ops Water Treatment
5141997 | UNKNOWN | DRWTP-TRMT-OZNE DESTRUCT 2 /SCRUBBER | NJBC-BU-DRWTP-TRMT-OZNE | P203 | INSV | INST | HUSSAARM | H | ME-421 |  | WATER | 0.000 GF2 |  |  |  | 0.00 Feet |  | 0.00 Feet |  |  | AW | DRY MEDIA |  |  | 0.00 ft2 |  | Maint Water Treatment Equip | Ops Water Treatment