## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Application | HMI Software | Network Scheme | Operating System | Owned By | RAID | RAM Memory | Server Type | Software License# | Special Mtn Note | Special Mtn Note Det | Standby Power Type | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5107084 | DELL | DRWTP IFIX TERMINAL /SERVR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | 33B9QM1 | POWER EDGE2970 |  | INTELLUTION IFIX | SCADA DOMAIN | OTHER | AW | 1 | 4.00 GB | SERVR* | 200073124 |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5107086 | UNKNOWN | DRWTP PLANT SCADA /SERVR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | F95BQM1 | R300 |  | INTELLUTION IFIX | SCADA DOMAIN | OTHER | AW | 1 | 4.00 GB | SERVR* | 100232600 |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5107087 | DELL | DRWTP IFIX GROUND WATER SCADA /SERVR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | 4G3MRL1 | R300 |  | INTELLUTION IFIX | SCADA DOMAIN | OTHER | AW | 1 | 4.00 GB | SERVR* | 200084413 |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5107089 | DELL | DRWTP ENTERPRISE HISTORIAN /SERVR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | R300 | DATA STORAGE | INTELLUTION IFIX | STANDALONE | OTHER | AW | 1 | 4.00 GB | SERVR* | 100081432 |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| DELL | DRWTP IFIX TERMINAL /SERVR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | 33B9QM1 | POWER EDGE2970 |  | INTELLUTION IFIX | SCADA DOMAIN | OTHER | AW | 1 | 4.00 GB | SERVR* | 200073124 |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | DRWTP PLANT SCADA /SERVR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | F95BQM1 | R300 |  | INTELLUTION IFIX | SCADA DOMAIN | OTHER | AW | 1 | 4.00 GB | SERVR* | 100232600 |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| DELL | DRWTP IFIX GROUND WATER SCADA /SERVR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H | 4G3MRL1 | R300 |  | INTELLUTION IFIX | SCADA DOMAIN | OTHER | AW | 1 | 4.00 GB | SERVR* | 200084413 |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| DELL | DRWTP ENTERPRISE HISTORIAN /SERVR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  | R300 | DATA STORAGE | INTELLUTION IFIX | STANDALONE | OTHER | AW | 1 | 4.00 GB | SERVR* | 100081432 |  |  | UPS | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC