## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Actuator Type | Application | Book Page | Bypass Valve? | Dependency Driver 1 | Dependency Driver 2 | GEOACCURACY GIS-DATA | Gear Type | Historical ID | Installation WO# | Joint Type | Map Page | Normal Position | Normal Sys Pressure | Number of Turns | On SCADA? | Open Direction | Operating Nut Type | Owned By | Pipe / Channel Size | Pipe Material | Pressure Class | Pressure Zone | Pressure Zone HGL | Sketch # | Special Mtn Note | Special Mtn Note Det | Street Valve Type | Subdivision | Surface Cover | Surface Cover Loc Ty | Torque Limit | VLV Access Type | Vlv-Depth to Top of | Vlv-Oper Nut Size | Vlv-Seat Type | Vlv-Special V-Box Ma | Vlv-Top Valve Nut De | Vlv-Valve Box Markin | Vlv-Valve Size | Vlv-Valve Type | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
10302570 | UNKNOWN | Z1-WS04342 STREET/VALVE | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | MANUAL | DISTRIBUTION IN GRID |  | N | BURIED ASSET |  |  | NON RISING STEM | WS04342 |  | XX |  | OPEN | 0 PSI | 36.00 TN |  | LEFT | SQUARE | AW | 12 | DI | XX | [5 empty] | DIST (M) |  | GRASS | XX |  | VAULT | XX | 2 | RESILIENT |  |  |  | 10 | GATE | Maint Trans & Dist (T&D) | Ops Trans & Dist |  |  | NJMM-MM-ABTNK-MCC
10289841 | UNKNOWN | Z1 - WSSV04275 STREET/VALVE | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | MANUAL | DISTRIBUTION IN GRID |  | N | BURIED ASSET |  |  | NON RISING STEM | VB4275 |  | MJ |  | CLOSED | 0 PSI | 36.00 TN |  | LEFT | SQUARE | AW | 16 | DI | XX | [5 empty] | DIST (M) |  | ASPHALT | DRIVEWAY |  | VAULT | XX | 2 | RESILIENT |  |  |  | 16 | BUTTERFLY | Maint Trans & Dist (T&D) | Ops Trans & Dist |  |  | NJMM-MM-ABTNK-MCC
10284972 | UNKNOWN | Z1-LRE00029 STREET/VALVE | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | MANUAL | DISTRIBUTION IN GRID |  | N | BURIED ASSET |  |  | NON RISING STEM |  |  | XX |  | OPEN | 0 PSI | 24.00 TN |  | LEFT | SQUARE | AW | 8 | DI | XX | [5 empty] | DIST (M) |  | GRASS | XX |  | XX | XX | 2 | RESILIENT |  |  |  | 8 | GATE | Maint Trans & Dist (T&D) | Ops Trans & Dist |  |  | NJMM-MM-ABTNK-MCC
10277624 | UNKNOWN | Z1-RG00001 STREET/VALVE | NJMM-MM-ABTNK-MCC | P218 | OOS | DLFL INAC INST | mcadmin | H |  |  | MANUAL | DISTRIBUTION IN GRID |  | N | BURIED ASSET |  |  | NON RISING STEM |  |  | XX |  | OPEN |  | 12.00 TN |  | LEFT | SQUARE | AW | 4 | CI | XX | [5 empty] | DIST (M) |  | ASPHALT | DRIVEWAY |  | VALVE BOX | XX | 2 | CAST IRON |  |  |  | 4 | GATE | Maint Trans & Dist (T&D) | Ops Trans & Dist |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | Z1-WS04342 STREET/VALVE | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | MANUAL | DISTRIBUTION IN GRID |  | N | BURIED ASSET |  |  | NON RISING STEM | WS04342 |  | XX |  | OPEN | 0 PSI | 36.00 TN |  | LEFT | SQUARE | AW | 12 | DI | XX | [5 empty] | DIST (M) |  | GRASS | XX |  | VAULT | XX | 2 | RESILIENT |  |  |  | 10 | GATE | Maint Trans & Dist (T&D) | Ops Trans & Dist |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | Z1 - WSSV04275 STREET/VALVE | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | MANUAL | DISTRIBUTION IN GRID |  | N | BURIED ASSET |  |  | NON RISING STEM | VB4275 |  | MJ |  | CLOSED | 0 PSI | 36.00 TN |  | LEFT | SQUARE | AW | 16 | DI | XX | [5 empty] | DIST (M) |  | ASPHALT | DRIVEWAY |  | VAULT | XX | 2 | RESILIENT |  |  |  | 16 | BUTTERFLY | Maint Trans & Dist (T&D) | Ops Trans & Dist |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | Z1-LRE00029 STREET/VALVE | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | MANUAL | DISTRIBUTION IN GRID |  | N | BURIED ASSET |  |  | NON RISING STEM |  |  | XX |  | OPEN | 0 PSI | 24.00 TN |  | LEFT | SQUARE | AW | 8 | DI | XX | [5 empty] | DIST (M) |  | GRASS | XX |  | XX | XX | 2 | RESILIENT |  |  |  | 8 | GATE | Maint Trans & Dist (T&D) | Ops Trans & Dist |  |  | NJMM-MM-ABTNK-MCC
| UNKNOWN | Z1-RG00001 STREET/VALVE | NJMM-MM-ABTNK-MCC | P218 | OOS | DLFL INAC INST | mcadmin | H |  |  | MANUAL | DISTRIBUTION IN GRID |  | N | BURIED ASSET |  |  | NON RISING STEM |  |  | XX |  | OPEN |  | 12.00 TN |  | LEFT | SQUARE | AW | 4 | CI | XX | [5 empty] | DIST (M) |  | ASPHALT | DRIVEWAY |  | VALVE BOX | XX | 2 | CAST IRON |  |  |  | 4 | GATE | Maint Trans & Dist (T&D) | Ops Trans & Dist |  |  | NJMM-MM-ABTNK-MCC