## Transformer
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Amp Rating | Amps (Secondary) | Application | BIL Rating | Contains PCB's? | Impedance% | Insulation Class | KVA Rated | Mounting | NEMA Enclosure | Oil Capacity (gal) | Oil Type | Owned By | Phase(s) | Special Mtn Note | Special Mtn Note Det | Tap Range and Tap | Temperature Rise | Transformer Type | Volt Rating | Volt Rating (Seconda | Weight (lbs) | Winding Config (Prim | Winding Config(Secon | NARUC Maintenance Ac | NARUC Operations Acc | Special Mtn Note | Special Mtn Note Det
5017514 | GE | NTWL-W47 TX-LP-W47 /XFMR | ILCP-UR-NTWL.-W47. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 1.500 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017515 | SQUARE D | WL53 TX-LP-W53 /XFMR | ILCP-CP-WL53. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017516 | SQUARE D | WL54 TX-LP-W54 /XFMR | ILCP-CP-WL54. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017517 | SQUARE D | WL55 TX-LP-W55 /XFMR | ILCP-CP-WL55. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017518 | SQUARE D | MATS-W56 TX-LP-W56 /XFMR | ILCP-CP-MATS.-W56. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017519 | SQUARE D | WL57 TX-LP-W57 /XFMR | ILCP-CP-WL57. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017520 | SQUARE D | WL58 TX-LP-W58 /XFMR | ILCP-CP-WL58. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017521 | SQUARE D | WL59 TX-LP-W59 /XFMR | ILCP-CP-WL59. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | SUBFEED |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017522 | SQUARE D | WL60 TX-LP-W60 /XFMR | ILCP-CP-WL60. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017523 | SQUARE D | WL61 TX-LP-W61 /XFMR | ILCP-CP-WL61. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017524 | SQUARE D | WL62 TX-LP-W62 /XFMR | ILCP-CP-WL62. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017525 | SQUARE D | WL59 TX-LP-W59-2 /XFMR | ILCP-CP-WL59. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017526 | SQUARE D | WL64 TX-LP-W64 /XFMR | ILCP-CP-WL64. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017527 | SQUARE D | WL65 TX-LP-W65 /XFMR | ILCP-CP-WL65. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 5.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017528 | SQUARE D | WL66 TX-LP-W66 /XFMR | ILCP-CP-WL66. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 5.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017529 | SQUARE D | WL53 TX-LP-W53-2 /XFMR | ILCP-CP-WL53. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017530 | SQUARE D | R150 TX-LP-XFMR1 /XFMR | ILCP-CP-R150. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 15.000 kVA | PAD/FLOOR | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 208Y/120 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017531 | EGS | MATS-CEM-CTRLRM TX-LP-AQUATROL /XFMR | ILCP-CP-MATS.-CEM.-CNTR | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 0.500 kVA | PAD/FLOOR | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017532 | GE | MATS-CEM-STHCEMRM TX-LP-STHCEM1 /XFMR | ILCP-CP-MATS.-CEM.-STHC | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 0.500 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 16 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017533 | GE | MATS-FBE E8 /XFMR | ILCP-CP-MATS.-FBE. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 5.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 107 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017534 | SIEMENS | MATS-CEM-STHCEMRM TX-LP-STHCEM2 /XFMR | ILCP-CP-MATS.-CEM.-STHC | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 25.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 270 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017535 | UNKNOWN | MATS-FBW W8 /XFMR | ILCP-CP-MATS.-FBW. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 10.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 172 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5190301 | HEVI-DUTY | TLNO-BTR /XFMR 1 | ILCP-TO-TLNO.-BTR. | P301 | INSV | INST | FARRARDR | H |  | HS5F7.5AS |  | 125 | CONTROLS |  | N |  | OTHER | 45.000 kVA |  | 1,2 INDOOR | 0.000 1GL | NONE | AW | 3 |  |  |  | 150 °C | PASSIVE AIR COOLED(DRY) | 480 | 240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5190302 | SQUARE D | TLNO-BTR /XFMR 2 | ILCP-TO-TLNO.-BTR. | P301 | INSV | INST | FARRARDR | H | 1012113379 | 13151-12212-027 | 52.00 A | 125 | CONTROLS |  | N |  | OTHER | 45.000 kVA | PAD/FLOOR | 1,2 INDOOR | 0.000 1GL | NONE | AW | 3 |  |  |  | 150 °C | PASSIVE AIR COOLED(DRY) | 480 | 240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017513 | GE | NTWL-W46 TX-LP-W46 /XFMR | ILCP-UR-NTWL.-W46. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 1.500 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5013989 | SQUARE D | BRAD-MNB-EELCR TX-LP-DPS /XFMR | ILCP-CP-BRAD.-MNB.-EELC | P301 | INSV | INST | HUSSAARM | H |  |  | 54.00 A | 125 | CONTROLS |  | N |  | OTHER | 45.000 kVA | PAD/FLOOR | 1,2 INDOOR | 0.000 1GL | NONE | AW | 3 |  |  |  | 150 °C | PASSIVE AIR COOLED(DRY) | 480 | 120 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5013990 | UNKNOWN | BRAD MAIN /XFMR | ILCP-CP-BRAD. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | MAIN FEED |  |  |  |  | 2,500.000 kVA | PAD/FLOOR |  | 423.000 1GL |  | AW |  |  |  |  | 0 °C | NOT AW PASSIVE AIR(OIL FILLED) | 13KV | 277/480 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5013991 | SQUARE D | BRAD-MNB-HVAC TX-LP-ADM /XFMR | ILCP-CP-BRAD.-MNB.-HVAC | P301 | INSV | INST | HUSSAARM | H |  |  | 54.00 A | 125 | CONTROLS |  | N |  | OTHER | 45.000 kVA | PAD/FLOOR | 1,2 INDOOR | 0.000 1GL | NONE | AW | 3 |  |  |  | 150 °C | PASSIVE AIR COOLED(DRY) | 480 | 120 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5013992 | SQUARE D | BRAD-MNB-WELCR TX-LP-ECF-1 /XFMR | ILCP-CP-BRAD.-MNB.-WELC | P301 | INSV | INST | HUSSAARM | H |  |  | 54.00 A | 125 | CONTROLS |  | N |  | OTHER | 45.000 kVA | PAD/FLOOR | 1,2 INDOOR | 0.000 1GL | NONE | AW | 3 |  |  |  | 150 °C | PASSIVE AIR COOLED(DRY) | 480 | 120 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5013993 | SQUARE D | BRAD-MNB-WELCR TX-LP-ECF-2 /XFMR | ILCP-CP-BRAD.-MNB.-WELC | P301 | INSV | INST | HUSSAARM | H |  |  | 54.00 A | 125 | CONTROLS |  | N |  | OTHER | 45.000 kVA | PAD/FLOOR | 1,2 INDOOR | 0.000 1GL | NONE | AW | 3 |  |  |  | 150 °C | PASSIVE AIR COOLED(DRY) | 480 | 120 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5013994 | SQUARE D | BRAD-WCM-ELECRM TX-LP-WCF-1 /XFMR | ILCP-CP-BRAD.-WCM.-ELEC | P301 | INSV | INST | HUSSAARM | H |  |  | 54.00 A | 125 | CONTROLS |  | N |  | OTHER | 45.000 kVA | PAD/FLOOR | 1,2 INDOOR | 0.000 1GL | NONE | AW | 3 |  |  |  | 150 °C | PASSIVE AIR COOLED(DRY) | 480 | 120 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5013995 | SQUARE D | BRAD-WCM-ELECRM TX-LP-WCF-2 /XFMR | ILCP-CP-BRAD.-WCM.-ELEC | P301 | INSV | INST | HUSSAARM | H |  |  | 54.00 A | 125 | CONTROLS |  | N |  | OTHER | 45.000 kVA | PAD/FLOOR | 1,2 INDOOR | 0.000 1GL | NONE | AW | 3 |  |  |  | 150 °C | PASSIVE AIR COOLED(DRY) | 480 | 120 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5013996 | SQUARE D | BRAD-SOL TX-LP-SOL /XFMR | ILCP-CP-BRAD.-SOL. | P301 | INSV | INST | HUSSAARM | H |  |  | 54.00 A | 125 | CONTROLS |  | N |  | OTHER | 45.000 kVA | PAD/FLOOR | 1,2 INDOOR | 0.000 1GL | NONE | AW | 3 |  |  |  | 150 °C | PASSIVE AIR COOLED(DRY) | 480 | 120 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5013997 | SQUARE D | BRAD-W67 TX-LP-W67 /XFMR | ILCP-CP-BRAD.-W67. | P301 | INSV | INST | HUSSAARM | H |  |  | 54.00 A | 125 | CONTROLS |  | N |  | OTHER | 45.000 kVA | PAD/FLOOR | 1,2 INDOOR | 0.000 1GL | NONE | AW | 3 |  |  |  | 150 °C | PASSIVE AIR COOLED(DRY) | 480 | 120 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5013998 | SQUARE D | WL68 TX-LP-W68 /XFMR | ILCP-CP-WL68. | P301 | INSV | INST | HUSSAARM | H |  |  | 54.00 A | 125 | CONTROLS |  | N |  | OTHER | 45.000 kVA | PAD/FLOOR | 1,2 INDOOR | 0.000 1GL | NONE | AW | 3 |  |  |  | 150 °C | PASSIVE AIR COOLED(DRY) | 480 | 120 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5013999 | SQUARE D | WL69 TX-LP-W69 /XFMR | ILCP-CP-WL69. | P301 | INSV | INST | HUSSAARM | H |  |  | 54.00 A | 125 | CONTROLS |  | N |  | OTHER | 45.000 kVA | PAD/FLOOR | 1,2 INDOOR | 0.000 1GL | NONE | AW | 3 |  |  |  | 150 °C | PASSIVE AIR COOLED(DRY) | 480 | 120 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017500 | SQUARE D | WL70 TX-LP-W70 /XFMR | ILCP-CP-WL70. | P301 | INSV | INST | HUSSAARM | H |  |  | 54.00 A | 125 | CONTROLS |  | N |  | OTHER | 45.000 kVA | PAD/FLOOR | 1,2 INDOOR | 0.000 1GL | NONE | AW | 3 |  |  |  | 150 °C | PASSIVE AIR COOLED(DRY) | 480 | 120 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017501 | SQUARE D | WL71 TX-LP-W71 /XFMR | ILCP-CP-WL71. | P301 | INSV | INST | HUSSAARM | H |  |  | 54.00 A | 125 | CONTROLS |  | N |  | OTHER | 45.000 kVA | PAD/FLOOR | 1,2 INDOOR | 0.000 1GL | NONE | AW | 3 |  |  |  | 150 °C | PASSIVE AIR COOLED(DRY) | 480 | 120 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017502 | SQUARE D | WL72 TX-LP-W72 /XFMR | ILCP-CP-WL72. | P301 | INSV | INST | HUSSAARM | H |  |  | 54.00 A | 125 | CONTROLS |  | N |  | OTHER | 45.000 kVA | PAD/FLOOR | 1,2 INDOOR | 0.000 1GL | NONE | AW | 3 |  |  |  | 150 °C | PASSIVE AIR COOLED(DRY) | 480 | 120 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017503 | SQUARE D | WL73 TX-LP-W73 /XFMR | ILCP-CP-WL73. | P301 | INSV | INST | HUSSAARM | H |  |  | 54.00 A | 125 | CONTROLS |  | N |  | OTHER | 45.000 kVA | PAD/FLOOR | 1,2 INDOOR | 0.000 1GL | NONE | AW | 3 |  |  |  | 150 °C | PASSIVE AIR COOLED(DRY) | 480 | 120 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017504 | WESTINGHOUSE | WL63 TX-LP-W63 /XFMR | ILCP-CP-WL63. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 0.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 277/480 | 120 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017505 | SQUARE D | LINC-PDB-PRODGARAGE MAIN /XFMR | ILCP-UR-LINC.-PDB.-PROD | P301 | REMV | INAC INST | HUSSAARM | H | 993017-A1 |  | 352.00 A | 813 | SUBFEED |  | N |  |  | 0.000 kVA | PAD/FLOOR | 1,2 INDOOR | 0.000 1GL | NONE | AW | 3 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 208Y/120 | 2,642 lb | DELTA |  | Maint Look Functional Location | Ops Look Functional Location
5017506 | GE | LINC-BWB TX-LP-BWB /XFMR | ILCP-UR-LINC.-BWB. | P301 | REMV | INAC INST | HUSSAARM | H | 910128 |  | 0.00 A |  | CONTROLS |  | N |  |  | 10.000 kVA | PAD/FLOOR | 1,2 INDOOR | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 277/480 | 120/240 | 172 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017507 | SQUARE D | LINC-FB TX-LP-FB /XFMR | ILCP-UR-LINC.-FB.. | P301 | REMV | INAC INST | HUSSAARM | H | 10SIF |  | 0.00 A |  | CONTROLS |  | N |  |  | 10.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 277/480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017508 | GE | NTWL-W35 TX-LP-W35 /XFMR | ILCP-UR-NTWL.-W35. | P301 | INSV | INST | HUSSAARM | H | 9T5180011 |  | 0.00 A |  | CONTROLS |  | N |  |  | 1.500 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017509 | GE | NTWL-W40 TX-LP-W40 /XFMR | ILCP-UR-NTWL.-W40. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 1.500 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017510 | GE | NTWL-W41 TX-LP-W41 /XFMR | ILCP-UR-NTWL.-W41. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 1.500 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017511 | GE | NTWL-W42 TX-LP-W42 /XFMR | ILCP-UR-NTWL.-W42. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 1.500 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location
5017512 | GE | NTWL-W45 TX-LP-W45 /XFMR | ILCP-UR-NTWL.-W45. | P301 | INSV | INST | HUSSAARM | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 1.500 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location