## Sheet1
Equipment | Manufacturer | Description | Functional Loc. | Planning plant | User status | System status | Created by | ABC indic. | ManufSerialNo. | Model number | Amp Rating | Amps (Secondary) | Application | BIL Rating | Contains PCB's? | Impedance% | Insulation Class | KVA Rated | Mounting | NEMA Enclosure | Oil Capacity (gal) | Oil Type | Owned By | Phase(s) | Special Mtn Note | Special Mtn Note Det | Tap Range and Tap | Temperature Rise | Transformer Type | Volt Rating | Volt Rating (Seconda | Weight (lbs) | Winding Config (Prim | Winding Config(Secon | NARUC Maintenance Ac | NARUC Operations Acc | NARUC Special Mtn Note | NARUC Special Mtn Note Det | Facility MC | Equipment Condition | Equipment Performance | Equipment Consequence of Failure | Equipment Static Dynamic Type | Date Installed
5017514 | GE | NTWL-W47 TX-LP-W47 /XFMR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 1.500 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5017515 | SQUARE D | WL53 TX-LP-W53 /XFMR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5017516 | SQUARE D | WL54 TX-LP-W54 /XFMR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
5017517 | SQUARE D | WL55 TX-LP-W55 /XFMR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| GE | NTWL-W47 TX-LP-W47 /XFMR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 1.500 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| SQUARE D | WL53 TX-LP-W53 /XFMR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| SQUARE D | WL54 TX-LP-W54 /XFMR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC
| SQUARE D | WL55 TX-LP-W55 /XFMR | NJMM-MM-ABTNK-MCC | P218 | INSV | INST | mcadmin | H |  |  | 0.00 A |  | CONTROLS |  | N |  |  | 2.000 kVA | WALL | 3 RAINTIGHT | 0.000 1GL | NONE | AW | 1 |  |  |  | 0 °C | PASSIVE AIR COOLED(DRY) | 480 | 120/240 | 0 lb |  |  | Maint Look Functional Location | Ops Look Functional Location |  |  | NJMM-MM-ABTNK-MCC